| PROJECT NAME: |  |  | DOCUMENT NO. |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  | N/A | YES | NO | N/A |  | YES | NO |
|  | GENERAL |  |  |  |  |  |  |  |  |
|  | Correct levels, colors, line styles, and weights as per Architectural Standards. |  |  |  |  |  |  |  |  |
|  | All Elements have been flattened to a 2D plan. |  |  |  |  |  |  |  |  |
|  | Check HOLD clouds to ensure they are not over drawing entities text and dimensions. |  |  |  |  |  |  |  |  |
|  | Line weights the same for all matching materials. |  |  |  |  |  |  |  |  |
|  | Text attributes are per standards. |  |  |  |  |  |  |  |  |
|  | Sequential “alpha” section cuts within the same drawing number. |  |  |  |  |  |  |  |  |
|  | Sequential “numeric” details within the same drawing number. |  |  |  |  |  |  |  |  |
|  | North arrow if needed in upper right corner of the drawing pointing up, to the left, or on correct angle (if applicable). Qibla included and angled correctly toward Mecca. |  |  |  |  |  |  |  |  |
|  | Notes, in upper right hand corner (or where appropriate) of drawing in title block or on correct level. |  |  |  |  |  |  |  |  |
|  | Correct abbreviations as per Architectural Abbreviations and the Legends sheets. |  |  |  |  |  |  |  |  |
|  | No periods to be used in Abbreviations. |  |  |  |  |  |  |  |  |
|  | Checked Spelling. |  |  |  |  |  |  |  |  |
|  | Correct and most updated version Key plan on plan drawings (where applicable). |  |  |  |  |  |  |  |  |
|  | Current extractions from model compare with latest model. |  |  |  |  |  |  |  |  |
|  | All Reference Drawings and documents noted on drawings to have dashes separating drawing number. |  |  |  |  |  |  |  |  |
|  | Check print cell and “Preliminary” text to be “turned off” prior to the issue of drawing. |  |  |  |  |  |  |  |  |
|  | TITLE BLOCK INFORMATION |  |  |  |  |  |  |  |  |
|  | Correct drawing scale in the project title block. |  |  |  |  |  |  |  |  |
|  | Correct project title in the drawing titles. |  |  |  |  |  |  |  |  |
|  | Correct drawing number in the title block. |  |  |  |  |  |  |  |  |
|  | Correct Revision Number in the title block. |  |  |  |  |  |  |  |  |
|  | Project number has been filled in. |  |  |  |  |  |  |  |  |
|  | Scale: in the title block is filled in. |  |  |  |  |  |  |  |  |
|  | Complete the Originator, Checker, and Approved By, including correct dates. |  |  |  |  |  |  |  |  |
|  | Drawing Index has been included on first sheet of the sequential set and has listed all sheets of the set. |  |  |  |  |  |  |  |  |
|  | Reference Drawing box is included all referenced drawings indicated on drawing. |  |  |  |  |  |  |  |  |
|  | ARCHITECTURAL DRAWINGS |  |  |  |  |  |  |  |  |
|  | Any Holds on drawings are still relevant at document issue. |  |  |  |  |  |  |  |  |
|  | Correct patterning and correct pattern scale and line type. |  |  |  |  |  |  |  |  |
|  | Compare room numbers with schedule table of room numbers and name. |  |  |  |  |  |  |  |  |
|  | Compare door, window and screen numbers with schedule tables for each. |  |  |  |  |  |  |  |  |
|  | Architectural dimensioning is from the centerline of column grids to center of studs for interior partitions and to face of studs at exterior walls, unless otherwise noted. |  |  |  |  |  |  |  |  |
|  | The most up to date extractions from the model are being used. |  |  |  |  |  |  |  |  |
|  | All modeling discrepancies or conflicts with other disciplines have been reported for correction. |  |  |  |  |  |  |  |  |
|  | All noted elevation numbers have been checked and are correct. |  |  |  |  |  |  |  |  |
|  | Overall and cumulative dimensions are accurate. |  |  |  |  |  |  |  |  |
|  | Applicable General notes have been incorporated. |  |  |  |  |  |  |  |  |
|  | All reference files are attached properly and others no longer needed are detached. |  |  |  |  |  |  |  |  |
|  | Any reference equipment number or other discipline drawings are correct at time at issue. |  |  |  |  |  |  |  |  |
|  | Section, details and elevations cuts to other drawings are referenced correctly. Consistency in building element callouts (i.e. bollards vs. guardposts). |  |  |  |  |  |  |  |  |
|  | REVISIONS |  |  |  |  |  |  |  |  |
|  | All changes made from redline drawings highlighted to show changes made. |  |  |  |  |  |  |  |  |
|  | Correct description and revision number in revision block and in the title block. |  |  |  |  |  |  |  |  |
|  | Triangles in all areas updated in all previous revision clouds removed if used. |  |  |  |  |  |  |  |  |
|  | Revision clouds are not over drawing entities, text, dimensions. |  |  |  |  |  |  |  |  |
|  | ROUTING OF DRAWINGS |  |  |  |  |  |  |  |  |
|  | Drawing reviewed per workflow process and check for completeness and accuracy. |  |  |  |  |  |  |  |  |
|  | CODE ANALYSIS DRAWINGS |  |  |  |  |  |  |  |  |
|  | Symbology confirmed. |  |  |  |  |  |  |  |  |
|  | Document has to match document title and revision. |  |  |  |  |  |  |  |  |
|  | Changes in distance, square meter, calculations. |  |  |  |  |  |  |  |  |
|  | Thermal regulations compliance |  |  |  |  |  |  |  |  |
|  | Room numbers copied in from architectural drawing. |  |  |  |  |  |  |  |  |
|  | Room schedule input. |  |  |  |  |  |  |  |  |
|  | Room areas calculated. |  |  |  |  |  |  |  |  |
|  | Fire department access confirmed. |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments (against each SLD) | Resolution |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |