| 1.Building NAME: |  | 2.Reference No. |  | 3.REV- 00A |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Systems Monitoring / Daily Rounds |  |  |  | CHECKED SATISFACTORY |  |  |
|  |  |  |  |  | N/A | YES | NO |
|  | BMS and associated systems – Offices |  |  |  |  |  |  |
|  | This monitoring checklist is intended to highlight the key issues that may arise day-to-day at local level. The procedure and any supporting information should be reviewed and amended as necessary to ensure the document remains up-to-date and definitive for the facility |  |  |  |  |  |  |
| 1 | System inspection and checking (Is the Building Management System (BMS) running) |  |  |  |  |  |  |
| 2 | System assessment (Is the unit and its associated plant secure from unauthorized access) |  |  |  |  |  |  |
| 3 | Remote monitoring of ventilation, air conditioning, and other Mechanical, Electrical and Plumbing (MEP) systems and equipment through BMS |  |  |  |  |  |  |
| 4 | System functions/mode of operation |  |  |  |  |  |  |
| 5 | Identifying maintenance risks on equipment and raising work orders in case of any discrepancy into MEP systems |  |  |  |  |  |  |
| 6 | Investigating fault /alarms for MEP systems |  |  |  |  |  |  |
| 7 | Ensure BMS program, back end applications and software is running |  |  |  |  |  |  |
| 8 | Duty/standby system are healthy and communicating |  |  |  |  |  |  |
| 9 | Field controllers, routers and switches are online and communicating |  |  |  |  |  |  |
| 10 | System architecture functioning |  |  |  |  |  |  |
| 11 | Performing emergency repairs promptly and efficiently |  |  |  |  |  |  |
| 12 | Providing technical direction to ensure system maintains online |  |  |  |  |  |  |
| 13 | Keeping daily logs and records of all operation functions |  |  |  |  |  |  |
| 14 | Ensuring compliance with appliance standards and with occupational health and safety |  |  |  |  |  |  |
| 15 | Complying with service standards, work instructions and user requirements |  |  |  |  |  |  |
| No. | Reviewer's Comments |  | Resolution |  |  |  |  |
| Originator's Name/Signature and Date: |  |  | Checker's Name/Signature and Date: |  |  |  |  |