| PROJECT NAME: |  |  | DRAWING NO. |  |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| Preparation and Checking |  |  |  |  |  |  |  |  |  |  |
| 01 | Does the drawing comply with applicable codes, standards and regulatory requirements? |  |  |  |  |  |  |  |  |  |
| 02 | Does the drawing comply with applicable project design criteria, system or structural functional requirements, Scope Book, and Design basis documents considered? |  |  |  |  |  |  |  |  |  |
| 03 | Does the specified compressive strength (28-day) of concrete comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 04 | Does the specified compressive strength of Non- shrink grout comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 05 | Does the grade of base plates comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 06 | Does the grade of anchor bolt comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 07 | Are grade, type and diameter of anchor bolt (e.g. galvanized, etc.) shown on the drawing? |  |  |  |  |  |  |  |  |  |
| 08 | Does embedded depth of anchor bolts comply with codes? |  |  |  |  |  |  |  |  |  |
| 09 | Does side/bottom cover to anchor bolt comply with project specifications and code? |  |  |  |  |  |  |  |  |  |
| 10 | Has the clash between anchor bolts and reinforcement been checked? |  |  |  |  |  |  |  |  |  |
| 11 | Have all anchor bolts been checked that they are inside the reinforcement cage? |  |  |  |  |  |  |  |  |  |
| 12 | Does grade of anchor base/embedded plates comply with project specification? |  |  |  |  |  |  |  |  |  |
| 13 | Are the details on grout holes, nailing holes etc. shown on base plates? |  |  |  |  |  |  |  |  |  |
| 14 | Is thickness of grout adequate? |  |  |  |  |  |  |  |  |  |
| 15 | Is the projection length of anchor bolt above the concrete adequate for two nuts including washer, when required by design or standard detail? |  |  |  |  |  |  |  |  |  |
| 16 | Does the type and grade of nuts comply with project specifications? |  |  |  |  |  |  |  |  |  |
| 17 | Does the anchor bolt-hole size in base plate comply with code? |  |  |  |  |  |  |  |  |  |
| 18 | Have the edge distances in base plate been checked with code? |  |  |  |  |  |  |  |  |  |
| 19 | Does the center to center distance between anchor bolts comply with code? |  |  |  |  |  |  |  |  |  |
| 20 | Has the clash between steel column and nut been checked? |  |  |  |  |  |  |  |  |  |
| 21 | Have two dissimilar metals been isolated to avoid corrosion due to galvanic action? |  |  |  |  |  |  |  |  |  |
| 22 | Has the corrosion allowance been considered for anchor bolts, when required by design? |  |  |  |  |  |  |  |  |  |
| 23 | Does anchor bolt validate the calculations submitted for each type, grade and diameter of anchor bolt? |  |  |  |  |  |  |  |  |  |
| 24 | Does base plate validate the calculations submitted for each type, grade & diameter of anchor bolt? |  |  |  |  |  |  |  |  |  |
| 25 | Does the base plate with moment connection reflect the correct arrangement of anchor bolts and shear lug, if required, in calculation report? |  |  |  |  |  |  |  |  |  |
| 26 | Does the base plate with shear connection (pin support) reflect the correct arrangement of anchor bolts in calculation report? |  |  |  |  |  |  |  |  |  |
| Co-related Documents |  |  |  |  |  |  |  |  |  |  |
| 27 | Has reference of the list of drawings been provided? |  |  |  |  |  |  |  |  |  |
| 28 | Has the reference of general notes drawing been provided? |  |  |  |  |  |  |  |  |  |
| 29 | Has the reference of framing plan drawing been provided? |  |  |  |  |  |  |  |  |  |
| Coordination and Review |  |  |  |  |  |  |  |  |  |  |
| 30 | Has appropriate interdisciplinary and intradepartmental coordination been done? |  |  |  |  |  |  |  |  |  |
| 31 | Have reviewers from other disciplines/departments evaluated items pertinent to their area and provided their comments? |  |  |  |  |  |  |  |  |  |
| 32 | Has the Responsible engineer resolved their comments? |  |  |  |  |  |  |  |  |  |
| 33 | If applicable has the drawing been stamped by a registered professional engineer? |  |  |  |  |  |  |  |  |  |
| 34 | Has the drawing been checked for constructability? |  |  |  |  |  |  |  |  |  |
| 35 | Has the drawing been checked for “Holds” |  |  |  |  |  |  |  |  |  |
| Administrative |  |  |  |  |  |  |  |  |  |  |
| 36 | Is the Drawing number and template in accordance with the Project Requirements? |  |  |  |  |  |  |  |  |  |
| 37 | If revised, have revisions been clearly identified with clouds and clear statement in revision block? |  |  |  |  |  |  |  |  |  |
| 38 | Have previous revision indications been removed? |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments (against each SLD) | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |