| PROJECT NAME: |  |  | DRAWING NO. |  |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| - Drawing Presentation |  |  |  |  |  |  |  |  |  |  |
|  | Does the drawing comply with the project CAD Standards (All lines, symbols, legends, abbreviations, text, etc. are legible)? |  |  |  |  |  |  |  |  |  |
|  | Is the Drawing reviewed for constructability? |  |  |  |  |  |  |  |  |  |
|  | Does the layout read and interpreted in conjunction with the applicable Architectural, Civil, Electrical (both LV System & ELV System) and Mechanical Layout? |  |  |  |  |  |  |  |  |  |
|  | Fields in the title block are consistent with the project drawing log/index. |  |  |  |  |  |  |  |  |  |
|  | Key plan and North arrow are provided & the key plan shall have the layout area hatched. |  |  |  |  |  |  |  |  |  |
|  | Match lines or X-Y Grid are clearly defined. |  |  |  |  |  |  |  |  |  |
|  | Drawing notes are complete & agree with information on the drawings & details. |  |  |  |  |  |  |  |  |  |
|  | Are the layout dimensions (conduit Type, size, number, etc.) clearly defined? |  |  |  |  |  |  |  |  |  |
|  | Bar scale is shown on the drawing & correct scale is used for all details, plan/elevation & sections. Details Not to Scale are also clearly marked. |  |  |  |  |  |  |  |  |  |
|  | All interdisciplinary comments & comments from previous revisions have been resolved and incorporated. Holds & revisions are correctly marked. |  |  |  |  |  |  |  |  |  |
|  | Limits of existing and new work including future expansions, interface points, Battery limits are clearly defined. |  |  |  |  |  |  |  |  |  |
|  | Check if conduit continuations between drawings have been verified and properly identified. (Not Applicable for power projects). |  |  |  |  |  |  |  |  |  |
| - Code/Standard/ Project Specification |  |  |  |  |  |  |  |  |  |  |
|  | Does the system design comply with the applicable Code, International and Saudi standard, local Government Regulation and Project Specification |  |  |  |  |  |  |  |  |  |
|  | Are the conduit Installations in hazardous areas in accordance with the applicable codes and standards? |  |  |  |  |  |  |  |  |  |
|  | Is the circuit Identification and tagging as per the load schedules and project requirements? |  |  |  |  |  |  |  |  |  |
| - Reference Information |  |  |  |  |  |  |  |  |  |  |
|  | Check to ensure general notes include reference to applicable Codes, Standards and Project Specifications/Supplier submittals. |  |  |  |  |  |  |  |  |  |
|  | Check for correctness of reference drawings. |  |  |  |  |  |  |  |  |  |
|  | Sections and details are correctly cross-referenced. |  |  |  |  |  |  |  |  |  |
|  | Check and verify any special requirements by other (vendors and sub-contractor). |  |  |  |  |  |  |  |  |  |
| - Design |  |  |  |  |  |  |  |  |  |  |
|  | Does the conduit or raceway material suitable for the environment? |  |  |  |  |  |  |  |  |  |
|  | Are the radius of the bends for large conduits designed with consideration for the cable type / vendor data for minimum bending radius and side-wall pressure / Applicable codes and standards? |  |  |  |  |  |  |  |  |  |
|  | Are the filling ratio or space factors considered as per codes and standards? |  |  |  |  |  |  |  |  |  |
|  | Are the layout providing the detail regarding the pull boxes and Junction boxes requirement per the code and standard? |  |  |  |  |  |  |  |  |  |
|  | Are the layout provided the details regarding the space between conduit supports? |  |  |  |  |  |  |  |  |  |
|  | On pipe bridges (pipe ways, pipe racks) and where steel members are discontinuous, additional intermediate steel members have been provided for conduit supports, spaced in accordance with the requirements of applicable codes and standards. |  |  |  |  |  |  |  |  |  |
|  | Are the conduits provided with expansion fittings, as required, and suitable for the area of classification? |  |  |  |  |  |  |  |  |  |
|  | Installation details are appropriate and quantities verified. |  |  |  |  |  |  |  |  |  |
|  | Ensure that groups of conduits do not create obstacles / obstructions. |  |  |  |  |  |  |  |  |  |
|  | Penetrations through walls / floors / and ceilings have been coordinated with the appropriate disciplines (and compared against vendor drawings, where necessary) and penetrations are sealed appropriately. |  |  |  |  |  |  |  |  |  |
|  | Where permitted and where required by the type of equipment, U.L. listed liquid tight flexible metal conduit has been shown and specified to be used with approved fittings. |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments (against each SLD) | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |