(This checklist to be used if another specific drawing type checklist is not available)

| PROJECT NAME: |  |  | DRAWING NO. |  |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| Preparation and Checking |  |  |  |  |  |  |  |  |  |  |
| 01 | Does the drawing comply with applicable codes, standards and regulatory requirements? |  |  |  |  |  |  |  |  |  |
| 02 | Does the drawing comply with applicable project design criteria, system or structural functional requirements, Scope Book, and Design basis documents considered? |  |  |  |  |  |  |  |  |  |
| 03 | Is the latest background used in the drawing? |  |  |  |  |  |  |  |  |  |
| 04 | Has information from the latest calculations supporting the drawing been used? |  |  |  |  |  |  |  |  |  |
| 05 | Match lines checked and are correct? |  |  |  |  |  |  |  |  |  |
| 06 | Has it been reviewed for constructability? |  |  |  |  |  |  |  |  |  |
| 07 | Operability requirements considered? |  |  |  |  |  |  |  |  |  |
| 08 | Accessibility and other design provisions (including safety in design) for maintenance, repair, and in-service inspection been considered? |  |  |  |  |  |  |  |  |  |
| 09 | Has an interference check been performed and clashes resolved? |  |  |  |  |  |  |  |  |  |
| 10 | Are the references provided and correct? |  |  |  |  |  |  |  |  |  |
| 11 | Notes provide reference to applicable specifications, standard details, key design requirements such as material, paint, concrete class, etc.? |  |  |  |  |  |  |  |  |  |
| 12 | On Issued for Construction drawings, have holds been placed for items with incomplete or preliminary information? |  |  |  |  |  |  |  |  |  |
| 13 | Are the battery limits for design/ supply/ installation clearly marked |  |  |  |  |  |  |  |  |  |
| Co-related Documents |  |  |  |  |  |  |  |  |  |  |
| 14 | Have all outstanding change items such as Design/ Field change notices been incorporated? |  |  |  |  |  |  |  |  |  |
| Coordination and Review |  |  |  |  |  |  |  |  |  |  |
| 15 | Has appropriate interdisciplinary and intradepartmental coordination been done? |  |  |  |  |  |  |  |  |  |
| 16 | Have reviewers from other disciplines/departments evaluated items pertinent to their area and provided their comments? |  |  |  |  |  |  |  |  |  |
| 17 | If applicable, has the drawing been stamped by a registered professional engineer? |  |  |  |  |  |  |  |  |  |
| Administrative |  |  |  |  |  |  |  |  |  |  |
| 18 | Is the Drawing number and template in accordance with the Project Requirements? |  |  |  |  |  |  |  |  |  |
| 19 | If revised, have revisions been clearly identified with clouds and clear statement in revision block? |  |  |  |  |  |  |  |  |  |
| 20 | Have previous revision indications been removed? |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments (against each drawing) | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |