| ROJECT NAME: |  |  | DRAWING NO. |  |  |  |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A | YES |  | NO |
| - Drawing Presentation |  |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic comply with the project CAD Standards (All lines, symbols, legends, abbreviations, text, etc. are legible)? |  |  |  |  |  |  |  |  |  |
|  | Are the fields in the title block consistent with the project drawing log/ index? |  |  |  |  |  |  |  |  |  |
|  | Do the drawing notes complete & agree with information on the drawings & details? |  |  |  |  |  |  |  |  |  |
|  | Are the layout legends specific and provide the details? |  |  |  |  |  |  |  |  |  |
|  | All interdisciplinary comments and comments from previous revisions have been resolved and incorporated. Holds and revisions are correctly marked. |  |  |  |  |  |  |  |  |  |
|  | Limits of existing and new work including future expansions, interface points, Battery limits are clearly defined |  |  |  |  |  |  |  |  |  |
| - Code/Standard/Project Specification |  |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic prepared in accordance to the applicable Code, International and Saudi standard, local Government Regulation, the suppliers or vendors requirements and Project Specification? |  |  |  |  |  |  |  |  |  |
|  | Verify the equipment and components tag/identification numbers, dimensions, locations, etc. with project standards/vendor documents, as applicable |  |  |  |  |  |  |  |  |  |
| - Reference Information |  |  |  |  |  |  |  |  |  |  |
|  | Check to ensure general notes include reference to applicable Codes, Standards and Project Specifications/Supplier submittals. |  |  |  |  |  |  |  |  |  |
|  | Check for correctness of reference drawings. |  |  |  |  |  |  |  |  |  |
|  | List and verify any special requirements by others (Sub-Contractors, Vendors, etc.) |  |  |  |  |  |  |  |  |  |
| D. Design |  |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic prepared in a ladder format? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic provide the adequate information regarding interconnection details between devices, devices to the equipment’s (main panels), communicate or integrate with the other ELV System? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic provide the details of the cables (Both the system and communication cable)? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic prepared, based on the function of Control System Logic? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic looping arrangement complete and function? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic prepared in accordance with the manufacturer standards and product information? |  |  |  |  |  |  |  |  |  |
|  | Does the selection and the location of peripheral devices, components, etc.as per the specialist recommendation and the project requirements? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic show the device termination details? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic provide the details of interfaces, I/O addresses, functional diagram? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic provide the details of spare and future provision? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic specify and provide the details of the equipment/ panels location? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic determine and provide the information by level of the functionality, complexity and safety? |  |  |  |  |  |  |  |  |  |
|  | Does ELV System Schematic provide the device numbering and references correct tagging? |  |  |  |  |  |  |  |  |  |
|  | Does the wiring diagram provides the details of power, signal and control system? |  |  |  |  |  |  |  |  |  |
|  | Have the system provided the provision or facilities to integrate with the other system? |  |  |  |  |  |  |  |  |  |
|  | Have the schematic specify the requirements of dedicated Earthing/ Grounding? |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |