| PROJECT NAME: |  |  | DRAWING NO. |  |  |  |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A | YES |  | NO |
| - Drawing Presentation |  |  |  |  |  |  |  |  |  |  |
|  | Does the drawing comply with the project CAD Standards (All lines, symbols, legends, abbreviations, text, etc. are legible)? |  |  |  |  |  |  |  |  |  |
|  | Is the Drawing reviewed for constructability? |  |  |  |  |  |  |  |  |  |
|  | Is the layout read and interpreted in conjunction with the applicable Architectural, Civil, Electrical (both LV System & ELV System) and Mechanical Layout? |  |  |  |  |  |  |  |  |  |
|  | Are the fields in the title block consistent with the project drawing log/ index? |  |  |  |  |  |  |  |  |  |
|  | Key plan and North arrow are provided & the key plan shall have the layout area hatched. |  |  |  |  |  |  |  |  |  |
|  | Match lines or X-Y Grid are clearly defined. |  |  |  |  |  |  |  |  |  |
|  | Drawing notes are complete & agree with information on the drawings & details. |  |  |  |  |  |  |  |  |  |
|  | Are the layout dimensions (mounting height, operating height of the outlets, devices, etc.) clearly defined? |  |  |  |  |  |  |  |  |  |
|  | Are the layout legends specific and provide the details regarding the type of the cable (both Fire cables and communication cables), and the detail of FACP, devices, interface with MEP services includes ELV and the security & control system, Interface with Elevator, etc.? |  |  |  |  |  |  |  |  |  |
|  | Make sure that each type of connection/installation is represented either by standard details applicable for the project or details are drawn on the layout drawing. |  |  |  |  |  |  |  |  |  |
|  | Bar scale is shown on the drawing and correct scale is used for all details, plan/elevation/sections. Details Not to Scale are also clearly marked. |  |  |  |  |  |  |  |  |  |
|  | All interdisciplinary comments and comments from previous revisions have been resolved and incorporated. Holds and revisions are correctly marked. |  |  |  |  |  |  |  |  |  |
|  | Limits of existing and new work including future expansions, interface points, Battery limits are clearly defined |  |  |  |  |  |  |  |  |  |
|  | Check if conduit continuations between drawings have been verified and properly identified. |  |  |  |  |  |  |  |  |  |
| - Code/Standard/Project Specification |  |  |  |  |  |  |  |  |  |  |
|  | The system design shall comply with the applicable Code, International and Saudi standard, local Government Regulation and Project Specification |  |  |  |  |  |  |  |  |  |
|  | Verify the equipment and components tag/identification numbers, dimensions, locations, etc. with project standards/vendor documents, as applicable |  |  |  |  |  |  |  |  |  |
|  | The installation of the system shall be in accordance with NFPA 70, NFPA 72, NFPA 90, NFPA101, NEC, NEMA, ASMI/ANSI A17.1 (Elevator Safety) and other applicable standards. |  |  |  |  |  |  |  |  |  |
|  | The designing of the Fire Alarm System shall comply with the design criteria. |  |  |  |  |  |  |  |  |  |
| - Reference Information |  |  |  |  |  |  |  |  |  |  |
|  | Check to ensure general notes include reference to applicable Codes, Standards and Project Specifications/Supplier submittals. |  |  |  |  |  |  |  |  |  |
|  | Check for correctness of reference drawings. |  |  |  |  |  |  |  |  |  |
|  | List and verify any special requirements by others (Sub-Contractors, Vendors, etc.) |  |  |  |  |  |  |  |  |  |
|  | Are the layout provided the details of the wiring diagram? |  |  |  |  |  |  |  |  |  |
|  | Sections and details are correctly cross-referenced. |  |  |  |  |  |  |  |  |  |
|  | Have the layout specified the dedicated containment for Fire Alarm System? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provide the detail of the containment route (both the horizontal and vertical)? |  |  |  |  |  |  |  |  |  |
| - Design |  |  |  |  |  |  |  |  |  |  |
|  | Have the technical feasibility of Fire Alarm System verified? |  |  |  |  |  |  |  |  |  |
|  | Are the selection and the location of Panels, peripheral devices, components, etc. per the specialist recommendation and meets the project requirement? |  |  |  |  |  |  |  |  |  |
|  | Does the system design considered the power source for FACP feed from Emergency or UPS power supply as per NFPA -70? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm System design considered the basic function includes the Fire Detection, Alarm, and Communication? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm System Design coordinated with the specialist and equipped with adequate number of peripheral devices to cover the entire building as per the requirements of NFPA and Saudi Building Code? |  |  |  |  |  |  |  |  |  |
|  | Does the system design consistent with the intelligent Addressable type, voice evacuation, analogue detection and modular Fire Alarm system? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm system design compatible to connect to the existing Fire Alarm System? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm System Devices, Panels, Components and etc. per UL Listed and comply to the requirements of Saudi Building Code? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm System design per the Zone Configuration (such as the consideration of Fire Zone, means of Egress and Area of Risk)? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm System design considered the spare Loop on each Zone irrespective of the single loop building? |  |  |  |  |  |  |  |  |  |
|  | Does the selection of the detector per the detector operational principle? |  |  |  |  |  |  |  |  |  |
|  | Does the system design considered the analysis of Fail-safe Operation? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm system design considered Elevator and provided the Addressable Interface Module to lock the Elevator to the safe location in the event of fire? |  |  |  |  |  |  |  |  |  |
|  | Does the Master Control Panel located as specified or complied to the Saudi Building Code and NFPA requirements? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm System Design considered the adequate number of Horn, Speaker and Strobe light in Corridor? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm System Design considered and avoided to locate Smoke Detector away from the cooking stove and shower (If applicable)? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm System Design considered the Fire Telephone System and the layout show the Fire Telephone Jack in Emergency Escape Staircase? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm system design considered and made provision to Monitor the Fire Suppression system and the layout provided the connection details? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm system design considered and made provision to interface with the other building services? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm System Layout provided the details including the location of FACP Panel, devices, circuiting and details of the graphical annunciator? |  |  |  |  |  |  |  |  |  |
|  | Does the layout show the Manual Pull Station and Break glass near Emergency Escape exit? |  |  |  |  |  |  |  |  |  |
|  | Does the system protected from the unauthorized access? |  |  |  |  |  |  |  |  |  |
|  | Does the Fire Alarm System Layout provided the details of Graphical Fire Safety and Fire Command Centre? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provided the connection details of the smoke damper? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provided the interface detail with the Access Control System? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provided the interface detail with AHU’s DDC Panel? |  |  |  |  |  |  |  |  |  |
|  | Does the design considered and the layout provided the details of overall Fire alarm system integration? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provided with the Cause and Effect Matrix? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provided with the detail of System Labelling? |  |  |  |  |  |  |  |  |  |
|  | Does the system provided the communication network protocol details (TCP/IP)? |  |  |  |  |  |  |  |  |  |
|  | Does the system provided the details of Mimic Panel? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provided the details Supervising station? |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |