| PROJECT NAME: |  |  | DRAWING NO. |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | INSPECTION ITEM |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Initial Testing |  |  |  |  |  |  |
| 1 | Verification of Redundancy Server Configuration |  |  |  |  |  |  |
|  | - Verify the pros IP address in the configure server webpage |  |  |  |  |  |  |
|  | - Verify Main Server IP address in the configure server webpage |  |  |  |  |  |  |
|  | - Verify whether redundancy server is added in the Main Server |  |  |  |  |  |  |
|  | - Verify Main and redundancy server status |  |  |  |  |  |  |
|  | - Verify that all main gateways are registered to the Main Server |  |  |  |  |  |  |
|  | - Verify IP Media Resource status are registered |  |  |  |  |  |  |
| 2 | Verification of Redundancy SRST Fallback Support System |  |  |  |  |  |  |
|  | - Verify the SRST IP Address that needs to be configured |  |  |  |  |  |  |
|  | - Verify the Redundancy Call Processor. Turn-off all Call-Manager (CM) Server service. |  |  |  |  |  |  |
|  | - Check the Redundancy Call Processor for other Voice Gateways (VG). Turn-off all other Call Manager Server service. |  |  |  |  |  |  |
|  | - Check the auto-assign for SRST |  |  |  |  |  |  |
|  | - Check Call-Manager fallback VG . Turn-on all CM Server service |  |  |  |  |  |  |
|  | - Check other Call-Manager fallback VG. Turn-on all CM Server service |  |  |  |  |  |  |
|  | Functional Testing |  |  |  |  |  |  |
| 3 | Conduct Rack Server Failure Test to confirm behavior of rack server in the event of failure of main terminal. Test is to confirm back-up service in the event of main terminal failure. |  |  |  |  |  |  |
| 4 | Conduct SIP Session Test to test call from internal station to a landline or mobile phone. |  |  |  |  |  |  |
| 5 | Conduct Call-Transfer Test by making a call between phone stations and dialing call transfer button followed by another station number to transfer the call. |  |  |  |  |  |  |
| 6 | Conduct Call-Forward Test by making a call between phone stations and confirm call-forward function based on set rules. |  |  |  |  |  |  |
| 7 | Conduct Call Recording Test by making a call between phone stations equipped with auto call recording. Check recorded call via recording webpage. |  |  |  |  |  |  |
| 8 | Conduct Call Billing Test by making a call between local line and outside line. Open the Call Detail Record (CDR) to check call duration. |  |  |  |  |  |  |
| 9 | Conduct test to confirm auto uploading of TFTP files from TFTP webpage once an IP Phone is plug in the data outlet. |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |