| PROJECT NAME: |  | DRAWING NO. |  |  |  |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  | N/A | YES | NO | N/A | YES |  | NO |
|  | Does the drawing comply with applicable codes, standards and regulatory requirements? |  |  |  |  |  |  |  |  |
|  | Does the drawing comply with applicable Project Design Criteria, system or structural functional requirements, Scope Book, and Design Basis Documents considered? |  |  |  |  |  |  |  |  |
|  | Is the coordinate system and site arrow direction (North) on drawing correct? |  |  |  |  |  |  |  |  |
|  | Does the Allowable Bearing Capacity (ABC) on the drawing comply with geotechnical report? |  |  |  |  |  |  |  |  |
|  | Does the Specified grade of structural steel comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the Specified grade of hollow steel sections comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the Specified grade of cold form steel comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the Specified grade of stainless steel comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the specified grade of welding electrode comply with code? |  |  |  |  |  |  |  |  |
|  | Does drawing include a note for minimum fillet weld? |  |  |  |  |  |  |  |  |
|  | Does type of concrete/concrete mix comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the specified compressive strength (28-days) of RCC concrete (Sub-structure and super-Structure) comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the specified compressive strength (28-days) of mass concrete comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the drawing specify the required compressive strength (28-days) of precast (not pre/post tensioned) concrete members, and does this comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does drawing specify the minimum required compressive strength of precast concrete elements at lifting stage? |  |  |  |  |  |  |  |  |
|  | Does drawing specify the required compressive strength (28-days) of non-shrink grout, and does this comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does drawing specify the required compressive strength (28-days) of cement/sand mortar and type of mortar, and does this comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does drawing specify the required compressive strength (28-days) of blinding concrete, and does this comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the type and grade of anchor bolts comply with Project specifications? |  |  |  |  |  |  |  |  |
|  | Does the type and grade of structural fasteners comply with Project specifications? |  |  |  |  |  |  |  |  |
|  | Does the drawing include a note for the separation of two dissimilar metals to avoid corrosion? |  |  |  |  |  |  |  |  |
|  | Does the grade of reinforcement steel comply with Project specifications? |  |  |  |  |  |  |  |  |
|  | Have the reinforcement splice lengths been checked with Codes? |  |  |  |  |  |  |  |  |
|  | Does drawing include table for splice lengths? |  |  |  |  |  |  |  |  |
|  | Does the drawing specify the limit on construction loads? Construction load shall not exceed live load considered in the design. |  |  |  |  |  |  |  |  |

|  | Does concrete cover to reinforcement comply with Project Specifications? |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Does the concrete coating/protection system comply with Project Specifications? |  |  |  |  |  |  |  |
|  | Does the structural steel coating/protection system comply with Project Specifications? |  |  |  |  |  |  |  |
|  | Does drawing specify the construction joint detail? |  |  |  |  |  |  |  |
|  | Does drawing specify the type, grade and properties of water stops? |  |  |  |  |  |  |  |
|  | Does drawing specify the joint filler and joint sealant materials? |  |  |  |  |  |  |  |
|  | Does drawing include type, size and grade of grating? |  |  |  |  |  |  |  |
|  | Have legends and abbreviations been provided on the drawing? |  |  |  |  |  |  |  |
|  | Have the accessibility and other design provisions (including safety in design) for maintenance, repair, and in-service inspection been considered? |  |  |  |  |  |  |  |
|  | Does the drawing include tide levels? |  |  |  |  |  |  |  |
|  | Does the drawing specify cathodic protection system if applicable? |  |  |  |  |  |  |  |
|  | Does drawing specify backfill material properties? |  |  |  |  |  |  |  |
|  | Does drawing specify subgrade preparation/condition? |  |  |  |  |  |  |  |
|  | Does the drawing specify the geotextile properties? |  |  |  |  |  |  |  |
|  | Has reference list been provided for the referred drawings? |  |  |  |  |  |  |  |
|  | Does drawing include reference of interface drawings (MEP & Architecture)? |  |  |  |  |  |  |  |
|  | Does drawing include reference of Project Specifications? |  |  |  |  |  |  |  |
|  | Does drawing include reference of typical structural details? |  |  |  |  |  |  |  |
|  | Does drawing include reference of plot plan? |  |  |  |  |  |  |  |
|  | Has appropriate interdisciplinary and intradepartmental coordination been done? |  |  |  |  |  |  |  |
|  | Have reviewers from other disciplines/departments evaluated items pertinent to their area and provided their comments? |  |  |  |  |  |  |  |
|  | Has the Responsible engineer resolved their comments? |  |  |  |  |  |  |  |
|  | If applicable has the drawing been stamped by a registered professional engineer? |  |  |  |  |  |  |  |
|  | Has the drawing been checked for constructability? |  |  |  |  |  |  |  |
|  | Are the Drawing number and template in accordance with the project requirements? |  |  |  |  |  |  |  |
|  | If revised, have revisions been clearly identified with clouds and clear statement in revision block? |  |  |  |  |  |  |  |
|  | Have previous revision indications been removed? |  |  |  |  |  |  |  |
| No. | Checker’s Comments | Resolution |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |