| PROJECT NAME: |  |  | DRAWING NO. |  |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| Preparation and Checking |  |  |  |  |  |  |  |  |  |  |
| 01 | Does the drawing comply with applicable codes, standards and regulatory requirements? |  |  |  |  |  |  |  |  |  |
| 02 | Does the drawing comply with applicable project design criteria, system or structural functional requirements, Scope Book, and Design basis documents considered? |  |  |  |  |  |  |  |  |  |
| 03 | Is the coordinate system and site arrow direction (Mecca) on drawing correct? |  |  |  |  |  |  |  |  |  |
| 04 | Do the Allowable Bearing Capacity (ABC) and the settlements on the drawing comply with geotechnical report? |  |  |  |  |  |  |  |  |  |
| 05 | Does the Specified grade of structural steel comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 06 | Does the Specified grade of hollow steel sections comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 07 | Does the Specified grade of cold form steel comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 08 | Does the Specified grade of stainless steel comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 09 | Does the Specified grade of welding electrode comply with code? |  |  |  |  |  |  |  |  |  |
| 10 | Does drawing include a note for minimum fillet weld? |  |  |  |  |  |  |  |  |  |
| 11 | Does type of concrete/concrete mix comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 12 | Does the specified compressive strength (28-days) of RCC concrete (Sub-structure and super-Structure) comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 13 | Does the specified compressive strength (28-days) of mass concrete comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 14 | Does the drawing specify the specified compressive strength (28-days) of precast (not pre/post tensioned) concrete members and also this comply with project specifications? |  |  |  |  |  |  |  |  |  |
| 15 | Does drawing specify the minimum specified compressive strength of precast concrete elements at lifting stage? |  |  |  |  |  |  |  |  |  |
| 16 | Does drawing specify the specified compressive strength (28-days) of non-shrink grout and this comply with project specifications? |  |  |  |  |  |  |  |  |  |
| 17 | Does drawing specify the specified compressive strength (28-days) of cement/sand mortar, type of mortar and also this comply with project specifications? |  |  |  |  |  |  |  |  |  |
| 18 | Does drawing specify the specified compressive strength (28-days) of blinding concrete and this comply with project specifications? |  |  |  |  |  |  |  |  |  |
| 19 | Does the type and grade of anchor bolts comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 20 | Does the type and grade of structural fasteners comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 21 | Does the drawing include a note for the separation of two dissimilar metals to avoid corrosion? |  |  |  |  |  |  |  |  |  |
| 22 | Does the grade of reinforcement steel comply with project Specifications? |  |  |  |  |  |  |  |  |  |
| 23 | Have the splice lengths for tension and compression rebars been checked with Codes? |  |  |  |  |  |  |  |  |  |
| 24 | Does drawing include table for splice lengths? |  |  |  |  |  |  |  |  |  |
| 25 | Does the drawing specify the limit on construction loads? Construction load shall not exceed live load considered in the design. |  |  |  |  |  |  |  |  |  |
| 26 | Does concrete cover comply with Project specifications? |  |  |  |  |  |  |  |  |  |
| 27 | Does the concrete coating/protection system comply with Project Specifications? |  |  |  |  |  |  |  |  |  |
| 28 | Does the structural steel coating/protection system comply with Project Specifications? |  |  |  |  |  |  |  |  |  |
| 29 | Does drawing specify the construction joint detail? |  |  |  |  |  |  |  |  |  |
| 30 | Does drawing specify the type, grade and properties of water stops? |  |  |  |  |  |  |  |  |  |
| 31 | Does drawing specify the joint filler and joint sealant materials? |  |  |  |  |  |  |  |  |  |
| 32 | Does drawing include type, size and grade of grating? |  |  |  |  |  |  |  |  |  |
| 33 | Have legends and abbreviations been provided on the drawing? |  |  |  |  |  |  |  |  |  |
| 34 | Have the accessibility and other design provisions (including safety in design) for maintenance, repair, and in-service inspection been considered? |  |  |  |  |  |  |  |  |  |
| 35 | Has the drawing been checked for “Holds” |  |  |  |  |  |  |  |  |  |
| Co-related Documents |  |  |  |  |  |  |  |  |  |  |
| 36 | Has reference been provided for the list of drawings? |  |  |  |  |  |  |  |  |  |
| 37 | Does drawing include reference of interface drawings (MEP & Architecture)? |  |  |  |  |  |  |  |  |  |
| 38 | Does drawing include reference of project specifications? |  |  |  |  |  |  |  |  |  |
| 39 | Does drawing include reference of typical structural details? |  |  |  |  |  |  |  |  |  |
| 40 | Does drawing include reference of plot plan? |  |  |  |  |  |  |  |  |  |
| Coordination and Review |  |  |  |  |  |  |  |  |  |  |
| 41 | Has appropriate interdisciplinary and intradepartmental coordination been done? |  |  |  |  |  |  |  |  |  |
| 42 | Have reviewers from other disciplines/departments evaluated items pertinent to their area and provided their comments? |  |  |  |  |  |  |  |  |  |
| 43 | Has the Responsible engineer resolved their comments? |  |  |  |  |  |  |  |  |  |
| 44 | If applicable has the drawing been stamped by a registered professional engineer? |  |  |  |  |  |  |  |  |  |
| 45 | Has the drawing been checked for constructability? |  |  |  |  |  |  |  |  |  |
| Administrative |  |  |  |  |  |  |  |  |  |  |
| 46 | Is the Drawing number and template in accordance with the Project Requirements? |  |  |  |  |  |  |  |  |  |
| 47 | If revised, have revisions been clearly identified with clouds and clear statement in revision block? |  |  |  |  |  |  |  |  |  |
| 48 | Have previous revision indications been removed? |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments (against each SLD) | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |