| S. No. | QUESTIONS | Information Available |  |  | REMARKS |
| --- | --- | --- | --- | --- | --- |
|  |  | N/A | Yes | No |  |
| 1 | Availability of the updated or current Codes, Standards, local authority – Saudi Electricity Company(SEC) basic requirements and guidelines. |  |  |  |  |
| 2 | Have No Objection Certificate (NOC’s) obtained on project ‘Demarcation Plan’? |  |  |  | to ensure SEC to reroute or rearrange the existing utility services (if applicable) |
| 3 | Are SEC approval obtained for Estimated Total Connected Load in kW? |  |  |  |  |
| 4 | Are approval obtained to Tie-in to SEC substation? |  |  |  |  |
| 5 | Have the schedule for SEC upgrade meet with the project schedule (if applicable)? |  |  |  |  |
| 6 | Determine details of design documentations to be submitted to utility. |  |  |  |  |
| 7 | Is Single Line Diagram (SLD) submitted and obtained approval from SEC? |  |  |  |  |
| 8 | Is Load Schedules submitted and obtained approval from SEC? |  |  |  |  |
| 9 | Are the substation layout and Feeder cable entry details submitted and obtained approval? |  |  |  |  |
| 10 | Are Metering Requirement and specific metering equipment considered during design and approved by SEC? |  |  |  |  |
| 11 | Have the detail required for the Fault disturbance monitoring requirement (if applicable)? |  |  |  |  |
| 12 | Are the details and scope determined for the requirement of Fiber Optic Cable installation and termination (if applicable)? |  |  |  |  |
| 13 | Available utility short-circuits current, including values for normal and alternate supply facilities, as well as any anticipated future values (i.e., range of single and three phase-to-ground fault currents, and associated X/R ratios, at the consumer’s point of service). |  |  |  |  |
| 14 | Are the details determined regarding the confirmation on fault level settings or Protection Relay Settings? |  |  |  |  |
| 15 | SCADA RTU Requirement - List of Analog Data and Status (Digital) points required to be sent to utility. Supervisory control requirement, if any. Specific equipment requirement. |  |  |  |  |
| 16 | Do the information available regarding ‘Utility grounding and lightning protection practices? |  |  |  |  |
| 17 | Arrangement for Temporary Power for Construction, (if applicable). |  |  |  |  |
| 18 | Telephone Line interface, if any. |  |  |  |  |
| 19 | Utility Phase designation and phasor rotation. |  |  |  |  |
| 20 | Minimum Power Factor requirement. Power Factor penalties. |  |  |  |  |
| 21 | Expected minimum, maximum, and nominal voltage/frequency at the consumer’s point of service and obtain details regarding time duration on both steady state & transient condition |  |  |  |  |
| 22 | Specific reclosing practices on both normal and alternate supply facilities. |  |  |  |  |
| 23 | Power quality requirement - Harmonic content, voltage fluctuation, and current unbalance limits imposed by the utility. |  |  |  |  |
| 24 | Load shedding requirements. |  |  |  |  |