| PROJECT NAME: |  |  |  | DRAWING NO. |  |  |  |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  |  | ORIGINATOR |  |  |  |  | CHECKER |  |  |  |
|  |  |  |  |  | N/A |  | YES | NO |  | N/A | YES | NO |  |
| Drawing Presentation |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | All lines, symbols, legends, abbreviations and text are legible and in compliance with Project CAD procedures. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fields in the title block are consistent with the project drawing log/index |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Key plan and North arrow are provided. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | All match lines are clearly defined. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Drawing notes are complete & agree with information on the drawings and details. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Coordinates and Layout dimensions (Electrode spacing, grid spacing, Earthing/Grounding bar details, etc.) are clearly defined |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Bar scale is shown on the drawing & correct scale is used for all details, plan/elevation & sections. Details Not to Scale are also clearly marked. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | All interdisciplinary comments & comments from previous revisions have been resolved and incorporated. Holds & revisions are correctly marked. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Bill of Materials is correctly presented on the drawing. |  |  |  |  |  |  |  |  |  |  |  |  |
| Codes & Standards |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | The system design shall comply with the applicable Code, International and Saudi standard, local Government Regulation and Project Specification |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Are the layouts prepared and compliance with the appropriate codes or standard (BS 6651, NFPA 780, LP 175,176 & 177)? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lightning Protection installations are in compliance with the design criteria. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Verify the equipment and components tag/identification numbers, dimensions, locations, etc. with project standards/vendor documents, as applicable |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Make sure that each type of connection/installation is represented either by standard details applicable for the project or details are drawn on the layout drawing. |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Information |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Have the technical feasibility of Lightning Protection System verified? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check to ensure general notes include references to applicable Codes, Standards and Project Specifications/Supplier submittals. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check for correctness of reference drawings. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | List and verify any special requirements by others (Sub-Contractors, Vendors, etc.). |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the layout provide the detail of the route (both the horizontal and vertical)? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Sections and details are correctly cross-referenced. |  |  |  |  |  |  |  |  |  |  |  |  |
| Design |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Have the technical feasibility of the components verified? (Note: The systems shall be coordinated with the specialist and the design complied to the latest technology). |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Are the layouts coordinated with the structural (Zone of protection using Geometric model) and Architectural Layout? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Ensure to specify that the materials are ANSI/ UL Listed (UL 96 & 96A). |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the Risk Assessment, Evaluation carried and determines based on the type of the structure or Building and environments? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the system design to enhance the protection of the entire structure of the building? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check if, the materials and components are protected against 'Corrosion Protection' |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Are the lightning protection system coordinated with the grounding and surge protection provision for each facility? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the Lightning Protection System conductor bond with the Building structure and other metal part? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Have the lightning protection system provided with the adequate number of the test points? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the lightning protection system design consider the separate Earth pit for each down conductors? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the Lightning Protection System Layout provide the bonding detail between the System Earthing? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the layout provide the details of the equipotential bonding between the outdoor mechanical equipment and roof steel structure to the Lightning Protection System? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the Lightning Protection System design consider the Sensitive System Protection (e.g. transient voltages into electronic equipment)? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the designing of the Lightning Protection System in line with the calculation? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Does the designing of the Lightning Protection system and selection of the material based on the local environments, soil resistivity and the soil conditions? |  |  |  |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |  |  |