| PROJECT NAME: |  |  | DRAWING NO. |  |  |  |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A | YES |  | NO |
| - Drawing Presentation |  |  |  |  |  |  |  |  |  |  |
| - D | Does Drawing comply with the project CAD Standards (All lines, symbols, legends, abbreviations, text, etc. are legible)? |  |  |  |  |  |  |  |  |  |
|  | Is the Drawing reviewed for constructability? |  |  |  |  |  |  |  |  |  |
|  | Is the layout read and interpreted in conjunction with the applicable Architectural, Civil, Electrical and Mechanical Layout? |  |  |  |  |  |  |  |  |  |
|  | Are the fields in the title block consistent with the project drawing log/ index? |  |  |  |  |  |  |  |  |  |
|  | Key plan and North arrow are provided & the key plan shall have the layout area hatched. |  |  |  |  |  |  |  |  |  |
|  | Match lines or X-Y Grid are clearly defined. |  |  |  |  |  |  |  |  |  |
|  | Drawing notes are complete & agree with information on the drawings & details. |  |  |  |  |  |  |  |  |  |
|  | Are the layout dimensions (mounting height, operating height of the outlets, devices, etc.) clearly defined? |  |  |  |  |  |  |  |  |  |
|  | Are the layout legends specific and provide the details regarding the type of the cable, and the detail of the devices, components, GPS Receiver, Transmitter and the equipment mounting in rack, etc.? |  |  |  |  |  |  |  |  |  |
|  | Bar scale is shown on the drawing and correct scale is used for all details, plan/elevation/sections. Details Not to Scale are also clearly marked. |  |  |  |  |  |  |  |  |  |
|  | All interdisciplinary comments and comments from previous revisions have been resolved and incorporated. Holds and revisions are correctly marked. |  |  |  |  |  |  |  |  |  |
|  | Limits of existing and new work including future expansions, interface points, Battery limits are clearly defined |  |  |  |  |  |  |  |  |  |
|  | Check if conduit continuations between drawings have been verified and properly identified. |  |  |  |  |  |  |  |  |  |
| - Code/Standard/Project Specification |  |  |  |  |  |  |  |  |  |  |
|  | The system design shall comply with the applicable Code, International and Saudi standard, local Government Regulation and Project Specification |  |  |  |  |  |  |  |  |  |
|  | The installation of the system shall be in accordance with NFPA, EIA/TIA, NEC, NEMA, BICSI and other applicable standards. |  |  |  |  |  |  |  |  |  |
|  | Verify the equipment and components tag/identification numbers, dimensions, locations, etc. with project standards/vendor documents, as applicable code |  |  |  |  |  |  |  |  |  |
|  | Make sure that each type of connection/installation is represented either by standard details applicable for the project or details are drawn on the layout drawing. |  |  |  |  |  |  |  |  |  |
| - Reference Information |  |  |  |  |  |  |  |  |  |  |
|  | Check to ensure general notes include reference to applicable Codes, Standards and Project Specifications/Supplier submittals. |  |  |  |  |  |  |  |  |  |
|  | Check for correctness of reference drawings. |  |  |  |  |  |  |  |  |  |
|  | List and verify any special requirements by others (Sub-Contractors, Vendors, etc.) |  |  |  |  |  |  |  |  |  |
|  | Are the layout provided the details of the wiring diagram? |  |  |  |  |  |  |  |  |  |
|  | Sections and details are correctly cross-referenced. |  |  |  |  |  |  |  |  |  |
|  | Have the layout specified the dedicated containment for Master Clock System? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provide the detail of the containment route (both the horizontal and vertical)? |  |  |  |  |  |  |  |  |  |
| - Design |  |  |  |  |  |  |  |  |  |  |
|  | Have the technical feasibility of the equipment’s and components verified? Note: The systems shall be coordinated with the specialist and the design complied to the latest technology. |  |  |  |  |  |  |  |  |  |
|  | Have the layout coordinated with the Architectural, Structural, Electrical and Mechanical System layout? |  |  |  |  |  |  |  |  |  |
|  | Do the selection and the location of peripheral devices, components, etc.as per the specialist recommendation and the project requirements? |  |  |  |  |  |  |  |  |  |
|  | Are the system provided with the facilities to interface with the Existing Master Clock System (If, applicable)? |  |  |  |  |  |  |  |  |  |
|  | Are the layout provided the details of related works such as Power, Raceways, structure cables, data network/LAN, etc.? |  |  |  |  |  |  |  |  |  |
|  | Are the Master Clock System design consistent with the synchronized time throughout the facilities |  |  |  |  |  |  |  |  |  |
|  | Are the system design defined the type of the network connection for the ‘Time Source’ (example : Simple Network Time Protocol and Network Time Protocol) |  |  |  |  |  |  |  |  |  |
|  | Are the Master Clock System design and the layout defined the type such as Wired, wireless, IP Clock, and etc. |  |  |  |  |  |  |  |  |  |
|  | Are the layout provided the details of the Clock type (Example - Analog or Digital) |  |  |  |  |  |  |  |  |  |
|  | Are the layout provided the details of the Console and control panels, Rack arrangement, etc. |  |  |  |  |  |  |  |  |  |
|  | Ensure the system design consistent to integrate with the Data network server, Public Address System, Telecommunication System, etc. |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |