| PROJECT NAME: |  | DRAWING NO. |  |  |  |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  | N/A | YES | NO | N/A | YES |  | NO |
|  | Does the drawing comply with applicable codes, standards and regulatory requirements? |  |  |  |  |  |  |  |  |
|  | Does the drawing comply with applicable Project Design Criteria, system or structural functional requirements, Scope Book, and Design Basis Documents considered? |  |  |  |  |  |  |  |  |
|  | Is the coordinate system and site direction (North) on drawing correct? |  |  |  |  |  |  |  |  |
|  | Does the drawing include coordinates of piles matching project coordinate system? |  |  |  |  |  |  |  |  |
|  | Does the specified compressive strength of concrete piles comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the specified grade of reinforcement comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does splice length for reinforcement and anchorage length comply with Code? |  |  |  |  |  |  |  |  |
|  | Have the dowel lengths of rebars been checked with code? |  |  |  |  |  |  |  |  |
|  | Do concrete covers to reinforcement comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the concrete coating/protection system comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the steel coating/protection system comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does vertical angle or slope of batter piles comply with Project Standards? |  |  |  |  |  |  |  |  |
|  | Does minimum distance between piles comply with code or geotechnical recommendations? |  |  |  |  |  |  |  |  |
|  | Does drawing specify test loads including pile test arrangement? |  |  |  |  |  |  |  |  |
|  | Does the grade of structural steel comply with Project Specifications? |  |  |  |  |  |  |  |  |
|  | Does the drawing include diameter and wall thickness for steel piles? |  |  |  |  |  |  |  |  |
|  | Does the drawing include external/internal shear keys for steel piles? |  |  |  |  |  |  |  |  |
|  | Have the cut off levels of steel piles been checked with general arrangement drawings? |  |  |  |  |  |  |  |  |
|  | Does the drawing include steel diaphragm detail for pile plug connection? |  |  |  |  |  |  |  |  |
|  | Does the drawing contain pile schedule including toe level, top level, length of pile, quantities of piles, diameter of pile and batter angle of pile? |  |  |  |  |  |  |  |  |
|  | Does the drawing include scour protection detail? |  |  |  |  |  |  |  |  |
|  | Does the welding connection between piles comply with code? |  |  |  |  |  |  |  |  |
|  | Have the design parameters like pile embedded length, diameter, batter, spacing, type of fixity (i.e. pin or fixed), and wall thickness been validated with calculations report? |  |  |  |  |  |  |  |  |
|  | Has list of reference drawings been provided? |  |  |  |  |  |  |  |  |
|  | Has reference of general notes drawing been provided? |  |  |  |  |  |  |  |  |
|  | Has reference of pile layout drawing been provided? |  |  |  |  |  |  |  |  |
|  | Has appropriate interdisciplinary and intradepartmental coordination been done? |  |  |  |  |  |  |  |  |
|  | Have reviewers from other disciplines/departments evaluated items pertinent to their area and provided their comments? |  |  |  |  |  |  |  |  |

|  | Has the Responsible engineer resolved their comments? |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | If applicable has the drawing been stamped by a registered professional engineer? |  |  |  |  |  |  |  |
|  | Has the drawing been checked for constructability? |  |  |  |  |  |  |  |
|  | Are the Drawing number and template in accordance with the Project Requirements? |  |  |  |  |  |  |  |
|  | If revised, have revisions been clearly identified with clouds and clear statement in revision block? |  |  |  |  |  |  |  |
|  | Have previous revision indications been removed? |  |  |  |  |  |  |  |
| No. | Checker’s Comments | Resolution |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |