| PROJECT NAME: |  |  | DRAWING NO. |  |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| Preparation and Checking |  |  |  |  |  |  |  |  |  |  |
| 01 | Does the drawing comply with applicable codes, standards and regulatory requirements? |  |  |  |  |  |  |  |  |  |
| 02 | Does the drawing comply with applicable Project Design Criteria, system or structural functional requirements, Scope Book, and Design Basis Documents considered? |  |  |  |  |  |  |  |  |  |
| 03 | Is the coordinate system and site direction (North) on drawing correct? |  |  |  |  |  |  |  |  |  |
| 04 | Does the drawing include coordinates of piles matching project coordinate system? |  |  |  |  |  |  |  |  |  |
| 05 | Does the specified compressive strength of concrete piles comply with Project Specifications? |  |  |  |  |  |  |  |  |  |
| 06 | Does the specified grade of reinforcement comply with Project Specifications? |  |  |  |  |  |  |  |  |  |
| 07 | Does splice length for tension rebars and anchorage length comply with Code? |  |  |  |  |  |  |  |  |  |
| 08 | Have the dowel lengths of rebar's been checked with code? |  |  |  |  |  |  |  |  |  |
| 09 | Do concrete covers comply with Project Specifications? |  |  |  |  |  |  |  |  |  |
| 10 | Does the concrete coating/protection system comply with Project Specifications? |  |  |  |  |  |  |  |  |  |
| 11 | Does the steel coating/protection system comply with Project Specifications? |  |  |  |  |  |  |  |  |  |
| 12 | Does vertical angle or slope of batter piles comply with Project Standards? |  |  |  |  |  |  |  |  |  |
| 13 | Does minimum distance between piles comply with code/Geotechnical recommendations? |  |  |  |  |  |  |  |  |  |
| 14 | Does drawing specify test loads including pile test arrangement? |  |  |  |  |  |  |  |  |  |
| 15 | Does the grade of structural steel comply with Project Specifications? |  |  |  |  |  |  |  |  |  |
| 16 | Does the drawing include profile, size, diameter, wall thickness etc. for piles? |  |  |  |  |  |  |  |  |  |
| 17 | Does the drawing include external/internal shear keys for steel piles? |  |  |  |  |  |  |  |  |  |
| 18 | Have the cut off levels of steel piles been checked with general arrangement drawings? |  |  |  |  |  |  |  |  |  |
| 19 | Does the drawing include steel diaphragm detail for pile plug connection? |  |  |  |  |  |  |  |  |  |
| 20 | Does the drawing contain pile schedule including toe level, top level, length of pile, quantities of piles, diameter of pile and batter angle of pile? |  |  |  |  |  |  |  |  |  |
| 21 | Does the drawing include scour protection detail? |  |  |  |  |  |  |  |  |  |
| 22 | Does the welding connection between piles comply with code? |  |  |  |  |  |  |  |  |  |
| 23 | Have the design parameters like embedded length, diameter of pile, type of fixity (i.e. pin or fixed) wall thickness been validated with calculations report? |  |  |  |  |  |  |  |  |  |
| 24 | Does pile layout drawing mentions pile type (e.g. CIP, Pre-cast, Steel, Wood), length, cut-off elevation, requirement of tension connectors? |  |  |  |  |  |  |  |  |  |
| 25 | Has criteria for (a) pile driving, (b) pile refusal and (c) load tests been defined on the drawing? |  |  |  |  |  |  |  |  |  |
| 26 | Has each type of pile been designed structurally and are the pile design forces less than the minimum of structural strength and soil strength? |  |  |  |  |  |  |  |  |  |
| Co-related Documents |  |  |  |  |  |  |  |  |  |  |
| 27 | Has reference of list of drawings been provided? |  |  |  |  |  |  |  |  |  |
| 28 | Has reference of general notes drawing been provided? |  |  |  |  |  |  |  |  |  |
| 29 | Has reference of pile layout drawing been provided? |  |  |  |  |  |  |  |  |  |
| Coordination and Review |  |  |  |  |  |  |  |  |  |  |
| 30 | Has appropriate interdisciplinary and intradepartmental coordination been done? |  |  |  |  |  |  |  |  |  |
| 31 | Have reviewers from other disciplines/departments evaluated items pertinent to their area and provided their comments? |  |  |  |  |  |  |  |  |  |
| 32 | Has the Responsible engineer resolved their comments? |  |  |  |  |  |  |  |  |  |
| 33 | If applicable, has the drawing been stamped by a registered professional engineer? |  |  |  |  |  |  |  |  |  |
| 34 | Has the drawing been checked for constructability? |  |  |  |  |  |  |  |  |  |
| Administrative |  |  |  |  |  |  |  |  |  |  |
| 35 | Are the Drawing number and template in accordance with the project requirements? |  |  |  |  |  |  |  |  |  |
| 36 | If revised, have revisions been clearly identified with clouds and clear statement in revision block? |  |  |  |  |  |  |  |  |  |
| 37 | Have previous revision indications been removed? |  |  |  |  |  |  |  |  |  |
| No. | Checker’s Comments | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |