| PROJECT NAME: |  |  | DRAWING NO. |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | INSPECTION ITEM |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | General |  |  |  |  |  |  |
|  | Check visible sections of cables for physical damage. |  |  |  |  |  |  |
|  | Cables are routed in accordance with cable drawing (where visible). |  |  |  |  |  |  |
|  | Cables are adequately supported and correctly fixed to cable trays or structures. |  |  |  |  |  |  |
|  | Cable bends are within design limits or manufactures minimum allowable. |  |  |  |  |  |  |
|  | Cables are correctly loomed and segregated in accordance with project specifications. |  |  |  |  |  |  |
|  | Cable Connections shall be torqued by a calibrated wrench at the manufacture approved value |  |  |  |  |  |  |
|  | Strain relief is provided for conductors at the terminations. |  |  |  |  |  |  |
|  | Cable and wire tags are in accordance with project specifications and visible. |  |  |  |  |  |  |
|  | Glands, shrouds and earthing are in accordance with design specifications. |  |  |  |  |  |  |
|  | Cable splice and term kits, including insulation, are in accordance with design documents. |  |  |  |  |  |  |
|  | Termination lugs/connectors are of correct size. |  |  |  |  |  |  |
|  | Stress cones are properly installed in accordance with design documents. |  |  |  |  |  |  |
|  | Shield ground and termination are properly installed. |  |  |  |  |  |  |
|  | Cables are identified in project cable schedules. |  |  |  |  |  |  |
|  | Produce punch list items for identified defects. |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |