| PROJECT NAME: |  |  | DRAWING NO. |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | INSPECTION ITEM |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | General Installation |  |  |  |  |  |  |
|  | General appearance good and no apparent damage. |  |  |  |  |  |  |
|  | Equipment label affixed and matches the equipment tagging in the as-build drawing. |  |  |  |  |  |  |
|  | Unit ratings indicated (voltage, amperage, KAIC) in the nameplate matches the ratings in the design and approved documents. Date of manufacturing shall also be indicated. |  |  |  |  |  |  |
|  | Site is clean and tidy. |  |  |  |  |  |  |
|  | Location of unit and orientation correct as per drawing. |  |  |  |  |  |  |
|  | Check concrete pad and unit is bolted to pad properly. |  |  |  |  |  |  |
|  | All electrical warning and safety signs provided and in proper place. |  |  |  |  |  |  |
|  | Locks installed and functional and door/lids in working order and swings freely. |  |  |  |  |  |  |
|  | Doors and frames are earthed correctly. |  |  |  |  |  |  |
|  | Neutral/earth connection to standards. |  |  |  |  |  |  |
|  | Cables correctly terminated (right phase-rotation), labelled and supported. |  |  |  |  |  |  |
|  | MV/LV bushing without any apparent damage. |  |  |  |  |  |  |
|  | All connections tight to relevant torque requirements. |  |  |  |  |  |  |
|  | Vermin proofing (conduits filled with foam fill and/or gland plates installed) provided. |  |  |  |  |  |  |
|  | Check CT and VT are working properly. |  |  |  |  |  |  |
|  | Clearance between cables and switching mechanism as per standard requirements. |  |  |  |  |  |  |
|  | Appropriate lubrication applied for moving current-carrying parts. |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |