| PROJECT NAME: |  |  | DRAWING NO. |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | INSPECTION ITEM |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Cabinet and General Installation |  |  |  |  |  |  |
|  | Permanent labels affixed, including for fans. |  |  |  |  |  |  |
|  | Air flow capacity and ESP indicated in the fan nameplate are same as the approved document. |  |  |  |  |  |  |
|  | Motor rating such as Hp (Kw) and insulation class conforms to the approved document. |  |  |  |  |  |  |
|  | Equipment tagging is in compliance to the as-build drawings. |  |  |  |  |  |  |
|  | Casing condition good: no dents, leaks, door gaskets installed. |  |  |  |  |  |  |
|  | Flexible connection between duct and unit tight and in good condition. |  |  |  |  |  |  |
|  | Vibration isolation equipment installed & released from shipping locks. |  |  |  |  |  |  |
|  | Instrumentation installed according to specification (flow switch, differential pressure, pressure sensor, etc.). |  |  |  |  |  |  |
|  | Transport block removed (for centrifugal fans). |  |  |  |  |  |  |
|  | Clean up of equipment completed per contract documents. |  |  |  |  |  |  |
|  | Fans and Dampers |  |  |  |  |  |  |
|  | Fan and motor alignment correct. |  |  |  |  |  |  |
|  | Fan belt tension and condition good. |  |  |  |  |  |  |
|  | Fan protective shrouds for belts in place and secure. |  |  |  |  |  |  |
|  | Fan and motor properly lubricated. |  |  |  |  |  |  |
|  | All dampers close tightly. |  |  |  |  |  |  |
|  | All damper linkages have minimum play. |  |  |  |  |  |  |
|  | Electrical and Controls |  |  |  |  |  |  |
|  | Pilot lights are functioning. |  |  |  |  |  |  |
|  | Power disconnects in place and labeled. |  |  |  |  |  |  |
|  | All electric connections tight. |  |  |  |  |  |  |
|  | Proper grounding installed for components and unit. |  |  |  |  |  |  |
|  | Safeties in place and operable. |  |  |  |  |  |  |
|  | Starter overload breakers installed and correct size. |  |  |  |  |  |  |
|  | Sensors calibrated (see below). |  |  |  |  |  |  |
|  | Control system interlocks hooked up and functional. |  |  |  |  |  |  |
|  | Smoke detectors in place (as applicable). |  |  |  |  |  |  |
|  | Variable Frequency Drive |  |  |  |  |  |  |
|  | VFD powered (wired to controlled equipment). |  |  |  |  |  |  |
|  | VFD interlocked to control system. |  |  |  |  |  |  |
|  | Static pressure or other controlling sensor properly located and per drawings and calibrated. |  |  |  |  |  |  |
|  | Static pressure or other controlling sensor calibrated. |  |  |  |  |  |  |
|  | Drive location not subject to excessive temperatures. |  |  |  |  |  |  |
|  | Drive location not subject to excessive moisture or dirt. |  |  |  |  |  |  |
|  | Drive size matches motor size. |  |  |  |  |  |  |
|  | Internal setting designating the model is correct. |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |