| PROJECT NAME: |  |  | DRAWING NO. |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | INSPECTION ITEM |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | General Installation |  |  |  |  |  |  |
|  | Equipment labelling matches the equipment tagging as per the As-build. |  |  |  |  |  |  |
|  | Capacity of heat exchanger matches the equipment schedule and approved documents. |  |  |  |  |  |  |
|  | Equipment is in good condition and no apparent damage observed. |  |  |  |  |  |  |
|  | Pipework flushing, venting, and chemical treatment completed. |  |  |  |  |  |  |
|  | Pipework supported and properly insulated |  |  |  |  |  |  |
|  | Isolation valves, strainers, installed including control valves for multiple-parallel heat exchanger. |  |  |  |  |  |  |
|  | Piping appurtenances installed such as pressure gauge, temperature gauge, P/T sensors, and universal test plugs. |  |  |  |  |  |  |
|  | Double regulating valve or automatic balancing valve installed. |  |  |  |  |  |  |
|  | Flushing bypass loop provided with isolation valve. |  |  |  |  |  |  |
|  | Heat exchanger insulated and cladded. |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |