| PROJECT NAME: |  |  | DRAWING NO. |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | INSPECTION ITEM |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Cabinet and General Installation |  |  |  |  |  |  |
|  | Permanent labels affixed. |  |  |  |  |  |  |
|  | VAV model indicated in the nameplate are compliance to the approved documents. |  |  |  |  |  |  |
|  | Equipment tagging is in compliance to the as-build drawings. |  |  |  |  |  |  |
|  | Casing condition good: no dents, leaks, door gaskets installed. |  |  |  |  |  |  |
|  | Straight duct length of 3xDiameter is provided in the intake or as per manufacturer’s instruction. |  |  |  |  |  |  |
|  | Instrumentation installed according to specification (flow switch, balometer or cross bar, etc.) |  |  |  |  |  |  |
|  | Clean up of equipment completed per contract documents. |  |  |  |  |  |  |
|  | Control panel and unit instrumentation is accessible for above ceiling installation. |  |  |  |  |  |  |
|  | Electrical and Controls |  |  |  |  |  |  |
|  | Pilot lights are functioning. |  |  |  |  |  |  |
|  | Power disconnects in place and labeled. |  |  |  |  |  |  |
|  | All electric connections tight. |  |  |  |  |  |  |
|  | Proper grounding installed for components and unit. |  |  |  |  |  |  |
|  | Safeties in place and operable. |  |  |  |  |  |  |
|  | Sensors calibrated (see below) and with NIST Certification. |  |  |  |  |  |  |
|  | Control system interlocks hooked up and functional. |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |