| PROJECT NAME: |  |  | DRAWING NO. |  |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| Preparation and Checking |  |  |  |  |  |  |  |  |  |  |
| (This Check List Does not cover Pre-Tension or Post Tension Elements) |  |  |  |  |  |  |  |  |  |  |
| 01 | Does the drawing comply with applicable codes, standards and regulatory requirements? |  |  |  |  |  |  |  |  |  |
| 02 | Does the drawing comply with applicable project design criteria, system or structural functional requirements, Scope Book, and Design basis documents considered? |  |  |  |  |  |  |  |  |  |
| 03 | Are the precast elements and its details as shown on the drawing, supported and validated by structural calculations? |  |  |  |  |  |  |  |  |  |
| 04 | Does specified compressive strength (28-day) of precast elements comply project specifications? |  |  |  |  |  |  |  |  |  |
| 05 | Does specified compressive strength (28-day) of in-situ concrete comply project specifications? |  |  |  |  |  |  |  |  |  |
| 06 | Do type and grade of rebar comply with project specifications? |  |  |  |  |  |  |  |  |  |
| 08 | Does material grade for lifting lug/hook comply with project specifications? |  |  |  |  |  |  |  |  |  |
| 09 | Have the precast elements been checked for lifting stage? |  |  |  |  |  |  |  |  |  |
| 10 | Have precast elements been checked in calculations for concrete strength at the time of lifting? |  |  |  |  |  |  |  |  |  |
| 11 | Does shear reinforcement as shown in calculation in precast elements adequate for composite action? |  |  |  |  |  |  |  |  |  |
| 12 | Has the top surface of precast elements been roughened for in-situ concrete bonding (in composite construction), as assumed in the calculation? |  |  |  |  |  |  |  |  |  |
| 13 | Does bearing for precast elements as shown on drawing supported by calculation and comply with code requirements? |  |  |  |  |  |  |  |  |  |
| 14 | Has the precast element designed for wet weight of concrete (or construction stage) in the calculation report? |  |  |  |  |  |  |  |  |  |
| 15 | Does the design of precast element check for construction live load? |  |  |  |  |  |  |  |  |  |
| 16 | Does the design of lifting lug/hook include dynamic allowance? |  |  |  |  |  |  |  |  |  |
| 17 | Is embedded depth of lifting lug as shown on drawing adequate for lifting supported by calculation report? |  |  |  |  |  |  |  |  |  |
| 18 | Has lifting hook been checked for concrete pull out strength in the calculation report? |  |  |  |  |  |  |  |  |  |
| 19 | Has the splice length at connection between precast and in-situ concrete been check in calculation and it complied with code? |  |  |  |  |  |  |  |  |  |
| 20 | Have the openings in precast elements been considered in the calculations for permanent and lifting stages? |  |  |  |  |  |  |  |  |  |
| Co-related Documents |  |  |  |  |  |  |  |  |  |  |
| 21 | Has reference been provided for General Notes drawing? |  |  |  |  |  |  |  |  |  |
| 22 | Does drawing include reference of interface drawings (MEPF & Architecture)? |  |  |  |  |  |  |  |  |  |
| 23 | Has reference been provided for the list of drawings? |  |  |  |  |  |  |  |  |  |
| Coordination and Review |  |  |  |  |  |  |  |  |  |  |
| 24 | Has appropriate interdisciplinary and intradepartmental coordination been done? |  |  |  |  |  |  |  |  |  |
| 25 | Have reviewers from other disciplines/departments evaluated items pertinent to their area and provided their comments? |  |  |  |  |  |  |  |  |  |
| 26 | Has the Responsible engineer resolved their comments? |  |  |  |  |  |  |  |  |  |
| 27 | If applicable has the drawing been stamped by a registered professional engineer? |  |  |  |  |  |  |  |  |  |
| Administrative |  |  |  |  |  |  |  |  |  |  |
| 28 | Is the Drawing number and template in accordance with the Project Requirements? |  |  |  |  |  |  |  |  |  |
| 29 | If revised, have revisions been clearly identified with clouds and clear statement in revision block? |  |  |  |  |  |  |  |  |  |
| 30 | Have previous revision indications been removed? |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments (against each SLD) | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |