| PROJECT NAME: |  |  | DRAWING NO. |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | INSPECTION ITEM |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Visual Inspection |  |  |  |  |  |  |
| 1 | Verification of System Hardware |  |  |  |  |  |  |
|  | - System rack is properly positioned and secured |  |  |  |  |  |  |
|  | - VoIP active components are mounted on the system rack as per design |  |  |  |  |  |  |
|  | - VoIP components are connected to the rack earth ground bus. |  |  |  |  |  |  |
|  | - VoIP equipment are powered by corporate AC power source |  |  |  |  |  |  |
|  | - VoIP equipment are connected to LAN |  |  |  |  |  |  |
|  | - VoIP equipment and their cable connections are properly labelled, managed, and tested |  |  |  |  |  |  |
|  | - VoIP equipment is connected to the VoIP Service Provider and working |  |  |  |  |  |  |
|  | - Verify LED indicators of VoIP equipment. Red (for alarm), amber (minor), green (fine) |  |  |  |  |  |  |
|  | - Verify restart/reboot of VoIP equipment. Observe the restart/reboot process both soft and hard. |  |  |  |  |  |  |
|  | - Verify shutdown of VoIP equipment (both soft and hard shutdown) |  |  |  |  |  |  |
|  | - Verify power up of VoIP equipment and servers |  |  |  |  |  |  |
|  | - Check the Ethernet ports of the VoIP at design speed/capacity (Mbps/full duplex) |  |  |  |  |  |  |
| 2 | Verification of VoIP Data Network Configuration |  |  |  |  |  |  |
|  | - Verify VLAN (Virtual Local Area Network) assignment of VoIP server |  |  |  |  |  |  |
|  | - Verify IP Address assignments of VoIP equipment (both server, hard phones, and soft phones). |  |  |  |  |  |  |
|  | - Verify DHCP Scope, options, and parameters of the VoIP phones. |  |  |  |  |  |  |
|  | - Verify Static Scopes, options, and parameters of the VoIP phones. |  |  |  |  |  |  |
| 3 | Verification of VoIP system software |  |  |  |  |  |  |
|  | - Verify software release/version of the VoIP equipment conform to the design |  |  |  |  |  |  |
|  | - Verify Software Update , Patch and Service Pack of the VoIP equipment as applicable |  |  |  |  |  |  |
|  | - Verify Firmware Update of the VoIP equipment as applicable |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |