| PROJECT NAME: |  |  | DRAWING NO. |  |  |  |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  |  | N/A | YES | NO | N/A | YES |  | NO |
| - Drawing Presentation |  |  |  |  |  |  |  |  |  |  |
|  | Does Drawing comply with the project CAD Standards (All lines, symbols, legends, abbreviations, text, etc. are legible)? |  |  |  |  |  |  |  |  |  |
|  | Is the Drawing reviewed for constructability? |  |  |  |  |  |  |  |  |  |
|  | Is the layout prepared with the latest Architectural Layout? |  |  |  |  |  |  |  |  |  |
|  | Are the fields in the title block consistent with the project drawing log/ index? |  |  |  |  |  |  |  |  |  |
|  | Key plan and North arrow are provided & the key plan shall have the layout area hatched. |  |  |  |  |  |  |  |  |  |
|  | Match lines or X-Y Grid are clearly defined. |  |  |  |  |  |  |  |  |  |
|  | Drawing notes are complete & agree with information on the drawings & details. |  |  |  |  |  |  |  |  |  |
|  | Are the layout dimensions (mounting height, operating height of the outlets, devices, amplifier and rack, etc.) clearly defined? |  |  |  |  |  |  |  |  |  |
|  | Are the layout legends specific and provide the details regarding the type of the cable, and the detail of the devices, components, amplifier rack, etc.? |  |  |  |  |  |  |  |  |  |
|  | Bar scale is shown on the drawing and correct scale is used for all details, plan/elevation/sections. Details Not to Scale are also clearly marked. |  |  |  |  |  |  |  |  |  |
|  | All interdisciplinary comments and comments from previous revisions have been resolved and incorporated. Holds and revisions are correctly marked. |  |  |  |  |  |  |  |  |  |
|  | Limits of existing and new work including future expansions, interface points, Battery limits are clearly defined |  |  |  |  |  |  |  |  |  |
|  | Check if conduit continuations between drawings have been verified and properly identified. |  |  |  |  |  |  |  |  |  |
| - Code/Standard/Project Specification |  |  |  |  |  |  |  |  |  |  |
|  | The system design shall comply with the applicable Code, International and Saudi standard, local Government Regulation and Project Specification |  |  |  |  |  |  |  |  |  |
|  | Verify the equipment and components tag/identification numbers, dimensions, locations, etc. with project standards/vendor documents, as applicable |  |  |  |  |  |  |  |  |  |
|  | Make sure that each type of connection/installation is represented either by standard details applicable for the project or details are drawn on the layout drawing. |  |  |  |  |  |  |  |  |  |
|  | Are the layouts provided with Mounting Dimension of the Loud Speaker, Racks, Panels, Associated Equipment's and devices, etc.? |  |  |  |  |  |  |  |  |  |
|  | The designing of the Public Address System shall be in compliance with the design criteria. |  |  |  |  |  |  |  |  |  |
| - Reference Information |  |  |  |  |  |  |  |  |  |  |
|  | Check to ensure general notes include reference to applicable Codes, Standards and Project Specifications/Supplier submittals. |  |  |  |  |  |  |  |  |  |
|  | Check for correctness of reference drawings. |  |  |  |  |  |  |  |  |  |
|  | List and verify any special requirements by others (Sub-Contractors, Vendors, etc.) |  |  |  |  |  |  |  |  |  |
|  | Are the layout provided the details of the wiring diagram? |  |  |  |  |  |  |  |  |  |
|  | Ensure the amplifier loading are not exceeded 80% of the amplifier power rating. |  |  |  |  |  |  |  |  |  |
|  | Sections and details are correctly cross-referenced. |  |  |  |  |  |  |  |  |  |
| - Design |  |  |  |  |  |  |  |  |  |  |
|  | Have the technical feasibility of the equipment’s and components verified? |  |  |  |  |  |  |  |  |  |
|  | Is the selection of the load speaker (type and location) considered the Sound Pressure Level and located as per the calculation? |  |  |  |  |  |  |  |  |  |
|  | Is the layout provided the details of the Sound Pressure Level chart for the typical environment? |  |  |  |  |  |  |  |  |  |
|  | Are the system provided with the facilities of accessibility by the Master Control Room and Existing Control Room (If, applicable)? |  |  |  |  |  |  |  |  |  |
|  | Have the layout coordinated with the Architectural, Structural, Electrical and Mechanical System layout? |  |  |  |  |  |  |  |  |  |
|  | Do the system covers entire building or project premises during emergency evacuation? |  |  |  |  |  |  |  |  |  |
|  | Is the system Zone configuration as per the building life safety plan (please ensure the zonal configurations are not as per the software program)? |  |  |  |  |  |  |  |  |  |
|  | Do the designing of the system and the preparation of the layout as per IP Based System? |  |  |  |  |  |  |  |  |  |
|  | Have the layout specified the dedicated containment for Public Address System? |  |  |  |  |  |  |  |  |  |
|  | Does the layout provide the detail of the containment route (both the horizontal and vertical)? |  |  |  |  |  |  |  |  |  |
|  | Do the selection and the location of peripheral devices, components and racks as per the specialist recommendation and the project requirements? |  |  |  |  |  |  |  |  |  |
|  | Have the System designed and consists with the following subsystems? |  |  |  |  |  |  |  |  |  |
|  | - Telephone Interface |  |  |  |  |  |  |  |  |  |
|  | - Distribution of Emergency Announcements |  |  |  |  |  |  |  |  |  |
|  | - Local Announcements |  |  |  |  |  |  |  |  |  |
|  | - Building Wide Announcements |  |  |  |  |  |  |  |  |  |
|  | - Background Music's |  |  |  |  |  |  |  |  |  |
|  | - Recorded Announcements |  |  |  |  |  |  |  |  |  |
|  | - Pre-recorded Announcements |  |  |  |  |  |  |  |  |  |
|  | Have the system design considered to accomplish the Permanent Program Storage in non-volatile memory and EPROMS |  |  |  |  |  |  |  |  |  |
|  | Are the layout provided the details of related works such as Power, Raceways, structure cables, data network/LAN, etc.? |  |  |  |  |  |  |  |  |  |
|  | Does the system describe the requirement of the power source or power supply? (Ensure, the power supply for the system shall feed from UPS Power). |  |  |  |  |  |  |  |  |  |
|  | Do the System designed and made provision to integrate with the existing system, Fire Alarm System and Life Safety System, VOIP Telephone, Master Clock)? |  |  |  |  |  |  |  |  |  |
|  | Is the system designed with the volume control devices for each speaker (If applicable)? |  |  |  |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |  |