| PROJECT NAME: |  |  | DRAWING NO. |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| 01 | Does this drawing specify unit of dimensions? |  |  |  |  |  |  |  |  |
| 02 | Does this drawing show references to all other applicable drawings? |  |  |  |  |  |  |  |  |
| 03 | Does this drawing show reference to applicable specifications? |  |  |  |  |  |  |  |  |
| 04 | Does this drawing show legend for all the entities given on drawing? |  |  |  |  |  |  |  |  |
| 05 | Does this drawing show internal plan of chamber? |  |  |  |  |  |  |  |  |
| 06 | Does this drawing show detail of chamber cover? |  |  |  |  |  |  |  |  |
| 07 | Does this drawing show cross sections/sections of chambers? |  |  |  |  |  |  |  |  |
| 08 | Does this drawing show finished ground level and existing level? |  |  |  |  |  |  |  |  |
| 09 | Are internal and external dimensions of chamber listed or tabulated on drawing? |  |  |  |  |  |  |  |  |
| 10 | Does this drawing present or tabulate depth of chambers? |  |  |  |  |  |  |  |  |
| 11 | Are all mechanical fittings in the chamber illustrated? |  |  |  |  |  |  |  |  |
| 12 | Are mechanical fittings shown as per scale? |  |  |  |  |  |  |  |  |
| 13 | Are distances of mechanical fittings from internal walls of chamber shown? |  |  |  |  |  |  |  |  |
| 14 | Can mechanical components fit in chamber due to their height? |  |  |  |  |  |  |  |  |
| 15 | Is setting out point of chamber indicated? |  |  |  |  |  |  |  |  |
| 16 | Does this drawing show thickness of wall, foundation and cover slab? |  |  |  |  |  |  |  |  |
| 17 | Does this drawing show structural details of chamber, or provide reference to structural details? |  |  |  |  |  |  |  |  |
| 18 | Does this drawing show sleeve requirement of pipe or other utility entry? |  |  |  |  |  |  |  |  |
| 19 | Does this drawing provide details of all material used in drawing? |  |  |  |  |  |  |  |  |
| 20 | Is chamber constructible with respect to size and depth? |  |  |  |  |  |  |  |  |
| 21 | Is chamber size safe for maintenance activity? |  |  |  |  |  |  |  |  |
| 22 | Can chamber be safely constructed? |  |  |  |  |  |  |  |  |
| 23 | Is chamber cover provided for entry during maintenance activity? |  |  |  |  |  |  |  |  |
| 24 | Is chamber cover designed as per the applicable traffic load? |  |  |  |  |  |  |  |  |
| 25 | Is ventilation arrangement of chamber proposed in drawing? |  |  |  |  |  |  |  |  |
| 26 | Is specification of concrete provided in drawing? |  |  |  |  |  |  |  |  |
| 27 | Is ladder detail provided for chamber? |  |  |  |  |  |  |  |  |
| 28 | Is chamber checked for buoyancy condition? |  |  |  |  |  |  |  |  |
| 29 | Are external and internal protections of chamber wall noted? |  |  |  |  |  |  |  |  |
| No. | Checker's Comments | Resolution |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |