| PROJECT NAME: |  |  | DRAWING NO. |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| 01 | Does this drawing use the latest road information? |  |  |  |  |  |  |  |  |
| 02 | Does this drawing use the latest grading layout information? |  |  |  |  |  |  |  |  |
| 03 | Is the numbering or coding of each component according to standards? |  |  |  |  |  |  |  |  |
| 04 | Does the numbering or coding of each component match with other reference drawings? |  |  |  |  |  |  |  |  |
| 05 | Is this drawing prepared in accordance with layout and profile drawings? |  |  |  |  |  |  |  |  |
| 06 | Does this drawing show references to all applicable typical drawings? |  |  |  |  |  |  |  |  |
| 07 | Does this drawing show reference to specifications? |  |  |  |  |  |  |  |  |
| 08 | Is this drawing based on the latest utility model? |  |  |  |  |  |  |  |  |
| 09 | Does this drawing show depth of utility structure? |  |  |  |  |  |  |  |  |
| 10 | Is this drawing prepared in accordance with latest calculations? |  |  |  |  |  |  |  |  |
| 11 | Does this drawing show types of utility chambers? |  |  |  |  |  |  |  |  |
| 12 | Does this drawing show coordinates of utility structure? |  |  |  |  |  |  |  |  |
| 13 | Does this drawing show detail of connecting pipes with utility chamber? |  |  |  |  |  |  |  |  |
| 14 | Does this drawing show depth of utility chamber? |  |  |  |  |  |  |  |  |
| 15 | Are the utility structure/chamber depth and space safe for construction and maintenance? |  |  |  |  |  |  |  |  |
| 16 | Does this drawing show station of utility pipeline or chamber? |  |  |  |  |  |  |  |  |
| 17 | Does this drawing show gradient of utility pipeline? |  |  |  |  |  |  |  |  |
| 18 | Does this drawing show material and size of utility pipeline and other utilities? |  |  |  |  |  |  |  |  |
| 19 | Is information on this drawing adequate for procurement and/or construction? |  |  |  |  |  |  |  |  |
| 20 | Does this drawing show all required invert levels and cover levels of utility pipeline or structure? |  |  |  |  |  |  |  |  |
| No. | Checker's Comments | Resolution |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |