| PROJECT NAME: |  |  | DRAWING NO. |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| 1 | Does this drawing use the latest building architectural background? |  |  |  |  |  |  |  |  |
| 2 | Does this drawing use the latest road layout background? |  |  |  |  |  |  |  |  |
| 3 | Does this drawing show other physical features such as boundary walls, fences, drainage features, etc.? |  |  |  |  |  |  |  |  |
| 4 | Does this drawing show gridlines of coordinates, if a coordinate system is being used? |  |  |  |  |  |  |  |  |
| 5 | Does this drawing show North Arrow that includes direction of Makkah? |  |  |  |  |  |  |  |  |
| 6 | Does this drawing show legend for all the entities given on drawing? |  |  |  |  |  |  |  |  |
| 7 | Does this drawing show key map of project area? |  |  |  |  |  |  |  |  |
| 8 | Does this drawing show sheet key? |  |  |  |  |  |  |  |  |
| 9 | Does this drawing show references to all applicable drawings? |  |  |  |  |  |  |  |  |
| 10 | Does this drawing specify units of dimensions? |  |  |  |  |  |  |  |  |
| 11 | Does this drawing specify coordinate or baseline reference system and vertical datum? |  |  |  |  |  |  |  |  |
| 12 | Does this drawing show match-line and references to other drawings? |  |  |  |  |  |  |  |  |
| 13 | Does this drawing show corridors of all applicable utilities such as electrical, gas, irrigation, water, sewer, storm water, telecom, street lighting, etc.? |  |  |  |  |  |  |  |  |
| 14 | Is this drawing coordinated with all utility layout drawings? |  |  |  |  |  |  |  |  |
| 15 | Is this drawing based on all the latest utility 3D models? |  |  |  |  |  |  |  |  |
| 16 | Is the dimension or width of each utility corridor clearly marked on drawing? |  |  |  |  |  |  |  |  |
| 17 | Are interferences of utilities resolved? |  |  |  |  |  |  |  |  |
| 18 | Is any utility encroaching on or placed in another utility corridor? |  |  |  |  |  |  |  |  |
| 19 | Is utility corridor of each utility as per the utility corridor requirement and cross section? |  |  |  |  |  |  |  |  |
| 20 | Are utility chambers accommodated within utility corridor of that particular utility? |  |  |  |  |  |  |  |  |
| 21 | Are all utility corridors shown with separate colors or legends for identification? |  |  |  |  |  |  |  |  |
| 22 | Does this drawing clearly show curb line of road? |  |  |  |  |  |  |  |  |
| 23 | Does this drawing show ducts for utilities? |  |  |  |  |  |  |  |  |
| 24 | Is the duct extended as per the requirement into road curb? |  |  |  |  |  |  |  |  |
| 25 | Is any utility duct (wrongly) discontinuing into road? |  |  |  |  |  |  |  |  |
| 26 | Are utility corridors chamfered on junctions? |  |  |  |  |  |  |  |  |
| 27 | Are utility corridors (wrongly) encroaching on the plot boundary? |  |  |  |  |  |  |  |  |
| 28 | Are utility corridors provided for any future connection or utility? |  |  |  |  |  |  |  |  |
| 29 | Does any proposed duct interfere with other ducts or utilities at road junctions? |  |  |  |  |  |  |  |  |
| 30 | Is special consideration given to maintaining safe distance separation of gas and electrical lines, especially at utility crossings? |  |  |  |  |  |  |  |  |
| 31 | Is special consideration given to maintaining safe distance separation of water and sewer lines, especially at utility crossings? |  |  |  |  |  |  |  |  |
| No. | Checker's Comments | Resolution |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |