| PROJECT NAME: |  |  | DRAWING NO. |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| 1 | Does this drawing use latest road layout background? |  |  |  |  |  |  |  |  |
| 2 | Does this drawing specify unit of dimensions? |  |  |  |  |  |  |  |  |
| 3 | Does this drawing specify coordinate or baseline reference system and vertical datum? |  |  |  |  |  |  |  |  |
| 4 | Does this drawing show continuation drawing reference of other drawings? |  |  |  |  |  |  |  |  |
| 5 | Does this drawing show North Arrow that includes direction of Makkah? |  |  |  |  |  |  |  |  |
| 6 | Does this drawing show key map of project area? |  |  |  |  |  |  |  |  |
| 7 | Does this drawing show sheet key? |  |  |  |  |  |  |  |  |
| 8 | Does this drawing show legend for all the entities given on drawing? |  |  |  |  |  |  |  |  |
| 9 | Does this drawing show existing and proposed lines of utilities? |  |  |  |  |  |  |  |  |
| 10 | Is this drawing based on latest utility model? |  |  |  |  |  |  |  |  |
| 11 | Does this drawing indicate locations where concrete encasement required? |  |  |  |  |  |  |  |  |
| 12 | Does this drawing show references to all typical applicable drawings? |  |  |  |  |  |  |  |  |
| 13 | Does this drawing show other physical features such as boundary walls, fences, drainage features, etc.? |  |  |  |  |  |  |  |  |
| 14 | Does this drawing use latest building architectural background? |  |  |  |  |  |  |  |  |
| 15 | Does this drawing use latest grading layout background? |  |  |  |  |  |  |  |  |
| 16 | Does this drawing show gridlines of coordinates, if a coordinate system is being used on the project? |  |  |  |  |  |  |  |  |
| 17 | Does this drawing show survey information? |  |  |  |  |  |  |  |  |
| 18 | Does this drawing list reference specifications? |  |  |  |  |  |  |  |  |
| 19 | Are interferences with other utilities resolved? |  |  |  |  |  |  |  |  |
| 20 | Are setting-out coordinates of utility chambers listed on drawing? |  |  |  |  |  |  |  |  |
| 21 | Are proposed cover level, proposed invert levels and existing ground levels of each component of utilities given on drawing? |  |  |  |  |  |  |  |  |
| 22 | Is the numbering or coding of each component according to standards? |  |  |  |  |  |  |  |  |
| 23 | Does the numbering or coding of each component match with other reference drawings? |  |  |  |  |  |  |  |  |
| 24 | Is sizing information such as diameter, thickness and length noted on drawing? |  |  |  |  |  |  |  |  |
| 25 | Is pipeline or other utility material noted on drawing? |  |  |  |  |  |  |  |  |
| 26 | Is material of utility pipeline as per design and contract requirements? |  |  |  |  |  |  |  |  |
| 27 | Is minimum cover requirement followed for pipeline? |  |  |  |  |  |  |  |  |
| 28 | Is maximum depth of pipeline and chamber according to requirements? |  |  |  |  |  |  |  |  |
| 29 | Is ducting requirement noted on drawing? |  |  |  |  |  |  |  |  |
| 30 | Are utilities placed in the designated corridor? |  |  |  |  |  |  |  |  |
| 31 | Are pipeline bends, tees etc. specified on drawing? |  |  |  |  |  |  |  |  |
| 32 | Is this drawing prepared in accordance with utility components schedule drawings? |  |  |  |  |  |  |  |  |
| 33 | Is this drawing prepared in accordance with the latest calculations? |  |  |  |  |  |  |  |  |
| 34 | Does this drawing show actual size of components/chambers of utilities? |  |  |  |  |  |  |  |  |
| 35 | Does this drawing show bedding requirement for utilities? |  |  |  |  |  |  |  |  |
| 36 | Is bedding requirement correct for the depth, type and location of pipeline? |  |  |  |  |  |  |  |  |
| 37 | Are crossings of all other utilities shown on profile? |  |  |  |  |  |  |  |  |
| 38 | Are distances between any crossings less than the specified criteria? |  |  |  |  |  |  |  |  |
| 39 | Does this drawing show connection point or source/discharge points of utility? |  |  |  |  |  |  |  |  |
| 40 | Is selected pipeline route optimized with respect to cost? |  |  |  |  |  |  |  |  |
| No. | Checker's Comments | Resolution |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |