| PROJECT NAME: |  |  | DRAWING NO. |  |  |  | REV. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  | ORIGINATOR |  |  | CHECKER |  |  |  |
|  |  |  | N/A | YES | NO | N/A |  | YES | NO |
| 01 | Does this drawing use latest road layout information? |  |  |  |  |  |  |  |  |
| 02 | Does this drawing specify unit of dimensions? |  |  |  |  |  |  |  |  |
| 03 | Does this drawing specify coordinate or baseline reference system and vertical datum? |  |  |  |  |  |  |  |  |
| 04 | Does this drawing show match line and reference to other drawings? |  |  |  |  |  |  |  |  |
| 05 | Does this drawing show location plan of project area? |  |  |  |  |  |  |  |  |
| 06 | Does this drawing show legend for all the entities given on drawing? |  |  |  |  |  |  |  |  |
| 07 | Does this drawing show all other existing and proposed utilities? |  |  |  |  |  |  |  |  |
| 08 | Is this drawing based on the latest utility model? |  |  |  |  |  |  |  |  |
| 09 | Does this drawing indicate locations where concrete encasement is required? |  |  |  |  |  |  |  |  |
| 10 | Does this drawing show references of all applicable typical drawings? |  |  |  |  |  |  |  |  |
| 11 | Does this drawing use latest grading layout information? |  |  |  |  |  |  |  |  |
| 12 | Does this drawing show all crossings of other utilities with levels and details? |  |  |  |  |  |  |  |  |
| 13 | Does this drawing list reference specifications? |  |  |  |  |  |  |  |  |
| 14 | Are interferences with other utilities resolved? |  |  |  |  |  |  |  |  |
| 15 | Does this drawing show all under track (if any), road crossings and drainage/water crossings? |  |  |  |  |  |  |  |  |
| 16 | Is the numbering or coding of each component according to standards? |  |  |  |  |  |  |  |  |
| 17 | Does this drawing show depths of utility structures/chambers? |  |  |  |  |  |  |  |  |
| 18 | Is utility structure/chamber depth safe for construction? |  |  |  |  |  |  |  |  |
| 19 | Is utility structure/chamber checked for space proofing? |  |  |  |  |  |  |  |  |
| 20 | Is utility structure/chamber hindered space obstructed by any architectural or structural component? |  |  |  |  |  |  |  |  |
| 21 | Does this drawing show gradient of utility pipeline? |  |  |  |  |  |  |  |  |
| 22 | Is gradient of utility pipeline according to the specified limit? |  |  |  |  |  |  |  |  |
| 23 | Does this drawing show station of utility pipeline? |  |  |  |  |  |  |  |  |
| 24 | Does this drawing show segment length of utility pipeline? |  |  |  |  |  |  |  |  |
| 25 | Does this drawing show material and size of utility pipeline? |  |  |  |  |  |  |  |  |
| 26 | Are all types of chambers provided that are required for maintenance and monitoring purposes? |  |  |  |  |  |  |  |  |
| 27 | Is material of utility pipeline or other utility as per design and contract requirements? |  |  |  |  |  |  |  |  |
| 28 | Does this drawing show invert levels, cover levels and ground levels of utility pipeline? |  |  |  |  |  |  |  |  |
| 29 | Do invert levels match hydraulic calculations? |  |  |  |  |  |  |  |  |
| 30 | Does the numbering or coding of each component match with other reference drawings? |  |  |  |  |  |  |  |  |
| 31 | Are ducting requirements noted on drawing? |  |  |  |  |  |  |  |  |
| 32 | Are pipeline bends, tees, thrust blocks etc. specified on drawing? |  |  |  |  |  |  |  |  |
| 33 | Is selected pipeline profile optimized with respect to cost? |  |  |  |  |  |  |  |  |
| 34 | Is this drawing prepared in accordance with information on components schedule drawings? |  |  |  |  |  |  |  |  |
| 35 | Is this drawing prepared in accordance with the latest calculations? |  |  |  |  |  |  |  |  |
| 36 | Does this drawing show actual size of utility components? |  |  |  |  |  |  |  |  |
| 37 | Does this drawing show bedding requirement of utilities? |  |  |  |  |  |  |  |  |
| 38 | Is bedding requirement correct for the depth, type and location of pipeline? |  |  |  |  |  |  |  |  |
| 39 | Does this drawing show connection point, or source point, or discharge point of utility? |  |  |  |  |  |  |  |  |
| No. | Checker's Comments | Resolution |  |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |  |