| Building NAME: |  | Reference No. |  | REV:00A |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Emergency Response Plan (ERP) Checklist |  |  |  | CHECKED SATISFACTORY |  |  |
|  |  |  |  |  | N/A | YES | NO |
|  | Communications Systems – Housing |  |  |  |  |  |  |
|  | This Emergency Response Action Plan (ERAP) is a guide intended for areas of a facility with complex services, for example, a major boiler house or specialist plant room. The actions to be taken by designated and authorized persons may be expressed in a checklist. The steps below are simple indication of some issues that may arise although a more detailed list may be appropriate for each specific area. The designated staff functions of healthcare personal need to be made clear in order that the correct measures are taken to minimize the impact of any crisis. |  |  |  |  |  |  |
| 1 | Define ownership of the problem |  |  |  |  |  |  |
| 2 | Will evacuation be required |  |  |  |  |  |  |
| 3 | Risk of fire outbreak or reduced re-fighting ability |  |  |  |  |  |  |
| 4 | Consider impact on electricity supply and power surges on controls |  |  |  |  |  |  |
| 5 | Consider impact on water supply and electrical controls |  |  |  |  |  |  |
| 6 | Consider impact on drainage electrical controls |  |  |  |  |  |  |
| 7 | Consider impact on any third party system and Communication controls |  |  |  |  |  |  |
| 8 | Consider impact on site security |  |  |  |  |  |  |
| 9 | Consider impact on data loss and data security |  |  |  |  |  |  |
| 10 | Impact on re-alarms |  |  |  |  |  |  |
| 11 | Will critical system be affected and time period of outage |  |  |  |  |  |  |
| 12 | Agree responsibility boundaries |  |  |  |  |  |  |
| 13 | Control of infection team involvement if BMS data not available |  |  |  |  |  |  |
| 14 | Do public relations need to be addressed |  |  |  |  |  |  |
| 15 | Consider service level agreements with suppliers |  |  |  |  |  |  |
| 16 | Involve commercial services |  |  |  |  |  |  |
| 17 | Record entities personnel contact details |  |  |  |  |  |  |
| No. | Reviewer's Comments |  | Resolution |  |  |  |  |
| Originator's Name/Signature and Date: |  |  | Checker's Name/Signature and Date: |  |  |  |  |