| Building NAME: |  | Reference No. |  | REV:00A |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Shutdown Procedure Checklist |  |  |  | CHECKED SATISFACTORY |  |  |
|  |  |  |  |  | N/A | YES | NO |
|  | Communications Operations - Housing |  |  |  |  |  |  |
|  | Health and Safety |  |  |  |  |  |  |
| 1 | Required Personal Protective Equipment (PPE) available |  |  |  |  |  |  |
| 2 | Risk Assessments Method Statement (RAMS) available |  |  |  |  |  |  |
| 3 | Emergency contact details of the responsible person and the contractors |  |  |  |  |  |  |
| 4 | Life safety systems (fire extinguishers, sprinklers, gas suppression & fire alarm) |  |  |  |  |  |  |
| 5 | Job Hazard Analysis completed |  |  |  |  |  |  |
|  | Pre-approvals |  |  |  |  |  |  |
| 6 | System owner / Manager/Engineering Team’s approvals available |  |  |  |  |  |  |
| 7 | Work orders raised / Scope of task clear |  |  |  |  |  |  |
| 8 | End-user department head’s approvals available |  |  |  |  |  |  |
| 9 | Quality, Health, Safety and Environment Management (QHSE) approvals available |  |  |  |  |  |  |
| 10 | Specialist contractor’s schedule of work |  |  |  |  |  |  |
| 11 | Approved Permit to Work (PTW) |  |  |  |  |  |  |
|  | Stand-by Condition System Checks |  |  |  |  |  |  |
| 12 | Tooling inspected / Housekeeping |  |  |  |  |  |  |
| 13 | Data saved |  |  |  |  |  |  |
| 14 | Auto mode/overrides |  |  |  |  |  |  |
| 15 | Events / logs saved |  |  |  |  |  |  |
|  | Pre-shutdown Checks (Integrated system functional checks) |  |  |  |  |  |  |
| 16 | Stand by systems working |  |  |  |  |  |  |
| 17 | Overrides/auto functions active |  |  |  |  |  |  |
|  | Routine Stop Checks |  |  |  |  |  |  |
| 18 | Lock Off Tag Out (LOTO) checks |  |  |  |  |  |  |
| 19 | Back-up server working |  |  |  |  |  |  |
| 20 | No events/alarms on standby systems |  |  |  |  |  |  |
|  | Post-stop Checks |  |  |  |  |  |  |
| 21 | Verify device to be changed out |  |  |  |  |  |  |
| 22 | Alarms/warnings recorded |  |  |  |  |  |  |
| 23 | System architecture functioning |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 24 | Department heads (FM) |  |  |  |  |  |  |
| 25 | Computer-Aided Facility Management (CAFM) system |  |  |  |  |  |  |
| 26 | Reporting |  |  |  |  |  |  |
| 27 | End-user/stockholders notification checks |  |  |  |  |  |  |
| No. | Reviewer's Comments |  | Resolution |  |  |  |  |
| Originator's Name/Signature and Date: |  |  | Checker's Name/Signature and Date: |  |  |  |  |