| Building NAME: |  | Reference No. |  | REV:00A |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Start Up Procedure Checklist |  |  |  | CHECKED SATISFACTORY |  |  |
|  |  |  |  |  | N/A | YES | NO |
|  | Communication systems – Offices |  |  |  |  |  |  |
|  | Pre-approvals |  |  |  |  |  |  |
| 1 | Inspect risers and trunk trays (secured properly, not loose, corrosion, moisture) |  |  |  |  |  |  |
| 2 | System owner/Manager/Engineering Team’s approvals available |  |  |  |  |  |  |
| 3 | Task and documentation complete/Work order has been signed off |  |  |  |  |  |  |
| 4 | Quality, Health, Safety and Environment Management (QHSE) approvals available |  |  |  |  |  |  |
| 5 | Specialist contractor’s schedule of work |  |  |  |  |  |  |
| 6 | Approved Permit to Work (PTW)/Original Equipment Manufacturers (OEM) procedure available |  |  |  |  |  |  |
| 7 | End-user department head’s approvals available |  |  |  |  |  |  |
|  | Communications inspection |  |  |  |  |  |  |
| 8 | Inspect risers and trunk trays (secured properly, not loose, corrosion, moisture) |  |  |  |  |  |  |
| 9 | Inspect WLD alarms are functioning (Water Leak Detection) |  |  |  |  |  |  |
| 10 | Inspect ventilation and proper AC operation in UPS rooms |  |  |  |  |  |  |
| 11 | Inspect alarms in power systems (UPS, DC power supply systems) batteries for leakage, charge, terminals and connections |  |  |  |  |  |  |
| 12 | Restricted entry systems are healthy (access control, CCTV, Biometric) |  |  |  |  |  |  |
| 13 | Ensure identification labels, guarding, covers and panel are present, secure and in good condition and free of moisture and dust |  |  |  |  |  |  |
|  | System Readiness |  |  |  |  |  |  |
| 14 | Verify all work completed, housekeeping completed |  |  |  |  |  |  |
| 15 | Verify no active alarms |  |  |  |  |  |  |
| 16 | Verify no logged events posing risks |  |  |  |  |  |  |
| 17 | Building Network communication enabled |  |  |  |  |  |  |
|  | Pre-Start/Start checks |  |  |  |  |  |  |
| 18 | System fault free/alarm free check |  |  |  |  |  |  |
| 19 | Access restriction are enabled |  |  |  |  |  |  |
| 20 | Tooling inspection / Housekeeping |  |  |  |  |  |  |
| 21 | HVAC in Control rooms functioning properly |  |  |  |  |  |  |
| 22 | Parameters set point check |  |  |  |  |  |  |
| 23 | Previous service reports check (3rd party specialist) |  |  |  |  |  |  |
|  | Start Checks |  |  |  |  |  |  |
| 24 | Systems functioning as required |  |  |  |  |  |  |
| 25 | No faults in systems, |  |  |  |  |  |  |
| 26 | Power is stable, |  |  |  |  |  |  |
| 27 | Health check HVAC, |  |  |  |  |  |  |
|  | Notifications |  |  |  |  |  |  |
| 28 | Department heads (FM) |  |  |  |  |  |  |
| 29 | Reporting completed and documented |  |  |  |  |  |  |
| 30 | End-user/stakeholders notification check |  |  |  |  |  |  |
| No. | Reviewer's Comments |  | Resolution |  |  |  |  |
| Originator's Name/Signature and Date: |  |  | Checker's Name/Signature and Date: |  |  |  |  |