| ENTITY |  | EQUIPMENT NO.: |  |
| --- | --- | --- | --- |
| PROJECT TITLE: |  | P.O. NO.: |  |
| PROJECT LOCATION: |  | UNIT: |  |

| Line No. | DESCRIPTION | UNITS | SPECIFIED | BIDDER'S PROPOSAL |
| --- | --- | --- | --- | --- |
| 1.0 | SITE CONDITIONS |  |  |  |
| 1.1 | Altitude | m | PROVIDE REFERENCE IF AVAILABLE (do not reproduce data provided elsewhere) |  |
| 1.2 | Maximum Ambient Temperature | °C |  |  |
| 1.3 | Minimum Ambient Temperature | °C |  |  |
| 1.4 | Design Ambient Temperature | °C |  |  |
| 1.5 | Relative Humidity | % |  |  |
| 1.6 | Wind | mph |  |  |
| 1.7 | Seismic Zone | - |  |  |
| 1.8 | Unclassified Area | - |  |  |
| 1.9 | Hazardous Area Classification | - |  |  |
| 1.10 | Zone | - |  |  |
| 1.12 | Group(s) | - |  |  |
| 1.13 | Gas Ignition Temperature | °C |  |  |
| 2.0 | SYSTEM PARAMETERS |  |  |  |
| 2.1 | Voltage | kV |  |  |
| 2.2 | Phases | 3 |  |  |
| 2.3 | Frequency | Hz |  |  |
| 2.4 | Short Circuit Current | kA |  |  |
| 2.5 | Short Circuit X/R |  |  |  |
| 2.6 | Owners Supplied LV Auxiliary Power AC | V |  |  |
| 2.7 | Owner Supplied LV Auxiliary Power DC | V |  |  |
| 2.8 | Type of System Neutral Ground |  |  |  |
| 3.0 | CAPACITOR BANK |  |  |  |
| 3.1 | Total Reactive Power Rating Capacitance | kVAr |  |  |
| 3.2 | Total Expansion Capability |  |  |  |
| 3.3 | Type (Fixed, Automatic) |  |  |  |
| 3.4 | Number of Stages |  |  |  |
| 3.5 | kVAR per Stage | kVAr |  |  |
| 3.6 | kVAR Fixed Stage | kVAr |  |  |
| 3.7 | Number of Units per Phase per Stage |  |  |  |
| 3.8 | No of Elements in Series/Parallel/per unit Capacitor | Hz |  |  |
| 3.9 | Rated Power Frequency | Hz |  |  |
| 3.10 | Rated Insulation Level | kV |  |  |
| 3.11 | Power Frequency Withstand Voltage | kV rms |  |  |
| 3.12 | Lightning Impulse Withstand Voltage (BIL) | kV peak |  |  |
| 3.13 | Rated Continuous Current (Future/Rated) | Amps/Amps |  |  |
| 3.15 | Rated Momentary Withstand Current | kA |  |  |
| 3.16 | Three Phase Connection Type: | kVAr |  |  |
| 3.17 | Ungrounded Wye or Grounded |  |  |  |
| 3.18 | Ungrounded Double Wye or Delta |  |  |  |
| 3.19 | Type (1 bush-1 ph, 2 bush-1 ph,3-bush-3-ph) |  |  |  |
| 3.20 | Discharge volts/time after de-energized |  |  |  |

| Line No. | DESCRIPTION | UNITS | SPECIFIED | BIDDER'S PROPOSAL |
| --- | --- | --- | --- | --- |
| 4.0 | MV POWER CABLE ACCOMMODATION |  |  |  |
| 4.1 | Power Cable Size | mm2 |  |  |
| 4.2 | Power Cable Type (i.e. Armored/Shielded) |  |  |  |
| 4.3 | Power Cable Insulation Rating | % |  |  |
| 4.4 | Quantity of Power Cables per Phase |  |  |  |
| 4.5 | Terminal Lug Type |  | Compression |  |
| 4.6 | Power Cable Entry, Top / Bottom |  |  |  |
| 4.7 | Cable Gland Type |  |  |  |
| 5.0 | POWER SOURCE TO CAPACITOR BANK INFORMATION |  |  |  |
| 5.1 | Breaker/Fuse |  |  |  |
| 5.2 | Manufacturer/Model No. |  |  |  |
| 5.3 | Type (SF6/Vacuum) |  |  |  |
| 5.4 | Rated Nominal Current | A rms |  |  |
| 5.5 | Rated Voltage | kV rms |  |  |
| 5.6 | Rated Short-Circuit and Short Time Current | kA |  |  |
| 5.7 | Rated Insulation Level | kV |  |  |
| 5.8 | Rated Peak Withstand Current | kA |  |  |
| 5.9 | Rated Duration of Short Circuit | µs |  |  |
| 5.10 | Rated Short Circuit Breaking Current | kA |  |  |
| 5.11 | Rated Interrupting Time | cycle |  |  |
| 5.12 | Protection Relay Manufacturer |  |  |  |
| 6.0 | SOURCE SIDE MAIN DISCONNECT SWITCH |  |  |  |
| 6.1 | Load Break (Yes/No) |  |  |  |
| 6.2 | Continuous Current Rating | kA |  |  |
| 6.3 | Maximum Voltage Rating | kV |  |  |
| 6.4 | Interrupting (Breaking) Rating | kA |  |  |
| 6.5 | Fault Close Current Rating | kA |  |  |
| 6.6 | Momentary Current Rating | kA |  |  |
| 6.7 | Lightning Impulse Withstand Voltage (BIL) | kV |  |  |
| 6.8 | Fuses |  |  |  |
| 6.9 | CPT Control Power Transformer Voltage Ratio | kV/V |  |  |
| 6.10 | CPT Basic Impulse Level (BIL) | kV |  |  |
| 7.0 | MAIN GROUND SWITCH (MAKE/MODEL) |  |  |  |
| 7.1 | Continuous Current Rating | kA |  |  |
| 7.2 | Maximum Voltage Rating | kV |  |  |
| 7.3 | Momentary Current Rating | kA |  |  |
| 7.4 | Type of Operation |  |  |  |
| 8.0 | SURGE ARRESTORS |  |  |  |
| 8.1 | Surge Arrestor Rating | MCOV |  |  |
| 8.2 | Surge Arrestor Type & Discharge Class |  |  |  |

| Line No. |  | DESCRIPTION |  | UNITS | SPECIFIED | BIDDER'S PROPOSAL |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 9.0 |  | TRANSIENT INRUSH REACTORS |  |  |  |  |  |
| 9.1 |  | Core Type |  | air/iron |  |  |  |
| 9.2 |  | Harmonic Filter Type |  |  |  |  |  |
| 9.3 |  | Harmonic Filter Tuned Frequency |  |  |  |  |  |
| 9.4 |  | Dry Type Cooling Class (i.e. AN) |  |  |  |  |  |
| 9.5 |  | Maximum Voltage Rating |  | kV |  |  |  |
| 9.6 |  | kVA Rating |  | kVA |  |  |  |
| 9.7 |  | Continuous Current Rating |  | Amps |  |  |  |
| 9.8 |  | Lightning Impulse Withstand Voltage (BIL) |  | kV |  |  |  |
| 9.9 |  | Insulation Temperature Class |  |  |  |  |  |
| 9.10 |  | Average Winding Temperature Rise |  | oC |  |  |  |
| 9.11 |  | Hot Spot Winding Temp Rise |  | oC |  |  |  |
| 9.12 |  | Capacitor Inrush Current di/dt |  | A/sec |  |  |  |
| 10.0 |  | CAPACITOR VACUUM SWITCHES |  |  |  |  |  |
| 10.1 |  | Vacuum Switch or Contactor |  |  |  |  |  |
| 10.2 |  | 1-Pole or 3-Pole |  |  |  |  |  |
| 10.3 |  | Max Voltage Rating |  | kV |  |  |  |
| 10.4 |  | Continuous Current Rating |  | kA |  |  |  |
| 10.5 |  | BIL Rating |  | kV |  |  |  |
| 10.6 |  | Momentary Withstand & Fault Close Rating |  | kA |  |  |  |
| 10.7 |  | Short Time Withstand Rating |  | kA |  |  |  |
| 11.0 |  | POWER CAPACITOR UNITS CURRENT-LIMITING FUSES AND FUSE HOLDERS |  |  |  |  |  |
| 11.1 |  | Internal or External Fuse Arrangement |  |  |  |  |  |
| 11.2 |  | Maximum Voltage Rating |  | kA |  |  |  |
| 11.3 |  | Continuous Current Rating |  | kA |  |  |  |
| 11.4 |  | Rated Interrupting (Breaking) Current |  | kA |  |  |  |
| 11.5 |  | Basic Impulse Insulation Level (BIL) |  | kV |  |  |  |
| 11.6 |  | Melting (pre-arcing) Time-Current Characteristics |  |  |  |  |  |
| 11.7 |  | Total Clearing-Time-Current Characteristics |  | kV |  |  |  |
| 11.7 |  | Maximum Peak Overvoltage |  | kV |  |  |  |
| 11.9 |  | Peak let-through (Cut-Off) Current Characteristics |  | kA |  |  |  |
| 12.0 |  | ENCLOSURE |  |  |  |  |  |
| 12.1 |  | Total Capacitor Bank Enclosure Dimensions L/W/H |  | mm |  |  |  |
| 12.2 |  | Weight of Complete Assembly |  |  |  |  |  |
| 12.3 |  | Method of Securing to the Floor or Pad |  |  |  |  |  |
| 12.4 |  | Hinged Doors with provisions for Padlocking |  |  |  |  |  |
| 12.5 |  | Indoor / Outdoor |  |  |  |  |  |
| 12.6 |  | Dust Resistant (Gasketed) |  |  |  |  |  |
| 12.7 |  | Enclosure IP Rating |  |  |  |  |  |
| 12.8 |  | Hardware Material |  |  |  |  |  |
| 12.9 |  | Support Frame Material |  |  |  |  |  |
| 13.0 |  | POWER BUS INFORMATION |  |  |  |  |  |
| 13.1 |  | Material: Copper/Aluminum-Plating Tin/Silver |  |  |  |  |  |
| 13.2 |  | Entire Bus Plated or Joints only |  |  |  |  |  |
| 13.3 |  | Rated Continuous Current | Amps |  |  |  |  |
| 13.4 |  | Voltage Rating | kV |  |  |  |  |
| 13.5 |  | Momentary Withstand Current | kA |  |  |  |  |
| 13.6 |  | Bus Insulation |  |  |  |  |  |
| 13.7 |  | Bus Size | mm |  |  |  |  |
| 13.8 |  | Bus Quantity per Phase |  |  |  |  |  |
| 14.0 |  | GROUND BUS INFORMATION |  |  |  |  |  |
| 14.1 |  | Rated Continuous Current | Amps |  |  |  |  |
| 14.2 |  | Material |  |  |  |  |  |
| 14.3 |  | Bus Joint Plating Method |  |  |  |  |  |
| 14.4 |  | Bus Insulation |  |  |  |  |  |
| 14.5 |  | Bus Size | mm |  |  |  |  |
| 15.0 |  | BUS SUPPORT MATERIALS |  |  |  |  |  |
| 15.1 |  | Bus Support Material |  |  |  |  |  |
| 15.2 |  | Dielectric Strength |  |  |  |  |  |
| 16.0 |  | SPACE HEATERS |  |  |  |  |  |
| 16.1 |  | Rated Voltage | VAC |  |  |  |  |
| 16.2 |  | Operating Voltage | VAC |  |  |  |  |
| 17.0 |  | CONTROL WIRING |  |  |  |  |  |
| 17.1 |  | Type |  |  |  |  |  |
| 17.2 |  | Size |  |  |  |  |  |
| 17.3 |  | Voltage Rating | VAC |  |  |  |  |
| 18.0 |  | CAPACITOR BANK COLOR |  |  |  |  |  |
| 18.1 |  | Mfr. Standard |  |  |  |  |  |
| 19.0 |  | SHIPPING INFORMATION |  |  |  |  |  |
| 19.1 |  | Total Number of Shipping Sections |  |  |  |  |  |
| 19.2 |  | Weight of Heaviest Piece to be Shipped as a Unit | kg |  |  |  |  |
| 19.3 |  | Largest Section Shipped as a Unit (L/D/H) | mm |  |  |  |  |
| 19.4 |  | Total Assembly (L/W/H) | mm |  |  |  |  |