| ENTITY |  |  |  |  |  | EQUIPMENT NO.: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PROJECT TITLE: |  |  |  |  |  | P.O. NO.: |  |  |  |
| PROJECT LOCATION: |  |  |  |  |  | UNIT: |  |  |  |
| Line No. | DESCRIPTION |  | UNITS | SPECIFIED |  | Bidder’s Proposal | REMARKS |  |  |
| 1.0 | SITE CONDITIONS |  |  |  |  |  |  |  |  |
|  | Altitude |  | m |  |  |  |  |  |  |
|  | Seismic Zone |  | Zone |  |  |  |  |  |  |
|  | Minimum Ambient Temperature |  | oC |  |  |  |  |  |  |
|  | Maximum Ambient Temperature |  | oC |  |  |  |  |  |  |
|  | Design Ambient Temperature |  | oC |  |  |  |  |  |  |
|  | Maximum/minimum Relative Humidity at Normal Ambient Temperature |  | % |  |  |  |  |  |  |
|  | Location |  |  |  |  |  |  |  |  |
|  | Battery and Disconnection Switch |  | - |  |  |  |  |  |  |
|  | Battery Charger, Transformer and Distribution Board |  | - |  |  |  |  |  |  |
|  | Battery Room Area Classification |  |  |  |  |  |  |  |  |
|  | Zone |  | - |  |  |  |  |  |  |
|  | Gas Group |  | - |  |  |  |  |  |  |
|  | Temperature Class |  | - |  |  |  |  |  |  |
| 2.0 | SYSTEM PARAMETERS |  |  |  |  |  |  |  |  |
|  | Supply System - Volts, Phase, Wire, Hz, Earthing |  | VAC/3p/Hz |  |  |  |  |  |  |
|  | System Symmetrical Fault Level/Duration |  | kA |  |  |  |  |  |  |
|  | Steady State Voltage Variation |  | % |  |  |  |  |  |  |
|  | Steady State Frequency Variation |  | % |  |  |  |  |  |  |
|  | Transient Voltage Variation Magnitude/ Time |  | +/-% / s |  |  |  |  |  |  |
|  | Transient frequency Variation Magnitude/ Time |  | +/-% / s |  |  |  |  |  |  |
|  | Continuous/Maximum Supply Voltage Total Harmonic Distortion |  | % VTHD/ s |  |  |  |  |  |  |
|  | External Supply for Anti-Condensation Heaters, Cabinet Lighting, etc. |  |  |  |  |  |  |  |  |
|  | Voltage |  | V ac |  |  |  |  |  |  |
|  | Tolerance |  | % |  |  |  |  |  |  |
|  | Number of Phases |  | - | 1 Phase |  |  |  |  |  |
|  | Lebel |  |  |  |  |  | asper NFPA 70 Art.100 |  |  |
| 3.0 | PERFORMANCE |  |  |  |  |  |  |  |  |
|  | Output: |  |  |  |  |  |  |  |  |
|  | - Rating |  | kVA |  |  |  |  |  |  |
|  | - Voltage |  | VDC |  |  |  |  |  |  |
|  | - Frequency |  | Hz |  |  |  |  |  |  |
|  | Permissible Voltage Variation at Distribution Board |  |  |  |  |  |  |  |  |
|  | Max. Sound Power Level at 1 meter |  | dB |  |  |  |  |  |  |
|  | Overall Efficiency |  | % |  |  |  |  |  |  |
| 4.0 | ENCLOSURE |  |  |  |  |  |  |  |  |
|  | Type/ Access |  |  |  |  |  |  |  |  |
|  | Mounting |  |  |  |  |  |  |  |  |
|  | IP Rating |  |  |  |  |  |  |  |  |
|  | Air Condensation Heater |  |  |  |  |  |  |  |  |
|  | Access |  |  |  |  |  |  |  |  |
| 5.0 | MISCELLANEOUS |  |  |  |  |  |  |  |  |
|  | Cable Entry |  | - |  |  |  |  |  |  |
|  | Control Wiring Voltage Rating |  | Vdc |  |  |  |  |  |  |
|  | Paint Specification |  | - |  |  |  |  |  |  |
|  | Paint Shade (Enclosure) |  | - |  |  |  |  |  |  |
|  | Paint Shade (Battery Rack) |  | - |  |  |  |  |  |  |
|  | Label Language + Letter Color/ Background Color |  | - |  |  |  |  |  |  |
|  | Mean Time Between Failures (MTBF) - Input Section |  | Years |  |  |  |  |  |  |
|  | Mean Time Between Failures (MTBF) - Rectifier |  | Years |  |  |  |  |  |  |
|  | Mean Time Between Failures (MTBF) - Fans |  | Years |  |  |  |  |  |  |
|  | Mean Time Between Failures (MTBF) - Bypass |  | Years |  |  |  |  |  |  |
|  | Mean Time Between Failures (MTBF) - Auxiliary Controls |  | Years |  |  |  |  |  |  |
|  | Mean Time Between Failures (MTTR) - Input Section |  | Hours |  |  |  |  |  |  |
|  | Mean Time Between Failures (MTTR) - Rectifier |  | Hours |  |  |  |  |  |  |
|  | Mean Time Between Failures (MTTR) - Fans |  | Hours |  |  |  |  |  |  |
|  | Mean Time Between Failures (MTTR) - Bypass |  | Hours |  |  |  |  |  |  |
|  | Mean Time Between Failures (MTTR) - Auxiliary Controls |  | Hours |  |  |  |  |  |  |
|  | Mean Time Between Maintenance (MTBM) |  | Months |  |  |  |  |  |  |
|  | Mean Time To Maintain (MTTM) |  | Hours |  |  |  |  |  |  |
|  | Communication Protocol |  |  |  |  |  |  |  |  |
|  | Certificate and Declaration of Conformity |  | Yes |  |  |  |  |  |  |
|  | Overall Package Weight |  | kg |  |  |  |  |  |  |
|  | Overall Package Dimension (W x H XD) |  | mm |  |  |  |  |  |  |
| 6.0 | LIFE EXPECTANCY |  |  |  |  |  |  |  |  |
|  | Supplier shall list the life expectancy of major components including batteries, fans, circuit boards. |  |  |  |  |  |  |  |  |
|  | Design Life (excluding batteries) |  |  |  |  |  |  |  |  |
|  | Design Life for Battery |  |  |  |  |  |  |  |  |
| 7.0 | TESTING |  |  |  |  |  |  |  |  |
|  | Type Tests to IEC 60146-1-1 and IEC 62040-3 |  |  |  |  |  |  |  |  |
|  | FAT Test |  |  |  |  |  |  |  |  |
|  | Measurement of Inherent Voltage Regulation Test. |  |  |  |  |  |  |  |  |
|  | Rated Current and Overcurrent Test |  |  |  |  |  |  |  |  |
|  | Protective Device Test |  |  |  |  |  |  |  |  |
|  | Measurement of Harmonic Currents |  |  |  |  |  |  |  |  |
|  | Routine Test |  |  |  |  |  |  |  |  |
|  | Routine or Manufacturing Tests in Conformance to IEC 62040-3. |  |  |  |  |  |  |  |  |
| 8.0 | CHARGER DESIGN |  |  |  |  |  |  |  |  |
|  | Continuous Rated Output |  | kW |  |  |  |  |  |  |
|  | Battery Charging Time from Full Load Profile Discharge |  | h |  |  |  |  |  |  |
|  | Charger Rating |  | kW |  |  |  |  |  |  |
|  | Ripple |  | % |  |  |  |  |  |  |
|  | Output Current Limit |  | - |  |  |  |  |  |  |
|  | Output Voltage Regulation, Float |  | - |  |  |  |  |  |  |
|  | Output Voltage Regulation, Equalizing |  | - |  |  |  |  |  |  |
|  | DC Under-Voltage Relay Dropout Range |  | - |  |  |  |  |  |  |
|  | DC Overvoltage Relay Pickup Range |  | - |  |  |  |  |  |  |
|  | AC Under-Voltage Relay (connected to PT) |  | - |  |  |  |  |  |  |
|  | Cooling (Natural/Fans) |  | - |  |  |  |  |  |  |
|  | Pulse Number of Converter Circuit |  | - |  |  |  |  |  |  |
|  | Earth Fault Monitoring Circuit |  |  |  |  |  |  |  |  |
| 9.0 | BATTERY CHARGER DESIGN DATA |  |  |  |  |  |  |  |  |
|  | Conversion efficiency, each battery charger at rated output and nominal ac voltage input |  | - |  |  |  |  |  |  |
|  | Power factor, each battery charger at rated output and nominal ac voltage input |  | - |  |  |  |  |  |  |
|  | Maximum AC withstand transient input voltage for 10 microseconds |  | - |  |  |  |  |  |  |
|  | Maximum DC withstand transient input voltage for 10 microseconds |  | - |  |  |  |  |  |  |
|  | Rated Equalizing (Boost) Voltage and Current |  | V/A |  |  |  |  |  |  |
|  | Rated Equalizing (Booster) Charge Timer Range |  | h |  |  |  |  |  |  |
|  | Float Voltage and Current |  | V/A |  |  |  |  |  |  |
|  | Regulation and Ripple, maximum within load ranges below (Values entered apply to all chargers unless otherwise) |  |  |  |  |  |  |  |  |
|  | No-load to full load output with input voltage constant: |  |  |  |  |  |  |  |  |
|  | - Regulation |  | % |  |  |  |  |  |  |
|  | - Ripple |  | % |  |  |  |  |  |  |
|  | 10 % load to full load output with input voltage constant: |  |  |  |  |  |  |  |  |
|  | - Regulation |  | % |  |  |  |  |  |  |
|  | - Ripple |  | % |  |  |  |  |  |  |
|  | Maximum Heat Dissipation 100% |  | W |  |  |  |  |  |  |
|  | Maximum Heat Dissipation 75% Load |  | W |  |  |  |  |  |  |
|  | Maximum Heat Dissipation 50% Load |  | W |  |  |  |  |  |  |
|  | Output Isolation Switch (DC) |  |  |  |  |  |  |  |  |
|  | - Trip Rating |  | A |  |  |  |  |  |  |
|  | - Short Circuit Withstand Capacity |  | kA |  |  |  |  |  |  |
| 10.0 | BATTERY CHARGER INSTALLATION |  |  |  |  |  |  |  |  |
|  | Manufacturer |  | - |  |  |  |  |  |  |
|  | Model Number and Serial Number |  | - |  |  |  |  |  |  |
|  | Weight (net/shipping) (each battery Charger) |  | kg |  |  |  |  |  |  |
| 11.0 | BATTERY |  |  |  |  |  |  |  |  |
|  | Battery Type |  | - |  |  |  |  |  |  |
|  | Battery Manufacturer |  | - |  |  |  |  |  |  |
|  | Model Number |  | - |  |  |  |  |  |  |
|  | Nominal Voltage |  | V |  |  |  |  |  |  |
|  | Final Volts (per cell) |  | V |  |  |  |  |  |  |
|  | Load Profile |  | - |  |  |  |  |  |  |
|  | Temperature Correction Factor for 20 °C |  | - |  |  |  |  |  |  |
|  | Maximum Voltage |  | V |  |  |  |  |  |  |
|  | Design Margin Factor |  | - |  |  |  |  |  |  |
|  | Capacity |  | Ah |  |  |  |  |  |  |
|  | Ageing Factor |  | - |  |  |  |  |  |  |
|  | Float Voltage |  | V |  |  |  |  |  |  |
|  | Equalizing Voltage |  | V |  |  |  |  |  |  |
|  | Ingress Protection |  | - |  |  |  |  |  |  |
|  | Cable Size |  | mm² |  |  |  |  |  |  |
|  | Cable Entry |  | - |  |  |  |  |  |  |
|  | Number of Permissible Discharges |  | - |  |  |  |  |  |  |
|  | Battery Shipping Status |  | - |  |  |  |  |  |  |
|  | Method of Battery Earthing |  | - |  |  |  |  |  |  |
|  | Provide Inter-Rack Cabling System |  | - |  |  |  |  |  |  |
| 12.0 | BATTERY & RACK INSTALLATION INFORMATION |  |  |  |  |  |  |  |  |
|  | Battery Cell Weight, including Electrolyte |  | kg |  |  |  |  |  |  |
|  | Total Battery Weight (Battery & Rack) |  | kg |  |  |  |  |  |  |
|  | Battery Cell/Module Dimensions, L x W x H |  | mm |  |  |  |  |  |  |
|  | Battery Rack/Module Dimensions, L x W x H |  | mm |  |  |  |  |  |  |
|  | Rack Configuration (2-Tier or back to back) |  | - |  |  |  |  |  |  |
|  | Battery Rack or Model Number |  | - |  |  |  |  |  |  |
|  | Battery Rack Corrosion Protection |  |  |  |  |  |  |  |  |
|  | Distance between UPS and Batteries |  | M |  |  |  |  |  |  |
| 13.0 | BATTERY DESIGN DATA |  |  |  |  |  |  |  |  |
|  | One-Minute Rating of Battery |  | A |  |  |  |  |  |  |
|  | Four-Hour Rating at Ambient |  | Ah |  |  |  |  |  |  |
|  | Duty Cycle Discharge of Battery |  | Ah |  |  |  |  |  |  |
|  | Maximum Calculated Short-Circuit Current of Battery |  | A |  |  |  |  |  |  |
|  | Internal Resistance of Cell at Ambient Temperature |  | ohm |  |  |  |  |  |  |
|  | Internal Resistance of Battery |  | ohm |  |  |  |  |  |  |
|  | Recommended Charging Rates at Ambient Temperature: |  |  |  |  |  |  |  |  |
|  | - Floating, Minimum |  | V, A |  |  |  |  |  |  |
|  | - Floating, Maximum |  | V, A |  |  |  |  |  |  |
|  | - Equalizing, Maximum |  | V, A |  |  |  |  |  |  |
|  | Maximum Hydrogen Evolution |  | mm³/hr |  |  |  |  |  |  |
|  | Maximum Storage Period without Float Charge |  | months |  |  |  |  |  |  |
|  | Type of Terminal Seal Used |  | - |  |  |  |  |  |  |
|  | Minimum Temperature at which the batteries will meet the duty cycle requirement |  | °C |  |  |  |  |  |  |
|  | Design Life of the Battery |  | year |  |  |  |  |  |  |
|  | Number of Cells |  | - |  |  |  |  |  |  |
|  | Number of Jars or Containers |  | - |  |  |  |  |  |  |
|  | Jar Container Material |  | - |  |  |  |  |  |  |
|  | Volume of Liquid per Jar |  | L |  |  |  |  |  |  |
|  | Final Volts per cell at end of duty cycle |  | V |  |  |  |  |  |  |
|  | Maximum Heat Dissipation at Maximum Charge Rate |  | W |  |  |  |  |  |  |
|  | Maximum Heat Dissipation at Maximum Discharge Rate |  | W |  |  |  |  |  |  |
|  | Battery Short Circuit Rating when Fully Charged |  | kA |  |  |  |  |  |  |
|  | Minimum Short Circuit Current at end of Discharge Cycle |  | kA |  |  |  |  |  |  |
|  | Minimum Expected Battery Capacity on Delivery |  | Ah |  |  |  |  |  |  |
| 14.0 | BATTERY MANAGEMENT OR MONITORING SYSTEM |  |  |  |  |  |  |  |  |
|  | Battery Condition Monitoring System to be provided |  | - |  |  |  |  |  |  |
|  | Location of Battery Monitoring Panel |  | - |  |  |  |  |  |  |
|  | Distance between Battery Monitoring Panel and Battery Room |  | m |  |  |  |  |  |  |
|  | Interconnecting Cable |  |  |  |  |  |  |  |  |
| 15.0 | BATTERY DISCONNECTION DEVICE |  |  |  |  |  |  |  |  |
|  | MCCB / Circuit Breaker at Battery |  | - |  |  |  |  |  |  |
|  | Mounting |  | - |  |  |  |  |  |  |
|  | Enclosure Classification & Degree of Protection |  | - |  |  |  |  |  |  |
|  | Enclosure Ingress Protection |  | - |  |  |  |  |  |  |
|  | Cable Size |  | - |  |  |  |  |  |  |
|  | Battery 'Tie-Breaker' Rating FLC / Fault Withstand |  | A / kA |  |  |  |  |  |  |
|  | Disconnection Devices Rating Continues/ Short Circuit |  | A/kA |  |  |  |  |  |  |
| 16.0 | SHIPPING AND INSTALLATION |  |  |  |  |  |  |  |  |
|  | Battery Shipment |  |  |  |  |  |  |  |  |
|  | Provision of Battery Mechanical Handling Truck |  |  |  |  |  |  |  |  |
| 17.0 | DC DISTRIBUTION BOARDS |  |  |  |  |  |  |  |  |
|  | Rating |  |  |  |  |  |  |  |  |
|  | Nominal Voltage |  | Vdc |  |  |  |  |  |  |
|  | Maximum Voltage |  | V |  |  |  |  |  |  |
|  | Current |  | A |  |  |  |  |  |  |
|  | Short Circuit Rating |  | kA |  |  |  |  |  |  |
|  | Incoming MCCB |  | A |  |  |  |  |  |  |
|  | Outgoing Interrupting Devices |  |  |  |  |  |  |  |  |
|  | Rating and Number Distribution Board Side A |  |  |  |  |  |  |  |  |
|  | Rating and Number Distribution Board Side B |  |  |  |  |  |  |  |  |
| 18.0 | Manufacturer |  |  |  |  |  |  |  |  |
|  | Model Number and Serial Number |  |  |  |  |  |  |  |  |
|  | Weight |  |  |  |  |  |  |  |  |
|  | Dimension |  |  |  |  |  |  |  |  |
|  | Outgoing Cable Size |  |  |  |  |  |  |  |  |
|  | Outgoing Cable Entry |  |  |  |  |  |  |  |  |
| 19.0 | Design Data |  |  |  |  |  |  |  |  |
|  | Incomer Breaker Model |  |  |  |  |  |  |  |  |
|  | Distribution Breaker Mode |  |  |  |  |  |  |  |  |
|  | Provision of Protective Device Coordination Report |  |  |  |  |  |  |  |  |
|  | Tie-Breaker Required |  |  |  |  |  |  |  |  |