| ENTITY |  | EQUIPMENT NO.: |  |
| --- | --- | --- | --- |
| PROJECT TITLE: |  | P.O. NO.: |  |
| PROJECT LOCATION: |  | UNIT: |  |

| Line No. | DESCRIPTION | UNITS | SPECIFIED | BIDDER'S PROPOSAL |
| --- | --- | --- | --- | --- |
| 1.0 | SERVICE CONDITIONS |  |  |  |
| 1.1 | Location |  |  |  |
| 1.2 | Minimum Ambient Temperature | °C (°F) |  |  |
| 1.3 | Maximum Ambient Temperature | °C (°F) |  |  |
| 1.4 | Relative Humidity Range | % |  |  |
| 1.5 | Design Ambient Temperature | °C (°F) |  |  |
| 1.6 | Seismic Zone |  |  |  |
| 1.7 | Altitude | M |  |  |
| 1.8 | Climatic, Environmental & Fire Behavior Classes per IEC |  |  |  |
| 1.9 | Mounting Arrangement |  |  |  |
| 1.10 | CE Marking Requirement |  |  |  |
| 2.0 | ELECTRICAL SYSTEM |  |  |  |
| 2.1 | Rating | kVA |  |  |
| 2.2 | No load Voltage Ratio (Principal Tap) | kV/kV |  |  |
| 2.3 | Impedance Principal Tap | % |  |  |
| 2.4 | Supply System (Phase, Wire, Hz) |  |  |  |
| 2.5 | Supply Variations (Volts, Hz) | % |  |  |
| 2.6 | Primary System Neutral Earthing | Yes/No |  |  |
| 2.7 | Secondary System Neutral Earthing | Yes/No |  |  |
| 2.8 | Through withstand Fault Capability | kA |  |  |
| 2.9 | Rated Primary Current | A |  |  |
| 2.10 | Rated Secondary Current | A |  |  |
| 2.11 | Cooling Method (AN/AF) | - |  |  |
| 2.12 | Vector Group | - |  |  |
| 2.13 | Primary Lightning Impulse Voltage | kV |  |  |
| 2.14 | Secondary Lightning Impulse Voltage | kV |  |  |
| 2.15 | Winding Temperature Rise |  |  |  |
| 2.16 | Rated Insulation Class |  |  |  |
| 2.17 | Tapping Range |  |  |  |
| 2.18 | Regulation at 0.8 Power Factor |  |  |  |
| 2.19 | Efficiency at 50/75/100% of Load at 0.8 Power Factor |  |  |  |
| 3.0 | CONSTRUCTION |  |  |  |
| 3.1 | Tap Changing Switch Type | - |  |  |
| 3.2 | Tapping Type | - |  |  |
| 3.3 | Maximum Sound Pressure Level | dB |  |  |
| 3.4 | Winding Material | Cu/Al |  |  |
| 3.5 | Core Assembly Material |  |  |  |
| 3.6 | Painting & Finish |  |  |  |
| 3.7 | Transformer Configuration |  |  |  |
| 4.0 | ACCESSORIES & FITTINGS |  |  |  |
| 4.1 | Winding Temperature Indicator |  |  |  |
| 4.2 | -Alarm/Trip Contact |  |  |  |
| 4.3 | -4-20 mA Output |  |  |  |
| 4.4 | Protection Current Transformers |  |  |  |
| 4.5 | Metering Current Transformers |  |  |  |
| 4.6 | Other Current Transformers |  |  |  |
| 4.7 | Forced Cooling System Control Panel/Location |  |  |  |
| 4.8 | Auxiliary Voltage Cooling Equipment |  |  |  |
| 4.9 | Off load Tap Changer with Padlocking |  |  |  |
| 4.10 | Winding (1/phase) & Core RTD's |  |  |  |
| 5.0 | TERMINATIONS |  |  |  |
| 5.1 | HV Cable size (mm2) & # of Cables per phase |  |  |  |
| 5.2 | LV Cable size (mm2) & # of Cables per phase |  |  |  |
| 5.3 | Disconnecting Chamber HV |  |  |  |
| 5.4 | Disconnecting Chamber LV |  |  |  |
| 5.5 | Busduct Termination (if applicable) |  |  |  |
| 5.6 | Terminal Compartment/Auxiliaries Enclosure |  |  |  |
| 6.0 | TESTS |  |  |  |
| 6.1 | Routine Tests |  |  |  |
| 7.0 | TYPE TESTS |  |  |  |
| 7.1 | Temperature-rise test. |  |  |  |
| 7.2 | Lightning Impulse Test |  |  |  |
| 8.0 | SPECIAL TESTS |  |  |  |
| 8.1 | Partial Discharge (Additional procedure) |  |  |  |
| 8.2 | Determination of capacitances windings-to-earth, and between windings |  |  |  |
| 8.3 | Measurement of zero-sequence impedance(s) |  |  |  |
| 8.4 | Short-circuit withstand test |  |  |  |
| 8.5 | Measurement of sound levels |  |  |  |
| 8.6 | Measurement of the harmonics of the no-load current |  |  |  |
| 8.7 | Environmental Test |  |  |  |
| 8.8 | Climactic Test |  |  |  |
| 8.9 | Fire Behavior Test |  |  |  |
| 9.0 | Manufacturer’s Data |  |  |  |
| 9.1 | Manufacturer |  |  |  |
| 9.2 | Model/Serial No. |  |  |  |
| 9.3 | Outline Drawing No. |  |  |  |
| 9.4 | Maximum Flux Density | T |  |  |
| 9.5 | No Load Loss | kW |  |  |
| 9.6 | Load Loss | kW |  |  |
| 9.7 | No Load Current | Amps |  |  |
| 9.8 | Maximum Inrush Current | Amps |  |  |
| 9.9 | Inrush Current Time | Secs |  |  |
| 9.10 | Weight Core and Winding | Kg |  |  |
| 9.11 | Total Weight | Kg |  |  |
| 9.12 | Overall Dimensions (H x W x D) | mm x mm x mm |  |  |