| ENTITY |  | EQUIPMENT NO.: |  |
| --- | --- | --- | --- |
| PROJECT TITLE: |  | P.O. NO.: |  |
| PROJECT LOCATION: |  | UNIT: |  |

| SERVICE / SITE CONDITIONS | UNITS | SPECIFIED | BIDDER'S PROPOSAL |
| --- | --- | --- | --- |
| Altitude | m |  |  |
| Seismic Zone | - |  |  |
| Design Maximum ambient temperature | oC |  |  |
| Design Minimum ambient temperature | oC |  |  |
| Area Classification: | - |  |  |
| Zone | - |  |  |
| Group | - |  |  |
| Temperature rating |  |  |  |
| Indoors or outdoors |  |  |  |
| Enclosure Type |  |  |  |
| Enclosure Material |  |  |  |
| Grounding / Earthing Type |  |  |  |
| DESIGN AND RATING |  |  |  |
| Power Supply: |  |  |  |
| Motors smaller than 0.5 kW | V/P/W |  |  |
| Controller provided by (Buyer/Seller) | - |  |  |
| Buyer cable directly to Controller/or Sellers Junction Box (JB) |  |  |  |
| Motors 0.5 kW and larger | V/P/W |  |  |
| Contactor provided by (Buyer/Seller) | - |  |  |
| Buyer cable directly to Controller/or Sellers JB |  |  |  |
| Individual Heater 1 kW and smaller | V/P/W |  |  |
| Controllers provided by Buyer/Seller | - |  |  |
| Buyer cable directly to Controller/or Sellers JB |  |  |  |
| Individual Heaters greater than 1kW | V/P/W |  |  |
| Controllers provided by Buyer/Seller | - |  |  |
| Buyer cable directly to Controller/or Sellers JB |  |  |  |
| Combined loads (not heaters/motors) 5 kW & less | V/P/W |  |  |
| Controllers provided by Buyer/Seller | - |  |  |
| Buyer cable directly to Controller/or Sellers JB |  |  |  |
| Combined loads (not heaters/motors) that exceed 5 kW | V/P/W |  |  |
| Controllers provided by Buyer/Seller | - |  |  |
| Buyer cable directly to Controller/or Sellers JB |  |  |  |
| Instrument loads | V |  |  |
| System frequency | Hz |  |  |
| Raceway type |  |  |  |
| Oversized Motor Terminal Box required (Yes/No) |  |  |  |
| Relay & Indicating Lights rating (Volts/Frequency) | V/Hz |  |  |
| Motor Disconnect Required (Yes/No) |  |  |  |
| Space Heaters: |  |  |  |
| Rated operating voltage | V |  |  |
| Actual operating voltage | V |  |  |