| ENTITY |  | EQUIPMENT NO.: |  |
| --- | --- | --- | --- |
| PROJECT TITLE: |  | P.O. NO.: |  |
| PROJECT LOCATION: |  | UNIT: |  |

| Line No. | DESCRIPTION | UNITS | SPECIFIED | BIDDER’S PROPOSAL | SUPPLIER DATA |
| --- | --- | --- | --- | --- | --- |
| 1.0 | SITE CONDITIONS |  |  |  |  |
|  | Altitude | m |  |  |  |
|  | Seismic Design Criteria | - |  |  |  |
|  | SDS | g |  |  |  |
|  | SD1 | g |  |  |  |
|  | Maximum Ambient Temperature | oC |  |  |  |
|  | Minimum Ambient Temperature | oC |  |  |  |
|  | Design Ambient Temperature | oC |  |  |  |
|  | Design Average Monthly Temperature | oC |  |  |  |
|  | Design Solar Radiation Temperature (black body) | oC |  |  |  |
|  | Average Annual Temperature | oC |  |  |  |
|  | Atmospheric conditions | - |  |  |  |
|  | Maximum/Average Design Relative Humidity | % |  |  |  |
|  | Area Classification: | - |  |  |  |
|  | Gas Group and Temperature Class | - |  |  |  |
|  | Type of Protection Required | - |  |  |  |
|  | Mounting Arrangement | - |  |  |  |
|  | Indoors or outdoors | - |  |  |  |
|  | Duty Type | - |  |  |  |
|  | Service Life | Years |  |  |  |
| 2.0 | DESIGN AND RATING |  |  |  |  |
|  | No load Voltage ratio (principal tap) | kV |  |  |  |
|  | Phase(s)/ Frequency | 3p/Hz |  |  |  |
|  | Rating | kVA |  |  |  |
|  | Vector Group | - |  |  |  |
|  | Cooling Type | - |  |  |  |
|  | Number of Windings per phase | - |  |  |  |
|  | Impedance Principal Tap / Rating / Tolerance | % / kVA / % |  |  |  |
|  | Winding Material |  |  |  |  |
|  | Primary Winding | - |  |  |  |
|  | Secondary Winding | - |  |  |  |
|  | Insulation class / Type |  |  |  |  |
|  | Winding Insulation Materials |  |  |  |  |
|  | Insulation Between HV and LV Windings |  |  |  |  |
|  | Continuous Parallel Operation with Identical Unit |  |  |  |  |
|  | Steady State Voltage Tolerance | % |  |  |  |
|  | Steady State Frequency Tolerance | % |  |  |  |
|  | Transient Voltage Tolerance | % |  |  |  |
|  | Transient Frequency Tolerance | % |  |  |  |
|  | Maximum Supply Harmonic Distortion | %THD |  |  |  |
|  | Primary System Fault Level | kA |  |  |  |
|  | Primary System Neutral Earthing | - |  |  |  |
|  | Secondary System Fault Level | kA |  |  |  |
|  | Secondary System Neutral Earthing | - |  |  |  |
|  | Primary Full Wave Lightning Impulse | kVp |  |  |  |
|  | Primary Applied Voltage Withstand | kV rms |  |  |  |
|  | Secondary Full Wave Lightning Impulse | kVp |  |  |  |
|  | Secondary Applied Voltage Withstand | kV rms |  |  |  |
|  | Tap Changer Type | - |  |  |  |
|  | Tapping Type (for OLTC) | - |  |  |  |
|  | Tapping Range | - |  |  |  |
|  | Tap Changing Switch Type | - |  |  |  |
|  | Number of Taps | - |  |  |  |
|  | Location of Taps | - |  |  |  |
|  | Maximum Sound Pressure Level (SPL) | dB |  |  |  |
|  | Transformer Type | - |  |  |  |
|  | Oil/Liquid Preservation System | - |  |  |  |
|  | Type of Insulating Liquid | - |  |  |  |
|  | IP rating of Terminal Boxes and Interface Junction Box |  |  |  |  |
|  | IP Rating of Transformer Enclosure |  |  |  |  |
|  | Primary side connection type/Size (if applicable) | - |  |  |  |
|  | Cable Type - Primary Side (if applicable) | - |  |  |  |
|  | Secondary side connection type / Size (if applicable) | - |  |  |  |
|  | Cable Type - Secondary Side (if applicable) | - |  |  |  |
|  | Disconnecting Chamber Primary Winding | - |  |  |  |
|  | Disconnecting Chamber Secondary Winding | - |  |  |  |
|  | Stress Relieving Termination | - |  |  |  |
|  | Tank Walls Construction | - |  |  |  |
|  | Tank Construction Type | - |  |  |  |
|  | Galvanized Radiators | - |  |  |  |
|  | Transformer Configuration | - |  |  |  |
|  | Paint Specification | - |  |  |  |
|  | Paint Shade | - |  |  |  |
|  | Corrosion Protection | -- |  |  |  |
|  | Explosion Protection Requirements for Hermetically Sealed Units | - |  |  |  |
| 3.0 | ACCESSORIES |  |  |  |  |
|  | Winding Temperature Indicator (WTI) | - |  |  |  |
|  | Alarm Contact (for WTI) | - |  |  |  |
|  | Alarm Contact Settings (for WTI) | oC |  |  |  |
|  | Trip Contact (for WTI) | - |  |  |  |
|  | Trip Contact Settings (for WTI) | oC |  |  |  |
|  | Oil Temperature indicators(OTI) | - |  |  |  |
|  | Alarm Contact (for OTI) | - |  |  |  |
|  | Alarm Contact Settings (for OTI) | oC |  |  |  |
|  | Trip Contact (for OTI) | - |  |  |  |
|  | Trip Contact Settings (for OTI) | oC |  |  |  |
|  | Oil Level Indicator (OLI) | - |  |  |  |
|  | Alarm Contact (for OLI) | - |  |  |  |
|  | Alarm Contact Settings (for OLI) | mm |  |  |  |
|  | Trip Contact (for OLI) | - |  |  |  |
|  | Trip Contact Settings (for OLI) | mm |  |  |  |
|  | Pressure Relief Device (PRD) | - |  |  |  |
|  | Alarm Contact (for PRD) | - |  |  |  |
|  | Alarm Contact Settings (for PRD) | bar |  |  |  |
|  | Trip Contact (for PRD) | - |  |  |  |
|  | Trip Contact setting (for PRD) | bar |  |  |  |
|  | Mano meter | - |  |  |  |
|  | Alarm Contact (for manometer) | - |  |  |  |
|  | Alarm Contact Settings (for manometer) | oC |  |  |  |
|  | Trip Contact (for manometer) | - |  |  |  |
|  | Trip Contact Settings (for manometer) | oC |  |  |  |
|  | Buchholz Relay (For Main Tank) | - |  |  |  |
|  | Alarm Contact (for Buchholz Relay) | - |  |  |  |
|  | Trip Contact (for Buchholz Relay) | - |  |  |  |
|  | Buchholz Relay (For OLTC Compartment) | - |  |  |  |
|  | Alarm Contact (for Buchholz Relay) | - |  |  |  |
|  | Trip Contact (for Buchholz Relay) | - |  |  |  |
|  | Transformers Differential Current Transformer | - |  |  |  |
|  | Line Differential Current Transformer | - |  |  |  |
|  | CT (REF) Ratio (on primary side) | - |  |  |  |
|  | Neutral CT (REF) Ratio (on primary side) | - |  |  |  |
|  | Neutral CT (SBEF) Ratio (on primary side) | - |  |  |  |
|  | Neutral CT (REF) Ratio (on secondary side) | - |  |  |  |
|  | Neutral CT (SBEF) Ratio (on secondary side) | --- |  |  |  |
|  | Metering Current Transformers | - |  |  |  |
|  | Other Current Transformers | - |  |  |  |
|  | On Load Tap Changer Control Panel/Location | - |  |  |  |
|  | Line Drop Comp | - |  |  |  |
|  | Neg Reactance Comp | -- |  |  |  |
|  | Earthing Boss | - |  |  |  |
| 4.0 | TESTS (As per IEC 60076) |  |  |  |  |
|  | Routine Tests, including Power Frequency Withstand test | - |  |  |  |
|  | Type Test | - |  |  |  |
|  | Temperature-rise Test. | - |  |  |  |
|  | Other Type Tests as per IEC 60076 | - |  |  |  |
|  | SPECIAL TESTS |  |  |  |  |
|  | Dielectric Special Tests. | - |  |  |  |
|  | Determination of Capacitances Windings-to-earth, and Between Windings. | - |  |  |  |
|  | Determination of Transient Voltage Transfer Characteristics. | - |  |  |  |
|  | Measurement of Zero-sequence Impedance(s) | - |  |  |  |
|  | Short-circuit Withstand Test. | - |  |  |  |
|  | Measurement of the Harmonics of the No-load Current. | - |  |  |  |
|  | Leak test | - |  |  |  |
|  | Measurement of the Power Taken by the Fan and Oil Pump Motors. | - |  |  |  |
|  | Measurement of Insulation Resistance to Earth of the Windings, and/or Measurement of Dissipation Factor (tan d) of the Insulation System Capacitances. | - |  |  |  |
| 5.0 | MANUFACTURER'S DATA |  |  |  |  |
| 5.1 | General | - |  |  |  |
|  | Manufacturer | - |  |  |  |
|  | Model Number | - |  |  |  |
|  | Serial Numbers | - |  |  |  |
|  | General Arrangement Drawing Number | - |  |  |  |
|  | Rating | KVA |  |  |  |
|  | Rated Primary Voltage | kV |  |  |  |
|  | Rated Secondary Voltage | kV |  |  |  |
|  | Vector Group | - |  |  |  |
|  | Insulation Class | - |  |  |  |
|  | Conservator Liquid Preservation System | - |  |  |  |
|  | Noise Level | dBA @ 1m |  |  |  |
|  | Primary Full Load Current | A |  |  |  |
|  | Secondary Full Load Current | A |  |  |  |
| 5.2 | Insulating Liquid |  |  |  |  |
|  | Insulating Liquid Type | - |  |  |  |
|  | Insulating Liquid Flash Point |  |  |  |  |
|  | Insulation Liquid Brand |  |  |  |  |
|  | Insulating Liquid Volume |  |  |  |  |
|  | Guaranteed Maximum Temperature Rise of Insulation Liquid |  |  |  |  |
| 5.3 | Physical Characteristics |  |  |  |  |
|  | Mass |  |  |  |  |
|  | Core and Windings | kg |  |  |  |
|  | Main Tank and Fittings | Kg |  |  |  |
|  | Conservator Tank and Fittings (if applicable) | kg |  |  |  |
|  | Insulating Liquid Mass | kg |  |  |  |
|  | Total Shipping Mass | kg |  |  |  |
|  | Dimensions | mm |  |  |  |
|  | Overall Dimensions | mm |  |  |  |
|  | Main Tank (+ Conservator, if applicable) | H |  |  |  |
|  | Main Tank (+ Conservator, if applicable) | W |  |  |  |
|  | Main Tank (+ Conservator, if applicable) | D |  |  |  |
|  | Material Thickness |  |  |  |  |
|  | Tank walls | mm |  |  |  |
|  | Tank base | mm |  |  |  |
|  | Tank cover | mm |  |  |  |
|  | Radiator(If applicable) | mm |  |  |  |
|  | Clearances |  |  |  |  |
|  | Clear Space Required Top & Sides | mm |  |  |  |
|  | Materials |  |  |  |  |
|  | Tank Materials | - |  |  |  |
|  | Radiator Materials (If, applicable) | - |  |  |  |
|  | Conservator Materials (If, applicable) | - |  |  |  |
| 5.4 | Winding Design and Parameters |  |  |  |  |
|  | Exact Turns Ratio | - |  |  |  |
|  | Impedance Voltage at Lowest Tap | % |  |  |  |
|  | Impedance Voltage at Nominal Tap | % |  |  |  |
|  | Impedance Voltage at Highest Tap | % |  |  |  |
|  | Zero Sequence Impedance @ HV/LV Side | % |  |  |  |
|  | Impedance Voltage Tolerance | % |  |  |  |
|  | Magnetizing Reactance | % |  |  |  |
|  | Positive Sequence Reactance | % |  |  |  |
|  | X/R Ratio | - |  |  |  |
| 5.5 | Resistance / Phase |  |  |  |  |
|  | Primary | ohm |  |  |  |
|  | Secondary | ohm |  |  |  |
|  | Capacitances |  |  |  |  |
|  | HV-E | uF |  |  |  |
|  | LV-E | uF |  |  |  |
|  | HV-LV | uF |  |  |  |
|  | Winding Material | - |  |  |  |
|  | Guaranteed Maximum Temperature Rise of Winding | °C |  |  |  |
|  | Losses |  |  |  |  |
|  | No Load Loss at 100% Voltage | kW |  |  |  |
|  | No Load Loss at 110% Voltage | kW |  |  |  |
|  | Full Load Copper Loss at Highest Operating Temperature | kW |  |  |  |
|  | Efficiency |  |  |  |  |
|  | Curve Data for Unity and 0.8pf lag at 100%, 75% and 50% load | % |  |  |  |
|  | Maximum Efficiency at Unity and 0.8pf lag | % |  |  |  |
|  | Load at Which Maximum Efficiency Occurs | kVA |  |  |  |
|  | Current |  |  |  |  |
|  | No Load Current at 110% Voltage, 105% Frequency | A |  |  |  |
|  | No Load Current at 100% Voltage, 100% Frequency | A |  |  |  |
|  | Maximum Inrush Current (Primary/ Secondary) | A |  |  |  |
|  | Inrush Current Time - Half Value Time (Primary/Secondary) | Seconds |  |  |  |
|  | Short-Circuit Withstand |  |  |  |  |
|  | 3-Phase Short Circuit Withstand Time and Current | Seconds / A |  |  |  |
|  | 1-Phase Short Circuit Withstand Time and Current | Seconds / A |  |  |  |
|  | Overload |  |  |  |  |
|  | Permissible Overload | % |  |  |  |
|  | Regulation at Highest Operating Temperature |  |  |  |  |
|  | Percentage Regulation at 0.8pf lag | % |  |  |  |
|  | Percentage Regulation at Unity pf | % |  |  |  |
|  | Reliability |  |  |  |  |
|  | Mean Time Between Failure (MTBF) | hours |  |  |  |
|  | Mean Time To Repair (MTTR) | hours |  |  |  |
|  | Maximum Flux Density In Core |  |  |  |  |
|  | At 100% Voltage and Nominal Frequency | T |  |  |  |
|  | At 110% Voltage and 105% Frequency | T |  |  |  |
|  | Bushing Details |  |  |  |  |
|  | Rated Current HV | kV |  |  |  |
|  | Rated Current LV | kV |  |  |  |
|  | Voltage Class HV | kV |  |  |  |
|  | Voltage class LV | kV |  |  |  |
|  | Creepage Distance HV | mm |  |  |  |
|  | Creepage Distance LV | mm |  |  |  |
|  | 1-Minute Withstand Dry | kV |  |  |  |
|  | 1-Minute Withstand Wet | kV |  |  |  |
|  | Dielectric Properties |  |  |  |  |
|  | Primary Applied Voltage Withstand | kV rms |  |  |  |
|  | Secondary Applied Voltage Withstand | kV rms |  |  |  |
|  | Primary Full Wave Lightning Impulse | kVp |  |  |  |
|  | Secondary Full Wave Lightning Impulse | kVp |  |  |  |