| ENTITY |  | EQUIPMENT NO.: |  |
| --- | --- | --- | --- |
| PROJECT TITLE: |  | P.O. NO.: |  |
| PROJECT LOCATION: |  | UNIT: |  |

| Line No. | DESCRIPTION | UNITS | SPECIFIED | Bidder’s Proposal | REMARKS |
| --- | --- | --- | --- | --- | --- |
| - GENERAL |  |  |  |  |  |
| 1.1 | SITE CONDITIONS |  |  |  |  |
|  | Altitude | m |  |  |  |
|  | Seismic zone | Zone |  |  |  |
|  | Minimum ambient temperature | oC |  |  |  |
|  | Maximum ambient temperature | oC |  |  |  |
|  | Design ambient temperature | oC |  |  |  |
|  | Maximum/minimum relative humidity at normal ambient temperature | % |  |  |  |
|  | Location |  |  |  |  |
|  | Battery and Disconnection Switch | - |  |  |  |
|  | Rectifier, inverter, static transfer switch, transformer, manual maintenance bypass switch and panel board | - |  |  |  |
|  | Battery Room area classification- |  |  |  |  |
|  | Zone | - |  |  |  |
|  | Gas Group | - |  |  |  |
|  | Temperature Class | - |  |  |  |
| 1.2 | SYSTEM PARAMETER |  |  |  |  |
|  | Supply system - volts, phase, wire, Hz, earthing | v/3p/Hz |  |  |  |
|  | System Symmetrical fault level | kA |  |  |  |
|  | Steady state voltage variation | % |  |  |  |
|  | Transient voltage variation magnitude/ time | % |  |  |  |
|  | Transient frequency Variation magnitude/Time | +/-% / s |  |  |  |
|  | Continuous/Maximum supply voltage total harmonic distortion | +/-% / s |  |  |  |
|  | External supply for anti-condensation heaters, cabinet lighting, etc. | % VTHD / s |  |  |  |
|  | Voltage | V ac |  |  |  |
|  | Tolerance | % |  |  |  |
|  | Number of phases | - | Single Phase |  |  |
|  | Label |  |  |  | As per NFPA 70 Art.100 |
| 1.3 | PERFORMANCE |  |  |  |  |
|  | Output: |  |  |  |  |
|  | - Rating | kVA |  |  |  |
|  | - Voltage | V |  |  |  |
|  | - Frequency | Hz |  |  |  |
|  | Battery load profile |  |  |  |  |
|  | Load power factor | PF |  |  |  |
|  | Max. sound power level at 1 meter | dB |  |  |  |
|  | Overall efficiency | % |  |  |  |
| 1.4 | ENCLOSURE |  |  |  |  |
|  | Type/ Access |  |  |  |  |
|  | Mounting |  |  |  |  |
|  | IP Rating |  |  |  |  |
|  | Air Condensation Heater |  |  |  |  |
| 1.5 | MISCELLANEOUS |  |  |  |  |
|  | Cable Entry | - |  |  |  |
|  | Control Wiring Voltage Rating | Vdc |  |  |  |
|  | Paint Specification | - |  |  |  |
|  | Paint Shade (Enclosure) | - |  |  |  |
|  | Paint Shade (Battery Rack) | - |  |  |  |
|  | Label language + letter color/ background color | - |  |  |  |
|  | Mean Time Between Failures (MTBF) - Input section | Years |  |  |  |
|  | Mean Time Between Failures (MTBF) - Rectifier | Years |  |  |  |
|  | Mean Time Between Failures (MTBF) - Fans | Years |  |  |  |
|  | Mean Time Between Failures (MTBF) - Inverter | Years |  |  |  |
|  | Mean Time Between Failures (MTBF) - Bypass | Years |  |  |  |
|  | Mean Time Between Failures (MTBF) - auxiliary controls | Years |  |  |  |
|  | Mean Time Between Failures (MTTR) - Input section | Hours |  |  |  |
|  | Mean Time Between Failures (MTTR) - Rectifier | Hours |  |  |  |
|  | Mean Time Between Failures (MTTR) - Fans | Hours |  |  |  |
|  | Mean Time Between Failures (MTTR) - Inverter | Hours |  |  |  |
|  | Mean Time Between Failures (MTTR) - Bypass | Hours |  |  |  |
|  | Mean Time Between Failures (MTTR) - auxiliary controls | Hours |  |  |  |
|  | Mean Time Between Maintenance (MTBM) | Months |  |  |  |
|  | Mean Time to Maintain (MTTM) | Hours |  |  |  |
|  | UPS Serial Number | - |  |  |  |
|  | Total heat dissipation | W |  |  |  |
|  | Communication protocol |  |  |  |  |
|  | Certificate and declaration of conformity | Yes |  |  |  |
|  | Overall package weight (excluding batteries and isolators) | kg |  |  |  |
|  | Overall package dimensions (excluding batteries and isolators) (W x H x D) | mm |  |  |  |
| 1.6 | LIFE EXPECTANCY |  |  |  |  |
|  | Supplier shall list the life expectancy of major components including batteries, fans, circuit boards. |  |  |  | All UPS components except for battery and battery disconnect switch to be housed together. |
|  | Design life (excluding batteries) |  |  |  |  |
|  | Design life for Battery |  |  |  |  |
| 1.7 | CONFIGURATION |  |  |  |  |
|  | Battery |  |  |  |  |
|  | Charger |  |  |  |  |
|  | UPS Configuration |  |  |  |  |
| 1.8 | TESTING |  |  |  |  |
|  | Type tests to IEC 60146-1-1 and IEC 62040-3 |  |  |  |  |
|  | FAT Test |  |  |  |  |
|  | Efficiency and temperature rise test |  |  |  | At 50, 75 and 100% of rated Full Load at rated power factor |
|  | Harmonic distortion of input current test. |  |  |  |  |
|  | Dynamic performance load step test (50, 75 and 100%) |  |  |  |  |
|  | Transfer to bypass test |  |  |  |  |
|  | Fault clearing test |  |  |  |  |
|  | Light load and functional tests. |  |  |  |  |
|  | Synchronization/frequency slew rate test. |  |  |  |  |
|  | Overload test. |  |  |  |  |
|  | Transient Load Response Test |  |  |  |  |
|  | Power failure test |  |  |  |  |
|  | Routine Test |  |  |  |  |
|  | Routine or manufacturing tests in conformance to IEC 62040-3. |  |  |  | Functional Test (Demonstration of all functions, controls, indicators, sensors and protection devices) |
|  | Soak test under full rated load for 12 h. |  |  |  |  |
| 2.0 BATTERY CHARGER or BOOSTER/RECTIFIER - Sufficient to supply Full Load to Invertor |  |  |  |  |  |
| 2.1 | BATTERY CHARGER |  |  |  |  |
|  | DC voltage, output | V |  |  |  |
|  | Continuous rated output | kW |  |  |  |
|  | Battery charging time from full load profile discharge | h |  |  |  |
|  | Ripple | % |  |  |  |
|  | Output current limit | - |  |  |  |
|  | Output voltage regulation, float | - |  |  |  |
|  | Output voltage regulation, equalizing | - |  |  |  |
|  | DC Under-voltage relay dropout range | - |  |  |  |
|  | DC overvoltage relay pickup range | - |  |  |  |
|  | AC Under-voltage relay (connected to PT) | - |  |  |  |
|  | Cooling (Natural/Fans) | - |  |  |  |
|  | Pulse number of converter circuit | - |  |  |  |
|  | Harmonic Spectrum | - |  |  |  |
|  | Earth fault monitoring circuit |  |  |  |  |
| 2.2 | BATTERY CHARGER DESIGN DATA |  |  |  |  |
|  | Maximum and normal input voltage and current for each battery charger: |  |  |  |  |
|  | - Maximum | V/A |  |  |  |
|  | - Normal | V/A |  |  |  |
|  | Conversion efficiency, each battery charger at rated output and nominal ac voltage input | - |  |  |  |
|  | Power factor, each battery charger at rated output and nominal ac voltage input | - |  |  |  |
|  | Maximum AC withstand transient input voltage for 10 microseconds | - |  |  |  |
|  | Maximum DC withstand transient input voltage for 10 microseconds | - |  |  |  |
|  | Equalizing voltage and current | V/A |  |  |  |
|  | Equalizing charge timer range | h |  |  |  |
|  | Float voltage and current | V/A |  |  |  |
|  | Regulation and ripple, maximum within load ranges below (Values entered apply to all chargers unless otherwise) |  |  |  |  |
|  | No-load to full load output with input voltage constant: |  |  |  |  |
|  | - Regulation | % |  |  |  |
|  | - Ripple | % |  |  |  |
|  | 10 % load to full load output with input voltage constant: |  |  |  |  |
|  | - Regulation | % |  |  |  |
|  | - Ripple | % |  |  |  |
|  | Maximum heat dissipation 100% | W |  |  |  |
|  | Maximum heat dissipation 75% load | W |  |  |  |
|  | Maximum heat dissipation 50% load | W |  |  |  |
|  | Time after ac power restoration to full dc output restoration | - |  |  |  |
|  | Input breaker (AC): |  |  |  |  |
|  | - Frame size | - |  |  |  |
|  | - Trip rating | A |  |  |  |
|  | - Short circuit breaking capacity | kA |  |  |  |
|  | Output isolation switch (DC) |  |  |  |  |
|  | - Rating | A |  |  |  |
|  | - Short circuit breaking capacity | kA |  |  |  |
| 2.3 | BATTERY CHARGER INSTALLATION |  |  |  |  |
|  | Manufacturer | - |  |  |  |
|  | Model number and serial number | - |  |  |  |
|  | Rating | A |  |  |  |
| 3.0 BATTERY AND DISCONNECT SWITCH |  |  |  |  |  |
| 3.1 | BATTERY |  |  |  |  |
|  | Battery type | - |  |  |  |
|  | Battery manufacturer | - |  |  |  |
|  | Model number | - |  |  |  |
|  | Nominal voltage | V |  |  |  |
|  | Final volts (per cell) | V |  |  |  |
|  | Load profile | - |  |  |  |
|  | Temperature correction factor for 20 °C | - |  |  |  |
|  | Maximum voltage | V |  |  |  |
|  | Design margin factor | - |  |  |  |
|  | Capacity | Ah |  |  |  |
|  | Ageing factor | - |  |  |  |
|  | Float voltage | V |  |  |  |
|  | Equalizing voltage | V |  |  |  |
|  | Ingress protection | - |  |  |  |
|  | Cable size | mm² |  |  |  |
|  | Cable entry | - |  |  |  |
|  | Number of permissible discharges | - |  |  |  |
|  | Battery shipping status | - |  |  |  |
|  | Method of battery earthing | - |  |  |  |
|  | Provide Inter-rack cabling system | - |  |  |  |
| 3.2 | BATTERY & RACK INSTALLATION INFORMATION |  |  |  |  |
|  | Battery cell weight, including electrolyte | kg |  |  |  |
|  | Total battery weight (battery & rack) | kg |  |  |  |
|  | Battery cell/module dimensions, L x W x H | mm |  |  |  |
|  | Battery rack/module dimensions, L x W x H | mm |  |  |  |
|  | Rack configuration | - |  |  |  |
|  | Battery rack or model number | - |  |  |  |
|  | Battery rack corrosion protection |  |  |  |  |
|  | Distance between UPS and batteries | M |  |  |  |
| 3.3 | BATTERY DESIGN DATA |  |  |  |  |
|  | One-minute rating of battery | A |  |  |  |
|  | Four-hour rating at ambient | Ah |  |  |  |
|  | Duty cycle discharge of battery | Ah |  |  |  |
|  | Maximum calculated short-circuit current of battery | A |  |  |  |
|  | Internal resistance of cell at ambient Temperature | ohm |  |  |  |
|  | Internal resistance of battery | ohm |  |  |  |
|  | Recommended charging rates at ambient temperature: |  |  |  |  |
|  | - Floating, minimum | V, A |  |  |  |
|  | - Floating, maximum | V, A |  |  |  |
|  | - Equalizing, maximum | V, A |  |  |  |
|  | Maximum hydrogen evolution | mm³/hr |  |  |  |
|  | Maximum storage period without float charge | months |  |  |  |
|  | Type of terminal seal used | - |  |  |  |
|  | Minimum temperature at which the batteries will meet the duty cycle requirement | °C |  |  |  |
|  | Number of cells | - |  |  |  |
|  | Number of jars or containers | - |  |  |  |
|  | Jar container material | - |  |  |  |
|  | Volume of liquid per jar | L |  |  |  |
|  | Final volts per cell at end of duty cycle | V |  |  |  |
|  | Maximum heat dissipation at maximum charge rate | W |  |  |  |
|  | Maximum heat dissipation at maximum discharge rate | W |  |  |  |
|  | Battery short circuit rating when fully charged | kA |  |  |  |
|  | Minimum short circuit current at end of discharge cycle | kA |  |  |  |
|  | For the battery load profiles of each AC UPS refer to EG001-EL-CAL-11E-0006, 'AC UPS Sizing Calculation'. |  |  |  |  |
| 3.4 | BATTERY MANAGEMENT OR MONITORING SYSTEM |  |  |  |  |
|  | Battery condition monitoring system to be provided | - |  |  |  |
|  | Location of Battery Monitoring Panel | - |  |  |  |
|  | Distance between Battery Monitoring Panel and Battery Room | m |  |  |  |
|  | Interconnecting cable |  |  |  |  |
|  | Provision to monitor by Remote Computer |  |  |  |  |
|  | Battery Ground Fault Detector |  |  |  |  |
|  | Battery Compartment Smoke/High Temperature Detection |  |  |  |  |
| 3.5 | BATTERY DISCONNECTION DEVICE |  |  |  |  |
|  | MCCB / circuit breaker at battery | - |  |  |  |
|  | Mounting | - |  |  |  |
|  | Enclosure classification & degree of protection | - |  |  |  |
|  | Enclosure Ingress Protection | - |  |  |  |
|  | Cable size | - |  |  |  |
|  | Battery 'tie-breaker' rating FLC / fault withstand | A / kA |  |  |  |
|  | Shunt trip coil & under-voltage release |  |  |  |  |
| 3.6 | SHIPPING AND INSTALLATION |  |  |  |  |
|  | Battery Shipment |  |  |  |  |
|  | Provision of battery mechanical handling truck |  |  |  |  |
| 4.0 INVERTOR |  |  |  |  |  |
| 4.1 | RATINGS |  |  |  |  |
|  | Inverter dc input voltage range | V |  |  |  |
|  | Output voltage and regulation | V / % |  |  |  |
|  | Inverter output current (nominal) at rated voltage | A |  |  |  |
|  | Rating | kVA |  |  |  |
|  | Frequency (oscillator operation) | Hz |  |  |  |
|  | Step loading regulation from: |  |  |  |  |
|  | No load to full load | V & Hz |  |  |  |
|  | Inrush current | - |  |  |  |
|  | Output wave form | - |  |  |  |
|  | Overload rating | - |  |  |  |
|  | Efficiency | - |  |  |  |
|  | Slew rate when synchronizing | - |  |  |  |
|  | Input filtering | - |  |  |  |
| 4.2 | PERFORMANCE |  |  |  |  |
|  | Inverter output total harmonic distortion, and highest single harmonic, percent | % |  |  |  |
|  | Inverter efficiency at full load, unity pf | - |  |  |  |
|  | - 100% of rating | % |  |  |  |
|  | - 80% of rating | % |  |  |  |
|  | - 50% of rating | % |  |  |  |
|  | DC under-voltage trip set point | V |  |  |  |
|  | Transient response-voltage drop at transfer from alternate source to inverter at 100-percent load: |  |  |  |  |
|  | - Initially | % |  |  |  |
|  | - After 1 cycle | % |  |  |  |
|  | - Complete recovery time, 3 cycles | % |  |  |  |
|  | Full load dc input, amps: |  |  |  |  |
|  | At minimum battery voltage (___ V) | A |  |  |  |
|  | At nominal battery voltage (____ V) | A |  |  |  |
|  | At maximum battery voltage (___ V) | A |  |  |  |
|  | Input breaker / on-load isolation switch (DC): |  |  |  |  |
|  | - Rating | A |  |  |  |
|  | - Short circuit withstand rating | kA |  |  |  |
|  | Static switching conditions to bypass source: |  |  |  |  |
|  | - Under-voltage | % |  |  |  |
|  | - Overvoltage | % |  |  |  |
|  | Sustained fault, (sustained momentary loads) | I²t |  |  |  |
|  | Inverter overload rating: |  |  |  |  |
|  | Maximum current output at rated voltage | A |  |  |  |
|  | Time period inverter can sustain maximum current output | Hrs |  |  |  |
|  | Maximum heat dissipation | W |  |  |  |
| 4.3 | INSTALLATION |  |  |  |  |
|  | Manufacturer |  |  |  |  |
|  | Model number and serial number |  |  |  |  |
| 4.4 | STATIC TRANSFER SWITCH |  |  |  |  |
|  | Rating |  |  |  |  |
|  | Input/output voltage | V |  |  |  |
|  | Switch rating continuous | - |  |  |  |
|  | Transfer time | Cycle |  |  |  |
|  | Voltage drop across switch | V |  |  |  |
|  | Retransfer mode | Cycle |  |  |  |
| 4.5 | INTEGRATION |  |  |  |  |
|  | Provision for BMS System |  |  |  |  |
|  | Provision for EPMS for monitoring |  |  |  |  |
|  | UPS Distribution Panels |  |  |  |  |
| 5.0 BYPASS AND INPUT/OUTPUT ISOLATION TRANSFORMER |  |  |  |  |  |
| 5.1 | RATINGS |  |  |  |  |
|  | Input | V & Ph |  |  |  |
|  | Output (Bypass transformer) | V & Ph |  |  |  |
|  | Rating | kVA |  |  |  |
|  | Step loading regulation from no load to full load, unity power factor | - |  |  |  |
|  | Efficiency | - |  |  |  |
|  | Type | - |  |  |  |
|  | Surge Protection | - |  |  |  |
|  | Voltage Stabilizer on bypass | - |  |  |  |
| 5.2 | DESIGN DATA |  |  |  |  |
|  | Efficiency at full load | % |  |  |  |
|  | Efficiency at 50 percent load | % |  |  |  |
|  | Impedance | % |  |  |  |
|  | Output current capacity | A |  |  |  |
|  | Output current limit – short term | % |  |  |  |
|  | Output current limit – 1/4 cycle | % |  |  |  |
|  | Voltage regulation | % |  |  |  |
|  | Maximum heat dissipation | W |  |  |  |
|  | Input breaker (AC) : |  |  |  |  |
|  | Frame size | - |  |  |  |
|  | Trip rating | A |  |  |  |
|  | Short circuit withstand rating | kA |  |  |  |
| 5.3 | INSTALLATION |  |  |  |  |
|  | Manufacturer | - |  |  |  |
|  | Model number and Serial number | - |  |  |  |
|  | Weight, (net/shipping) | kg |  |  |  |
|  | Dimensions, W x D x H | mm |  |  |  |
|  | Cable entry | - |  |  |  |
| 5.4 | Manual Maintenance Bypass Switch |  |  |  |  |
| 6.0 AC DISTRIBUTION BOARD |  |  |  |  |  |
| 6.1 | RATINGS |  |  |  |  |
|  | Nominal voltage | V ac |  |  |  |
|  | Maximum voltage | V |  |  |  |
|  | Current, amps | A |  |  |  |
|  | Short-circuit rating | kA |  |  |  |
|  | Tie-Breaker required | - |  |  |  |
|  | Timer based automatic load shedding required | - |  |  |  |
|  | Incoming MCCB Rating | A |  |  |  |
|  | Outgoing Interrupting devices | - |  |  |  |
|  | Rating and Number | - |  |  |  |
|  | IP rating doors open / closed | - |  |  |  |
|  | Maximum voltage drop from UPS output to distribution board |  |  |  |  |
| 6.2 | INSTALLATION |  |  |  |  |
|  | Manufacturer | - |  |  |  |
|  | Model number and serial number | - |  |  |  |
|  | Weight | kg |  |  |  |
|  | Dimensions, W x D x H | mm |  |  |  |
|  | Incoming cable entry | - |  |  |  |
|  | Incoming cable size | - |  |  |  |
|  | Outgoing cable entry | - |  |  |  |
|  | Outgoing cable size | - |  |  |  |
| 6.3 | DESIGN DATA |  |  |  |  |
|  | AC MCB/MCCB/Fuse Model |  |  |  |  |
|  | AC MCB/MCCB/Fuse Rating | - |  |  |  |
|  | Provision of protective device coordination study | Yes |  |  |  |
|  | Earth Busbar size |  |  |  |  |
|  | Board type |  |  |  |  |