| 1 | EQUIPMENT NUMBER(S) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | MAKE & MODEL OF ENGINE / TWO OR FOUR CYCLE |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | ENGINE POWER @ 100% LOAD |  |  |  | (kW) |  |  |  |  |  |  |  |  |
| 4 | EXHAUST MANIFOLD TEMPERATURE @ 100% LOAD |  |  |  | (°C) |  |  |  |  |  |  |  |  |
| 5 | EXHAUST GAS FLOW @ 100% LOAD |  |  |  | (l/s) |  |  |  |  |  |  |  |  |
| 6 | RATED SPEED |  |  |  | (rpm) |  |  |  |  |  |  |  |  |
| 7 | TYPE AND MODEL OF SUPERCHARGER |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | BRAKE MEAN EFFECTIVE PRESSURE |  |  |  | (psig) |  |  |  |  |  |  |  |  |
| 9 | PISTONS: SINGLE ACTING / DOUBLE / OPPOSED |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | NUMBER OF CYLINDERS / ARRANGEMENT |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | BORE / STROKE |  |  |  | (mm) |  |  |  |  |  |  |  |  |
| 12 | PISTON COOLING MEDIUM / MAX. PISTON SPEED (MPM) |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | STANDBY RATING |  |  |  | (kW) |  |  |  |  |  |  |  |  |
| 14 | CONTINUOUS RATING |  |  |  | (kW) |  |  |  |  |  |  |  |  |
| 15 | FUEL CONSUMPTION |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | @ FULL LOAD / @ 3/4 LOAD / @ 1/2 LOAD |  |  |  | (m3/day) |  |  |  |  |  |  |  |  |
| 17 | OVERALL LENGTH, WIDTH, HEIGHT (INCLUDING GENERATOR) |  |  |  | (m) |  |  |  |  |  |  |  |  |
| 18 | TYPE OF BARRING DEVICE |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | TYPE OF LUBRICATION OF MAIN PARTS |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | CYLINDER LUBRICATION (SPLASH OR FORCE FEED) |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | LUBE OIL FLOW REQUIRED |  |  |  | (m3/hr) |  |  |  |  |  |  |  |  |
| 22 | MAX. LUBE OIL TEMPERATURE @ FULL LOAD |  |  |  | (°C) |  |  |  |  |  |  |  |  |
| 23 | JACKET COOLING WATER REQUIRED |  |  |  | (m3/hr) |  |  |  |  |  |  |  |  |
| 24 | MAX. JACKET COOLING WATER TEMP |  |  |  | (°C) |  |  |  |  |  |  |  |  |
| 25 | MAX. JACKET COOLING WATER PRESSURE |  |  |  | (barg) |  |  |  |  |  |  |  |  |
| 26 | RESERVOIR CAPACITY (COOLING WATER) |  |  |  | (l) |  |  |  |  |  |  |  |  |
| 27 | EMISSIONS: REQUIRED |  |  |  | ACTUAL |  |  |  |  |  |  |  |  |
| 28 | CO2 |  |  |  | (kg/hr) |  |  |  |  |  |  |  |  |
| 29 | NOx |  |  |  | (kg/hr) |  |  |  |  |  |  |  |  |
| 30 | PM |  |  |  | (kg/hr) |  |  |  |  |  |  |  |  |
| 31 | SO2 |  |  |  | (kg/hr) |  |  |  |  |  |  |  |  |
| 32 | Opacity |  |  |  | (%) |  |  |  |  |  |  |  |  |
| 33 | AUXILIARIES Size Model Rating |  |  |  |  |  |  |  |  |  |  |  |  |
| 34 | INTAKE SILENCER |  |  |  |  |  |  |  |  |  |  |  |  |
| 35 | LUBE OIL PUMPS |  |  |  |  |  |  |  |  |  |  |  |  |
| 36 | JACKET WATER PUMPS |  |  |  |  |  |  |  |  |  |  |  |  |
| 37 | JACKET WATER HEAT EXCHANGER |  |  |  |  |  |  |  |  |  |  |  |  |
| 38 | EXHAUST SILENCER |  |  |  |  |  |  |  |  |  |  |  |  |
| 39 | FUEL OIL PUMPS |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 | AIR COOLED RADIATOR |  |  |  |  |  |  |  |  |  |  |  |  |
| 41 | WEIGHT (kgs): |  |  |  |  |  |  |  |  |  |  |  |  |
| 42 | ALL EQUIPMENT / ENGINE LESS FLYWHEEL/FLYWHEEL |  |  |  |  |  |  |  |  |  |  |  |  |
| 43 | HEAVIEST PIECE |  |  |  |  |  |  |  |  |  |  |  |  |
| 44 | HEAVIEST PIECE HANDLED IN MAINTENANCE |  |  |  |  |  |  |  |  |  |  |  |  |
| 45 | MAXIMUM ALLOWABLE NOISE LEVELS |  |  |  | ( _ dBA at _ m) |  |  |  |  |  |  |  |  |
| 46 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 47 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 48 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 49 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 50 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| REV |  | DATE | REASON FOR REVISION |  |  |  | BY |  | CHK’D |  | APPROVALS |  |  |
| DIESEL GENERATOR DATA SHEET |  |  |  | Job No. : |  |  |  |  |  |  |  |  |  |
|  |  |  |  | MR No. : |  |  |  |  |  |  |  |  |  |
| PROJECT NAME |  |  |  | Attachment : |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | SHEET |  | 1 |  | OF |  | 1 |  |