Expro Projects White Book

Volume 6, Chapter 7

Document and Data Submittal Requirements – Template

Document No. EPM-KE0-TP-000008 Rev 002

Document Submittal History:

| Rev.: | Rev Status | Date: | Entity | Prepared by: | Reviewed by: | Approved by: |
| --- | --- | --- | --- | --- | --- | --- |
| 00X | For XXXXX | DD/MM/YYYY | XXXXX | NAME | NAME | NAME |
| Signatures: |  |  |  |  |  |  |

THIS NOTICE MUST ACCOMPANY EVERY COPY OF THIS DOCUMENT

IMPORTANT NOTICE

This document, (“Document”) is the exclusive property of Government Expenditure & Projects Efficiency Authority.

This Document should be read in its entirety including the terms of this Important Notice. The government entities may disclose this Document or extracts of this Document to their respective consultants and/or contractors, provided that such disclosure includes this Important Notice.

Any use or reliance on this Document, or extracts thereof, by any party, including government entities and their respective consultants and/or contractors, is at that third party’s sole risk and responsibility. Government Expenditure and Projects Efficiency Authority, to the maximum extent permitted by law, disclaim all liability (including for losses or damages of whatsoever nature claimed on whatsoever basis including negligence or otherwise) to any third party howsoever arising with respect to or in connection with the use of this Document including any liability caused by negligent acts or omissions.

This Document and its contents are valid only for the conditions reported in it and as of the date of this Document.

The following table lists typical Document and Data Submittal Requirements (DDSR) for the Contract. (Originator Entity EPMO to select applicable line items and add additional line items, if required, to suit each Contract)

| DDSR No. | #### Description | Submission Requirements & Schedule |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | A | B | C | D | E | F | G |
|  |  | Submit Document With Proposal (Y/N) | Document Review Required Before Fabrication (Y/N) | Schedule for Submittal after PO Award (See Note 1) | Copies required Electronic\Hard copies (See Note 2 & 3) | Schedule for Submittal of Certified DWGS & Data (See Note 4) | Required in O&M Manual (Y/N) | Requirement Refer to Note 5 |
|  | Document submittals and schedules |  |  |  |  |  |  |  |
| 1 | An electronic list of all document submittals, identified by the Item Numbers of this form with an associated Seller submittal number. |  |  |  |  |  |  |  |
| 2 | Manufacturing & Delivery Schedule (applicable for MR) |  |  |  |  |  |  |  |
| 3 | Progress Reports |  |  |  |  |  |  |  |
|  | Quality Assurance (AA)/ Quality Control (QC) |  |  |  |  |  |  |  |
| 4 | Quality Plan |  |  |  |  |  |  |  |
| 5 | Quality Assurance Program |  |  |  |  |  |  |  |
| 6 | Inspection & Test Plan (ITP) |  |  |  |  |  |  |  |
| 7 | Quality Assurance Program per Contract Requirements (for contract packages only) |  |  |  |  |  |  |  |
| 8 | Index to certified Manufacturer’s Record Book (MRB) |  |  |  |  |  |  |  |
| 9 | Certified Manufacturer’s Record Book (MRB) |  |  |  |  |  |  |  |
|  | Environment, Safety and Health |  |  |  |  |  |  |  |
| 10 | Equipment reliability checklist |  |  |  |  |  |  |  |
| 11 | Documentation to achieve noise reduction measure to obtain ___dB(A) |  |  |  |  |  |  |  |
|  | Transport and Storage |  |  |  |  |  |  |  |
| 12 | Bill of Material/Packing List including sub tier BOM and shipped loose component list for Shipment |  |  |  |  |  |  |  |
| 13 | Proposed Packing Methods and Materials / Waste Arrangement Plan |  |  |  |  |  |  |  |
| 14 | Shipping Drawings |  |  |  |  |  |  |  |
| 15 | Storage and Handling Instructions |  |  |  |  |  |  |  |
|  | Interfaces |  |  |  |  |  |  |  |
| 16 | Mechanical/Piping Interface Drawings |  |  |  |  |  |  |  |
| 17 | Electrical Interface Diagrams |  |  |  |  |  |  |  |
| 18 | Control Systems Hardware and Cabling Interfaces Diagrams |  |  |  |  |  |  |  |
| 19 | Software and Communications Interfaces Spreadsheets |  |  |  |  |  |  |  |
|  | Certificates |  |  |  |  |  |  |  |
| 20 | Certificate(s) Of Conformance Including European Commission (EC) Declaration of Conformity |  |  |  |  |  |  |  |
| 21 | Material Safety Data Sheets (MSDS) |  |  |  |  |  |  |  |
| 22 | Inspection and Test Certificates |  |  |  |  |  |  |  |
|  | PARTS / SPARE PARTS / SPECIAL TOOLS |  |  |  |  |  |  |  |
| 23 | Complete Parts List |  |  |  |  |  |  |  |
| 24 | Priced Spare Parts List for Pre-Op, Commissioning and Long Lead |  |  |  |  |  |  |  |
| 25 | Priced Spare Parts List for Construction / Installation |  |  |  |  |  |  |  |
| 26 | Priced Spare Parts List for 2 Year’s Operational and Capital / Insurance Spares |  |  |  |  |  |  |  |
| 27 | List of Special Tools for Installation, |  |  |  |  |  |  |  |
| 28 | Site Test Equipment List |  |  |  |  |  |  |  |
|  | INSTALLATION / TRAINING / PRE-OPERATIONAL TESTING / COMMISSIONING / O&M MANUAL |  |  |  |  |  |  |  |
| 29 | Installation Instructions, Drawings, Checklists and Report Forms |  |  |  |  |  |  |  |
| 30 | Startup/Commissioning Manuals |  |  |  |  |  |  |  |
| 31 | Training Manuals |  |  |  |  |  |  |  |
| 32 | Operation Manuals |  |  |  |  |  |  |  |
| 33 | Maintenance Manuals |  |  |  |  |  |  |  |
| 34 | Pre-Op Instructions and Procedures |  |  |  |  |  |  |  |
|  | ENGINEERING – GENERAL (applicable to all disciplines) |  |  |  |  |  |  |  |
| 35 | Generic Drawings & Brochures |  |  |  |  |  |  |  |
| 36 | Completed Data Sheets (As listed in Section 2 of MR/PO) |  |  |  |  |  |  |  |
| 37 | Design Calculations |  |  |  |  |  |  |  |
| 38 | Design Analysis |  |  |  |  |  |  |  |
| 39 | Heat Loads |  |  |  |  |  |  |  |
| 40 | Hazard Studies |  |  |  |  |  |  |  |
| 41 | Lubrication Schedule as per “Standard Specification for Oil, Lubricants and Lubrication” |  |  |  |  |  |  |  |
| 42 | Nameplate Drawing and Details |  |  |  |  |  |  |  |
| 43 | Welding Procedures Specifications (WPS) and Qualification Test Records (WPQTR) |  |  |  |  |  |  |  |
| 44 | Equipment Performance Data and Performance Curves |  |  |  |  |  |  |  |
| 45 | Warranty Record Books |  |  |  |  |  |  |  |
| 46 | Calibration and Test Reports Including Motor Test Reports |  |  |  |  |  |  |  |
|  | PROCESS |  |  |  |  |  |  |  |
| 47 | Piping and Instrument Diagrams (P&IDs) (including Process & Control Info) |  |  |  |  |  |  |  |
| 48 | Utility Demand Schedule |  |  |  |  |  |  |  |
| 49 | Process Flow Diagram |  |  |  |  |  |  |  |
|  | CIVIL/STRUCTURAL/ARCHITECTURAL |  |  |  |  |  |  |  |
| 50 | Shop Detail Drawings |  |  |  |  |  |  |  |
|  | MECHANICAL/PIPING |  |  |  |  |  |  |  |
| 51 | General Arrangement Drawing including Outline, Weights and Foundation Requirements |  |  |  |  |  |  |  |
| 52 | Cross Section Drawings |  |  |  |  |  |  |  |
| 53 | Shop Fabrication and Assembly Details |  |  |  |  |  |  |  |
| 54 | Piping Drawings/Isometric Drawings (including Piping Allowable Loads @ Nozzles/Termination Points, Bill of Materials and supports) |  |  |  |  |  |  |  |
| 55 | Complete Mechanical Equipment Schedule |  |  |  |  |  |  |  |
| 56 | Plate Field Weld Maps |  |  |  |  |  |  |  |
|  | ELECTRICAL |  |  |  |  |  |  |  |
| 57 | Electrical and Layout drawing |  |  |  |  |  |  |  |
| 58 | Schematic Diagrams |  |  |  |  |  |  |  |
| 59 | Single Line Diagrams & Three Line Diagram |  |  |  |  |  |  |  |
| 60 | Electrical and Instrument Connection and Termination Diagrams |  |  |  |  |  |  |  |
| 61 | Motor/Load List |  |  |  |  |  |  |  |
| 62 | Electrical Calculations |  |  |  |  |  |  |  |
| 63 | Electrical Data Sheets |  |  |  |  |  |  |  |
| 64 | Electrical Equipment List |  |  |  |  |  |  |  |
| 65 | Switchgear/Switchboard/ MCC General Arrangement |  |  |  |  |  |  |  |
| 66 | Distribution Board General Arrangements including Outline and Foundation Loads |  |  |  |  |  |  |  |
| 67 | Electrical Equipment Load List (with maximum demand and diversified calculations) |  |  |  |  |  |  |  |
| 68 | Switchboard /MCC/ Distribution Panel Data Sheets |  |  |  |  |  |  |  |
| 69 | CT Ratio and Excitation Curves |  |  |  |  |  |  |  |
| 70 | Motor Data Sheets |  |  |  |  |  |  |  |
| 71 | All Protection Relay Curves |  |  |  |  |  |  |  |
|  | CONTROL/INSTRUMENTATION |  |  |  |  |  |  |  |
| 72 | Control Panel General Arrangements including Front View & Internal Layouts |  |  |  |  |  |  |  |
| 73 | Instrument Index |  |  |  |  |  |  |  |
| 74 | PLC Functional Design Specification including: - Functional Description - Control Logic and Functional Diagrams - Cause & Effect Diagrams/Description - Instrument Function, Alarm, Trip levels |  |  |  |  |  |  |  |
| 75 | SCADA (Level 2) Functional Specification |  |  |  |  |  |  |  |
| 76 | Instrument Calibration/Test Records |  |  |  |  |  |  |  |
| 77 | PLC Wiring Diagrams including Input/output Schematic Diagrams |  |  |  |  |  |  |  |
| 78 | Hardware and Software Configuration Specifications |  |  |  |  |  |  |  |
| 79 | PLC Application Software |  |  |  |  |  |  |  |
| 80 | Software Licenses |  |  |  |  |  |  |  |
|  | TESTING PROCEDURES / RECORDS (FACTORY) |  |  |  |  |  |  |  |
| 81 | System Test (Performance and Load test) Records |  |  |  |  |  |  |  |
| 82 | Mechanical Performance/Function Test Records |  |  |  |  |  |  |  |
| 83 | Noise Test Records |  |  |  |  |  |  |  |
| 84 | Pressure Test Records |  |  |  |  |  |  |  |
| 85 | Electrical Insulation Test Records |  |  |  |  |  |  |  |
| 86 | Electrical Performance Test Records |  |  |  |  |  |  |  |
| 87 | Non-Destructive Test Records |  |  |  |  |  |  |  |
| 88 | Factory Acceptance Test (FAT) Specification for Control System |  |  |  |  |  |  |  |
| 89 | Factory Acceptance Test (FAT) Report for Control System |  |  |  |  |  |  |  |
| 90 | Welder Performance Qualifications |  |  |  |  |  |  |  |
| 91 | Heat Treatment Records |  |  |  |  |  |  |  |
| 92 | Paint & Coating Test Records |  |  |  |  |  |  |  |

Notes:

- Initial Document and Data Submittal Requirements in ____ weeks after PO award..

- All document electronic copy and ____hard copies in English and _____ in Arabic required.

- Electronic copies required in native format such as AutoCAD, Word, Excel or Access and .pdf (as applicable)

- Certified Document and Data Submittal Requirements in weeks after initial documents are submitted and as agreed with between Entity and Contractor by Seller and Buyer.

- As-built drawings required.