| Project: |  |  |  |  |  |  |  |  | Panel Location: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Package No. |  |  |  |  |  |  |  |  | Asset Code: |  |  |  |  | Sheet No. |  |  |
| Building: |  |  |  |  |  |  |  |  | Plant Ref: |  |  |  |  | Rev. |  |  |
| Number |  | System Function Description |  |  |  |  |  | Pass | Fail |  | Comments |  |  |  |  |  |
|  |  | - Press the Push Button on the outdoor speaker panel and check the ringing tone is present on the indoor Phone unit. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - Remove the Phone hand set and speak to the person at the Chalet Entrance, check that the speech is audible. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - Press the " DO NOT DISTURB " button on the indoor Phone set and check the Phone set "LED" has come on. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - Check the Chalet Entrance door panel has the " DO NOT DISTURB " Sign illuminated and is visible. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - With the " DO NOT DISTURB " sign illuminated, press the Push Button and check that the indoor Phone handset does not Ring. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tested by: |  |  |  |  | Witnessed by: |  |  |  |  |  | Accepted by: |  |  |  |  |  |
| Date: |  |  |  |  | Date: |  |  |  |  |  | Date: |  |  |  |  |  |
| Test Instrument(s): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |