Introduction

This document contains Emergency Management (EM) Plans to be actioned in case of an Emergency Incident (EI). Each EM Plan contains the steps which should be taken (and by whom) in order to successfully navigate the EI.

Based on Hazard Vulnerability Analysis (HVA), the following EIs are most likely to affect the Entity:

Evacuation

Earthquake

Flood/Hurricane

Communications outage

Snow/Ice storm

Fire

Chemical or biological incident

Radiation incident

Objective

The primary objective of EM Plans is to increase the likelihood that the Entity can suitably address the EI to the extent that:

Limited harm is caused to people and the environment

Limited damage is caused to assets

Critical operations can continue relatively unaffected, and normal operations can be returned as soon as possible

The above objective shall be met whilst maintaining a level of agility such that the Entity can respond to circumstances which were unforeseen during the HVA.

Responsibilities

The following individuals shall be assigned roles dependent on the category and classification of the EI:

| Responsible | Description |
| --- | --- |
| Charge Nurse | Senior ranking nurse responsible for supervision and leadership of all nursing staff |
| Chief Nurse | Most senior ranking nurse responsible for supervision and leadership of all Charge Nurses |
| Consultant | Senior ranking Doctor responsible for decision making regarding Patient care |
| Communications Unit Leader | Responsible for organizing and coordinating internal and external communications during an EI; and acting as custodian of all logged/documented communications |
| Damage Assessment and Control Officer | Provide enough information regarding the operational status of the facility during an EI for the purpose of decision/policy making, including those regarding full or partial evacuation |
| Emergency Management Committee | Group of responsible and accountable people tasked with preparing the organization for an EI and successfully leading the organization through the EI, then capturing lessons learned as part of continuous improvement |
| Emergency Operating Area Supervisor | Person in charge of the Emergency Operating Area as assigned by the Resource Pool Leader. Responsible for the successful set up and management of the Emergency Operating Area (EOA) |
| Facility Unit Leader | Support the Logistics Section Chief by maintaining the integrity of the physical facility to the best possible standard during an EI, ensuring quality and security of supply |
| Finance Section Chief | Responsible for all financial decision making during the EI, the Finance Section Chief (FSC) shall document and approve the acquisition of supplies and services necessary to successfully navigate the Entity through the Emergency Phase |
| First Aiders | First Aiders shall be trained and competent individuals with responsibility to render first aid to victims at the scene of the EI in support of Emergency Support Services (ESS) |
| Incident Commander | Chief decision maker responsible for organizing and directing the Emergency Operations Center (EOC). Incident Commander (IC) has overall accountability for safety of people and protection of assets during an EI. The IC shall act as EMC Chair |
| Resource Pool Leader | Roster staff and volunteers as needed during the EI. Maintain adequate staff numbers in the Resource Pool |
| Liaison Officer | Liaise with parties external to the Entity based on direction from the Communications Unit Leader (CUL). |
| Line Manager | The person in the organization to whom one or more members of staff report. During an EI, this person may change dependent on whether the Incident Command Structure (ICS) differs from the Normal Command Structure |
| Logistics Section Chief | Direct maintenance operations, and ensure adequate levels of food, shelter and supplies during the EI |
| Maintenance Team | Those responsible for maintaining engineering systems |
| Medical Director | Most senior ranking Doctor to whom all doctors and Chief Nurse shall report; is responsible for ultimate decision-making regarding Patient care |
| Operations Team | Those responsible for Operating Engineering Systems, or those responsible for aspects of business operations |
| Operations and Maintenance Section Chief | Responsible for management of the Operations and Maintenance (O&M) Section. Must coordinate and supervise O&M Staff such that quality and security of supply is maintained to the highest possible levels during the EI |
| Planning Section Chief | Responsible for effective monitoring and delivery of Emergency Plans. Gathers scenario/resource projections from all Section Chiefs, records deviations from Emergency Plans, and identifies constraints |
| Procurement Unit Leader | Maintains a record of the location of assets at all times; receiving requests for additional assets, and identifying the need for procurement |
| Safety and Security Officer | Person with overall responsibility for safety of personnel within the organization. Set up and maintain facility protection and traffic security |
| Sanitation Systems Officer | Reporting to the Facility Unit Leader, the Sanitation Systems Officer (SSO) monitors the usage of existing sewage and sanitation systems and establishes alternate methods of sanitation if necessary |
| Senior Leadership Team | Those responsible for defining organization policies and for successfully running the organization during normal operations |
| Information Technology (IT) Unit Leader | Develop and maintain the Entity’s internal information network through monitoring and maintenance of the computer system, servers, and internet hardware |
| Subsistence Unit Leader | Organize food and water stores for preparation and rationing during the EI, against forecasted periods of shortage |
| Transportation Unit Leader | Organize and coordinate safe and timely transportation of all personnel and resources, as required. Manage the fleet of Entity-owned assets, and any vehicles donated to the Entity during an EI |

Definitions

| Definitions | Description |
| --- | --- |
| CEO | Chief Executive Officer |
| COO | Chief Operations Officer |
| CT | Computerized Tomography |
| CUL | Communications Unit Leader |
| DOA | Dead-On-Arrival |
| EI | Emergency Incident |
| EM | Emergency Management |
| EMC | Emergency Management Committee |
| EMP | Emergency Management Plan |
| EOA | Emergency Operating Area |
| EOC | Emergency Operations Center |
| EOM | Emergency Operations Manual |
| EP | Emergency Preparedness |
| EPS | Emergency Preparedness Software |
| ESS | Emergency Support Services |
| EWS | Emergency Warning Signal |
| FSC | Finance Section Chief |
| FUL | Facility Unit Leader |
| Hazmat | Hazardous Materials |
| HSC | Hospital Surgical Capacity |
| HSS | Hazard Surveillance Survey |
| HTC | Hospital Treatment Capacity |
| HVA | Hazard Vulnerability Analysis |
| HVAC | Heating, Ventilation, and Air Conditioning |
| IC | Incident Commander |
| ICS | Incident Command Structure |
| IT | Information Technology |
| LSC | Logistics Section Chief |
| NFPA | National Fire Protection Association |
| NOA | Normal Operating Area |
| O&M | Operations and Maintenance |
| OAM | Operating Area Maps |
| PA System | Public Announcement System |
| PPE | Personal Protective Equipment |
| PUL | Procurement Unit Leader |
| RACI | Responsible, Accountable, Consulted, Informed |
| RPL | Resource Pool Leader |
| SLT | Senior Leadership Team |
| SME | Subject Matter Experts |
| SSO | Sanitation Systems Officer |

Emergency Incidents

Evacuation

Some EIs which render the Facility unsafe for occupancy or prevents the delivery of necessary Patient care require removal of all personnel from all buildings.

Types of Evacuation:

There are 2 types of evacuation which may be required:

Partial Evacuation – Personnel are transferred within the campus, in order of preference:

Horizontally – Personnel are moved horizontally to one side of a set of fire barrier doors

Vertically – Personnel are moved to a safe area on another floor, or to another building

If elevators are not in use (i.e. during a localized fire), this type of evacuation may be more difficult and some Patients shall be carried/wheeled down stairways

Full Evacuation – Personnel are transferred outside existing buildings; to nearby or pop-up Healthcare Facilities

Building shall be evacuated starting with the highest floors as a priority.

Authorization for Evacuation:

- Evacuation of the Facility, or portion thereof, can only be authorized by:

Emergency Support Services (ESS) such as Fire, Civil Defense, Police and the National Guard, etc.)

Incident Commander

Medical Director

Decision to evacuate from unsafe or damaged areas shall be based on the following information:

Hazard Surveillance Survey (HSS) – as described in Emergency Management Procedure (EOM-ZE0-PR-000001)

Medical staff evaluation on whether adequate Patient care can be maintained

Whether the location to which Patients shall be evacuated is safer than the location at which they currently reside

Procedure:

- General instructions:

  - Evacuate most hazardous areas first (those closest to danger or farthest from exit)

Use nearest or safest appropriate exit. Sequence of evacuation should be:

Patients in immediate danger

Ambulatory Patients

Semi-ambulatory Patients

Non-ambulatory Patients

Close all windows and doors. If time permits and if possible, shut off oxygen, water, power, and gas

Elevators may be used, except during a fire or following seismic activity wherein they shall not be used

Emergency Incident Command Structure (ICS):

  - Activities to take place within the Command Center

All available information shall be evaluated, and Evacuation Plan established, in coordination with Section Chiefs. This shall include:

  - Structural, non-structural, and utility evaluation from HSS

  - Patient Status Reports

  - Manpower levels

Emergency Evacuation Plan to:

  - Planning Section Chief

  - Liaison Officer

  - Safety & Security Officer

  - Logistics Section Chief

  - Operations Chief

Liaison Officer

Maintain contact with Emergency Support Services.

Logistics Section Chief

Assign Transportation Unit Leader to assemble evacuation teams from Resource Pool

Notify Planning Section Chief

Transportation Unit Leader

Assemble evacuation teams from Resource Pool

Ensure availability of Patient transportation

Assign specific number of persons to each floor to aid evacuation

Arrange transport equipment such as wheelchairs.

Supervise evacuation

Chief Nurse

Designate holding areas for critical, semi-critical, and ambulatory evacuated Patients

Organize efforts to meet medical care needs

Distribute Evacuation Plan to Charge Nurses

Verify Charge Nurses have initiated Evacuation Procedure

Verify that Patient Transfer Orders are in place

Medical Director

Notify doctors of need for Patient transfers

Charge Nurses

Report Patient status to Chief Nurse

Safety & Security Officer

Assign Security Personnel to each Emergency Operating Area

Close all windows and doors. If time permits and if possible, shut off oxygen, water, power, and gas

Check that everyone has evacuated as per the Evacuation Plan

Place sign at all entrances to buildings which have been evacuated featuring time and date of evacuation, along with contact telephone number of Incident Commander

Facility Unit Leader

Check Job Card

Resource Pool Leader

Check Job Card

Earthquake

When an earthquake strikes inside the building:

Duck, Cover, and Hold – Get under a sturdy structure such as a desk and remain there until the earthquake subsides. If situated in a hallway: kneel down back against the wall, cover your head with your hands, and tuck your elbows down to your knees

Stay calm – Inhale for 5 seconds, exhale for 10 seconds

Keep away from windows or objects which are likely to fall

Stay under cover until it appears that the earthquake is over. Be prepared for aftershocks

Do not use elevators. If you are in an elevator when the earthquake strikes, exit as soon as possible. If the elevator does not move, and doors do not open, press the emergency button for help and wait for assistance. Do not attempt to prize open doors, lift panels, or climb out of the elevator

Report damage and casualties to Line Manager

Help injured and disabled people – keep personal safety in mind when helping others

Follow instructions from Line Management and Emergency Support Services

When an earthquake strikes outside the building:

Remain in open areas away from buildings, structures, power lines, or anything at risk of falling

Move away from fire, smoke, and anything which is a source of ignition

Proceed to the Emergency Assembly Point, if safe to do so

Ensure name is registered as safe during roll call

Returning Home:

Remain with colleagues unless dismissed by Line Management. Once cleared to leave the area, ensure that it is safe to do so

Do not travel alone; particularly driving alone following an Emergency Incident is prohibited

Flood/Hurricane

When a Weather Warning is issued:

Tune into local radio and television stations for updates regarding the Weather Warning and follow instructions from Emergency Support Services

Move valuable possessions away from ground floors and into safe and secure places

Prepare for evacuation

When instructed to evacuate, do so as quickly and as safely as possible

Avoid areas which will be subject to flooding such as basements.

Close all windows and doors. If time permits and if possible, shut off oxygen, water, power, and gas

Do not try to cross a stream where water is greater than 6 inches deep; even shallow streams may have currents strong enough to brush people off their feet

Do not drive over a flooded road to limit the risk of becoming stranded. If the vehicle stalls, abandon it immediately and seek higher ground

Avoid unnecessary trips (i.e. those which are not dependent on the safety of life or preservation of business critical/high value/irreplaceable assets)

If travel cannot be avoided, then inform others of your whereabouts and maintain communications

Move to higher ground and away from rivers, streams, and storm drains

Do not move barricades or sandbags – these are safety critical items under the control of Emergency Support Services

Communications Outage

In the event of an outage of telephone or internet, alternative means of communication shall be made available. Reinstating communication lines and establishing back up communications shall be a matter of top priority.

Procedure:

Incident Commander and Communications Officer shall be informed and kept updated on the status of communication lines

The Public Announcement System (PA System), if available, shall be used to communicate announcements to all personnel within Entity buildings

Means of communications by mobile telephone (such as: WhatsApp, or Emergency Preparedness Software {EPS} using 5G network) shall be instated

Telephone and Internet Service Providers shall be made aware of the outage and shall return the Facility to service within timescales outlined in the Service Agreement

For outside lines, call ____________________.

Contact telephone details of Emergency Support Services and other stakeholders are as follows:

959 – Zain Mobile Customer Service Center

1100 – Mobily Mobile Customer Service Center

1789 – Virgin Mobile Customer Service Center

999 – Police (also 911)

998 – Civil Defense

997 – Ambulance

996 – Highway Traffic Police

995 – Anti-narcotics

994 – Border Patrol/Coast Guard

993 – Traffic Police

992 – Passport Control

990 – Security Center

989 – Public Security

985 – Intelligence Agency

966 – Natural Disaster Hotline

940 – Municipal Services

939 – Easter region Water and Sewerage Services

933 – Electricity Customer Services

909 – STC Telephone Enterprise Service Call Center

907 – STC Telephone Customer Service Call Center

906 – STC Internet Service Call Center

905 – Telephone Directory

904 – STC Subscribers Telephone Customer Service Center

902 – STC Mobile Customer Service Center

Snow/Ice Storm

During a storm, or upon issuance of a Weather Warning from Civil Defense:

Incident Commander shall convene Emergency Management Committee as set out this EM Plan

Ascertain staffing levels and future needs

Determine services and levels of operation to be maintained

Determine level and availability of supplies

Monitor weather and road conditions

Safety & Security Officer:

Monitor weather conditions and update Incident Commander

Operations & Maintenance Section:

Activate snow and ice clearing procedures for car parks, walkways, and entrances

Lay grit salt as required

Transportation Unit:

Support in preparation and mobilization of vehicles for transporting staff and customers

Fire

Upon discovering a fire:

Sound the alarm

Activate the nearest Fire Alarm Pull Box

Alert Fire Department and on-site Security

Alert Incident Commander.

Rescue

Remove all Patients and visitors in immediate danger

Contain

Isolate the fire by closing all doors and windows

Avoid opening doors and windows during a fire which are already closed

Extinguish/evacuate

Use portable fire extinguishers, if trained and competent to do so, as a means of clearing a path for evacuation

If smoke and heat are preventing evacuation, then stay low to the ground, preferably close to an exterior window, and await instruction

Keep unauthorized people from entering the area

Civil Defense shall have complete authority during a fire. Until the building is safe to enter by other Emergency Support Services

On hearing a Fire Alarm:

Evacuate the area. Close all windows and doors. If time permits and if possible, shut off oxygen, water, power, and gas

Know the evacuation routes. Should evacuation be necessary, go to the nearest exit or stairwell and proceed out of the building toward the Assembly Point. Do not use elevators

Leave the building, move away from fire exits

Gather at Assembly Point.

Remain at Assembly Point until instructed that it is safe to leave the Assembly Point

Ensure name is recorded as having safely evacuated the building

Fire Fighting as a means of escape:

Fight the fire only if ALL of the following requirements are met:

Fire Department has been notified of the fire

There is a clear and safe path to safety with the nearest fire exit to your back whilst you are facing the fire to your front

Fire extinguisher is in good working order

You are trained and competent to use the fire extinguisher

The fire is in its very early stages

If you cannot extinguish the fire or if the fire extinguisher becomes empty; get out and get everyone else out of the building immediately, closing all doors behind you as you go. Then ensure that Civil Defense has been contacted.

If there is any doubt regarding the above points, then do not do any of the steps and evacuate the building immediately.

Selecting the right fire extinguisher:

Select an extinguisher as per below table:

| Code | Category | Examples |
| --- | --- | --- |
| A | Ordinary Combustibles | Example; Paper, paint, wood |
| B | Flammable Liquids | Example: Gasoline, spirits. (not alcohol or cooking oil) |
| C | Energized Electrical Equipment | Wiring, switchgear |
| D | Combustible Metals | Example: Magnesium, titanium |
| K | Cooking Media | Example: Fat, grease, cooking oil. |

Fire Extinguisher Categorization

Full guidance is provided within National Fire Protection Association (NFPA) 10:2018. If in doubt of making the appropriate selection during an Emergency, then read instructions on the fire extinguisher, if time permits. If time does not permit reading of the information contained on the fire extinguisher, then evacuate the building while still safe to do so.

Using the fire extinguisher:

Remove the extinguisher from the wall unit (if applicable)

Pull the pin

Aim the nozzle at the base of the fire

Squeeze the handle

Sweep side to side at the base of the fire until the fire is extinguished

O&M Department, in collaboration with the Safety & Security Officer, is responsible for ensuring replacement the fire extinguisher after use.

Chemical or Biological Incident

In the event of a Chemical or Biological Incident, the following steps shall be followed:

Emergency Support Services shall be notified immediately

The Incident Commander shall initiate a lock-down on the building if there is a risk to the health of building users. If there is no risk to health of building users given that the Incident has taken place outside of the Entity such as external EI), then all Patients who can be discharged shall be discharged as soon as possible to free capacity for incoming casualties

Lock down status shall be communicated via PA System and through use of the Emergency Preparedness Software (EPS), if applicable

Safety & Security Officer shall deploy staff to secure all exits. Exits shall remain secure until the Incident Commander de-activates the Emergency Incident

Staff shall all wear Personal Protective Equipment (PPE):

Dosimeter on collar (as required)

Surgical gown

Surgical bottoms

Waterproof shoe covers (tape to bottoms)

Surgical top

First pair of surgical gloves (tape to sleeves)

Second pair of surgical gloves (untapped and changed as required)

Surgical mask

Emergency Operating Areas (including de-contamination showers, and tents as appropriate) shall be set up by those whom are qualified to do so

Staffing needs shall be identified and reported to the Command Center

Radiation Incident

In the event of a Radiation Incident, the following steps shall be followed:

Notification:

Contact Emergency Support Services

Information:

Incident Commander to obtain information from the scene of the Incident and assess the need for activation of the Emergency Operating Manual (EOM):

Location of Incident in relation to each hospital within the district

Number and condition of victims (contaminate and uncontaminated)

Nature of Radiation Incident such as nuclear attack, nuclear power station incident, and type of radioactive isotopes involved such as 235U, 239Pu, AM-241, AM-243.

Preparation:

Lay absorbent paper underneath the victim during transportation in an ambulance

For Incidents featuring a high number of victims presenting with effects of radiation, or during transportation of a small number of victims within an ambulance who are present with effects of radiation; HVAC system shall be shut down to limit spread of contamination

Cover floor areas at all entrances and Decontamination Area with absorbent paper topped with plastic sheets and secured with tapes

Cover handles of doors and cupboards with absorbent paper topped with plastic sheets and secured with tape

Mark off Decontamination Areas with radioactive tape and restrict traffic as far as possible

Hazardous Materials Officer (Hazmat Officer) equipped with a survey meter shall monitor all personnel, equipment, and samples entering the Decontamination Area

Safety & Security Officer shall remove all equipment from the Decontamination Area which is not required or cover with plastic

Prepare plastic drums lined with plastic sheets in which contaminated clothing shall be placed for disposal

Decontamination Team:

Doctor:

Direct medical care of Patient

Direct Decontamination Procedure

Nurse:

Assist the Doctor

Collect samples as requested by the Doctor

Carry out observations

Hazmat Officer:

Monitor and record exposure of Decontamination Team to radiation exposure

Monitor and record equipment entering and leaving Decontamination Area

Ensure safe dose limits are not exceeded

Administration:

Process samples and facilitate the flow of information between Decontamination Area and other Emergency Operating Areas such as lab results.

Security:

Secure all entrances and Decontamination Area

Patient Arrival and Triage:

Triage Nurse and Hazmat Officer shall meet Patients on arrival

If Patient is critical then move directly to the Decontamination Area without removal of clothing, shower, or triage

If Patient is non-critical, then:

Remove clothing

Use decontamination shower

Wear hospital-issued surgical top and bottoms with rubber sandals

See Hazmat officer for contamination testing

Go to Triage Tent

RACI Matrix

The RACI (Responsible, Accountable, Consulted, Informed) Matrix is designed to be used during delivery of Emergency exercise and drills to track tasks assigned to each member of staff. The RACI shall also be used in conjunction with the Emergency Exercise & Drill Evaluation Form following completion of an Emergency Drill to check that each member of staff fulfilled their designated role.

Emergency Drills RACI Matrix

Equipment

Depending on the category and class of the EI determined as a result of HVA, the EM Plan shall be developed and shall include a list of envisaged equipment/medicine as per the following format:

| Equipment/Medicine Identified | Quantity | Emergency Operating Area |
| --- | --- | --- |

Equipment/Medicine Requirements

Emergency Operating Area Maps

Depending on the category and class of the EI determined as a result of HVA, Operating Area Maps (OAMs) shall be developed.

The OAM shall show, as a minimum:

EOAs overlaid on top of Normal Operating Areas (NOAs)

Capacities of the NOAs should also be mentioned alongside capacities of EOAs on these maps

Equipment installed within each EOA such as fire extinguishers and portable power transformers.

Evacuation Plans

By referring to a Plan schematic of each building through the HVA, Evacuation Plans shall be established.

The Evacuation Plan shall feature, as a minimum:

Nearest escape routes from the location at which the Evacuation Plan is located

All fire exits

Fire Alarm Control Panels and Pull Boxes

Fire extinguishers

Public Contact Points for Emergency Support Services (as applicable)

Monitoring and Reporting

Dependent on the category and class of the EI determined as a result of HVA, monitoring and reporting requirements shall be established as per the following format:

| Report Name | Responsibility | Frequency of Reporting |
| --- | --- | --- |

Monitoring and Reporting Requirements

Appendices

Included within this section any supporting documents, or drawings.