| Building NAME: |  |  | Reference No. |  |  | REV- 000 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Vol. 5 Operations Management Chapter 4 |  |  |  |  |  |  |  |
| No. | Emergency Response Actions |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | HVAC Systems – Offices |  |  |  |  |  |  |
|  | Introduction |  |  |  |  |  |  |
|  | This emergency procedure is intended to highlight the key issues that may arise at departmental level in the event of HVAC systems’ failure. It is appreciated that this may be a result of a full site system’s failure, but it may also be the result of a local failure for which notification from the Entity maybe necessary. The main aim is to provide a structured approach to safety of employees, students , and the general public for minimizing the risks associated with an HVAC systems’ failure |  |  |  |  |  |  |
| Priority 1 | Life safety (Evacuation Plan) |  |  |  |  |  |  |
| Priority 2 | Stabilization of incident |  |  |  |  |  |  |
| Priority 3 | Minimize potential damage |  |  |  |  |  |  |
| Priority 4 | Containment of incident (Example: contamination of the incoming air supply) |  |  |  |  |  |  |
| Priority 5 | Damage Assessment |  |  |  |  |  |  |
| Priority 6 | Clean-up after the incident (Post-Incidents Plans) |  |  |  |  |  |  |
| Priority 7 | Designated Person to monitor weather sources for updated emergency instructions and broadcast warnings if any, issued by the weather services |  |  |  |  |  |  |
| Priority 8 | Building lockdown Plan/Plant lockdown plan |  |  |  |  |  |  |
| 1 | The Designated Person shall conduct an initial and ongoing situational assessment of the incident. |  |  |  |  |  |  |
| 2 | The Designated Person shall establish an effective communications plan |  |  |  |  |  |  |
| 3 | The Designated Person shall deploy available resources and request additional resources based on the needs of the incident. |  |  |  |  |  |  |
| 4 | The Designated Person shall develop an incident organization for the management of the incident |  |  |  |  |  |  |
| 5 | The Designated Person shall review, evaluate, and revise the strategy and tactics based on the needs of the incident. |  |  |  |  |  |  |
| 6 | The Designated Person shall provide for continuity, transfer, or termination of commands |  |  |  |  |  |  |
| 7 | The procedures shall provide for a routine process of escalation as additional resources are required / utilized. |  |  |  |  |  |  |
| 8 | The Designated Person shall determine what levels and elements of the incident management system are to be implemented in each case and shall develop the command structure for each incident by assigning supervisory responsibilities according to standard operating procedures (SOPs) |  |  |  |  |  |  |
| 9 | The Incident Management Plan shall define standardized supervisory assignments |  |  |  |  |  |  |
| 10 | The Person designated for incidence shall be responsible for controlling communications on the tactics, commands, and designated emergency traffic channels for the incident |  |  |  |  |  |  |
| 11 | The Person designated for incident shall be responsible for overall responder’s accountability for the incident |  |  |  |  |  |  |
| 12 | The Person designated for incidence shall be responsible for developing and/or approving an incident action plan (IAP) |  |  |  |  |  |  |
| 13 | The Person designated for incidence shall keep the safety officer informed of strategic and tactical plans and any change in situations |  |  |  |  |  |  |
| 14 | The Person designated for incidence shall evaluate the risks to responders with respect to, the purpose and potential results of their actions in every situation |  |  |  |  |  |  |
| 15 | The communication system shall provide a standard methods to prioritize the transmission of emergency messages and notification of imminent hazards over that of routine communications, to all levels of the incident commands structure |  |  |  |  |  |  |
| 16 | Incident Action Plan (IAP): An incident action plan may be a verbal plan, a tactical worksheet, a written plan, or combinations thereof, which reflects the overall strategies, tactics, risk management, and member safety of the incident, that have been developed by the incident commander |  |  |  |  |  |  |
| 17 | Department Operations Center (DOC). A DOC may facilitate mutual aid requests, assistance on hire requests, and other agency issues such as recalling of personnel and staffing of resources |  |  |  |  |  |  |
| 18 | Support requirements for the incident commands system at the site such as: (a) Technical advice (e.g. hazmat, fire behavior, medical advice) (b) Additional resources from outside normal channels (c) Emergency Support Function (ESF) necessary to support the incident(s) |  |  |  |  |  |  |
| 19 | Projected time required for controlling the situation for assessing impact on logistical requirements for the following: (a) Relief personnel (b) Food (c) Lodging (d) Fuel and repairs (e) Significant involvement of multiple Entities |  |  |  |  |  |  |
| 20 | Comprehensive knowledge of the Entity’s or jurisdiction’s capabilities and limitations. The Entity has to make decisions for the agency or jurisdiction including orders for deployment of resources |  |  |  |  |  |  |
| 21 | The Area Command sets priorities between incidents and allocates critical resources according to priorities established by the agency or jurisdiction’s administrator. |  |  |  |  |  |  |
| 22 | Inform the senior staff of affected departments to cease using the HVAC system |  |  |  |  |  |  |
| 23 | Contact the local authority or Civil Defense as the contamination may have originated from an external environment. |  |  |  |  |  |  |
| 24 | Take samples if necessary for determining the nature of the contamination |  |  |  |  |  |  |
| 25 | Isolate affected area from the main intake source to limit further contamination |  |  |  |  |  |  |
| 26 | Depending on the nature of contamination, the causes maybe identified or easily spotted. If not ascertained, , carry out a systematic investigation of HVAC supply systems |  |  |  |  |  |  |
| 27 | If the causes of the contamination are identified, isolate the contamination and carry out necessary tasks to resolve the situation |  |  |  |  |  |  |
| 28 | Inform operational staff about the nature of the contamination and seek advice on the effects before restoring the HVAC supply to the area |  |  |  |  |  |  |
| 29 | Thoroughly disinfect all ductwork ventilation until no traces of contamination are visible |  |  |  |  |  |  |
| 30 | When air quality is restored when confirmed by microbiology staff, allow normal usage |  |  |  |  |  |  |
| 31 | Review operational procedure for the incident and modify if necessary |  |  |  |  |  |  |
| 32 | Take note of the date and time of the incident, what action was taken and by whom, for future references |  |  |  |  |  |  |
| 33 | For HVAC Incidents relating to a spread of fire Evacuation floor plans clearly displayed on each floor Display of an overall site plan, including north point and emergency contact details Display of a current version of the Annual Fire Safety Statement Maintenance records for essential fire safety measures, readily available. Considerations for the need for fire first response training facility for evacuation procedures |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |

| Building Name: |  |  | Reference No. |  |  | REV- 001 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Vol 5 Operations Management Chapter 4 |  |  |  |  |  |  |  |
| No. | Emergency Response Actions |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | HVAC Systems – Schools & Universities |  |  |  |  |  |  |
|  | Incident Action Plan (IAP) |  |  |  |  |  |  |
|  | This Incident Action Plan (IAP) is a guide intended for areas of a facility with complex services for example, a major boiler house or specialist plant room. The actions that are to be taken by Designated and Authorized persons may be expressed in a checklist. The steps below are simple indications of some issues that may arise although a more detailed list may be appropriate for specific area/s. The Designated staff’s functions of faculty personal needs to be made clear, in order to take correct measures for minimizing the impact of any crisis. |  |  |  |  |  |  |
| 1 | Define ownership of the problem |  |  |  |  |  |  |
| 2 | Will staff / students / public safety/care be affected? |  |  |  |  |  |  |
| 3 | Will evacuation be required? |  |  |  |  |  |  |
| 4 | The risk of fire outbreak, or reduced re-fighting ability |  |  |  |  |  |  |
| 5 | Consider impact on electricity supply |  |  |  |  |  |  |
| 6 | Consider impact on gas supply |  |  |  |  |  |  |
| 7 | Consider impact on water supply |  |  |  |  |  |  |
| 8 | Consider impact on drainage |  |  |  |  |  |  |
| 9 | Consider impact on other services |  |  |  |  |  |  |
| 10 | Increased risk of legionella |  |  |  |  |  |  |
| 11 | Consider impact on site security |  |  |  |  |  |  |
| 12 | Impact on re-alarms |  |  |  |  |  |  |
| 13 | Is there an impact on clinical waste? |  |  |  |  |  |  |
| 14 | Agree responsibility boundaries |  |  |  |  |  |  |
| 15 | Clinical department procedures |  |  |  |  |  |  |
| 16 | Control of Infection Team involvement |  |  |  |  |  |  |
| 17 | Do public relations need to be addressed? |  |  |  |  |  |  |
| 18 | Consider Service Level Agreements with suppliers |  |  |  |  |  |  |
| 19 | Involve commercial services |  |  |  |  |  |  |
| 20 | Record Entities personnel contact details |  |  |  |  |  |  |
| 21 | Locate supply of specialist equipment |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |