| Healthcare Name: |  |  | Reference No. |  |  | REV-000 |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Vol. 5 Operations Management Chapter 10 |  |  |  |  |  |  |  |
| No. | Emergency Response Actions |  |  | CHECKED SATISFACTORY |  |  |  |
|  |  |  |  | N/A | YES |  | NO |
|  | Life Safety Systems (LSS): Healthcare |  |  |  |  |  |  |
|  | Introduction |  |  |  |  |  |  |
|  | This emergency procedure is intended to highlight the key issues that may arise at departmental level in the event of LSS failure. It is appreciated that this may be a result of a full site systems’ failure, but it may also be the result of a local failure for which notification from the Entity may be necessary. The main aim is to provide a structured approach to safety of staff, patients, visitors and the general public for minimizing the risks associated with LSS systems’ failure |  |  |  |  |  |  |
| Priority 1 | Life safety (Evacuation Plan) Is evacuation necessary? |  |  |  |  |  |  |
| Priority 2 | Stabilization of incident |  |  |  |  |  |  |
| Priority 3 | Minimize potential damage |  |  |  |  |  |  |
| Priority 4 | Containment of incident |  |  |  |  |  |  |
| Priority 5 | Damage Assessment |  |  |  |  |  |  |
| Priority 6 | Clean-up after the incident (Post-Incidents Plans) |  |  |  |  |  |  |
| Priority 7 | Designated Person to monitor weather sources for updated emergency instructions and broadcast warnings if any, issued by the weather services |  |  |  |  |  |  |
| Priority 8 | Building lockdown Plan/Plant lockdown plan |  |  |  |  |  |  |
| 1 | The Designated Person shall conduct an initial and ongoing situational assessment of the incident |  |  |  |  |  |  |
| 2 | The Designated Person shall establish an effective communications plan |  |  |  |  |  |  |
| 3 | The Designated Person shall deploy available resources and request additional resources based on the needs of the incident |  |  |  |  |  |  |
| 4 | The Designated Person shall develop an incident organization for the management of the incident |  |  |  |  |  |  |
| 5 | The Designated Person shall review, evaluate, and revise the strategy and tactics based on the needs of the incident |  |  |  |  |  |  |
| 6 | The Designated Person shall provide for continuity, transfer, or termination of commands |  |  |  |  |  |  |
| 7 | The procedures shall provide for a routine process of escalation as additional resources are required/utilized |  |  |  |  |  |  |
| 8 | The Designated Person shall determine what levels and elements of the incident management system are to be implemented in each case, and shall develop the command structure for each incident by assigning supervisory responsibilities according to standard operating procedures (SOPs) |  |  |  |  |  |  |
| 9 | The Incident Management Plan (IAP) shall define standardized supervisory assignments |  |  |  |  |  |  |
| 10 | The Person designated for incidence shall be responsible for controlling communications on the tactics, commands, and designated emergency traffic channels for the incident |  |  |  |  |  |  |
| 11 | The Person designated for incident shall be responsible for overall responders’ accountability for the incident |  |  |  |  |  |  |
| 12 | The Person designated for incidence shall be responsible for developing and/or approving an IAP |  |  |  |  |  |  |
| 13 | The Person designated for incidence shall keep the safety officer informed of strategic and tactical plans and any change in situations |  |  |  |  |  |  |
| 14 | The Person designated for incidence shall evaluate the risks to responders with respect to, the purpose and potential results of their actions in every situation |  |  |  |  |  |  |
| 15 | The communication system shall provide a standard method to prioritize the transmission of emergency messages and notification of imminent hazards over that of routine communications, to all levels of the incident commands structure |  |  |  |  |  |  |
| 16 | Incident Action Plan (IAP): An incident action plan may be a verbal plan, a tactical worksheet, a written plan, or combinations thereof, which reflects the overall strategies, tactics, risk management, and member safety of the incident, which has been developed by the incident commander |  |  |  |  |  |  |
| 17 | Department Operations Center (DOC): A DOC may facilitate mutual aid requests, assistance on hire requests, and other agency issues such as recalling of personnel and staffing of resources |  |  |  |  |  |  |
| 18 | Support requirements for the incident commands system at the site such as: (a) Technical advice (e.g., hazmat, fire behavior, and medical advice) (b) Additional resources from outside normal channels (c) Emergency Support Function (ESF) necessary to support the incident(s) |  |  |  |  |  |  |
| 19 | Projected time required for controlling the situation, and for assessing impact on logistical requirements for the following: (a) Relief personnel (b) Food (c) Lodging (d) Fuel and repairs (e) Significant involvement of multiple Entities |  |  |  |  |  |  |
| 20 | Comprehensive knowledge of the Entity’s or jurisdiction’s capabilities and limitations. The Entity has to make decisions for the agency or jurisdiction including orders for deployment of resources |  |  |  |  |  |  |
| 21 | The Area Command sets priorities between incidents and allocates critical resources according to priorities established by the agency or jurisdiction’s administrator |  |  |  |  |  |  |
| 22 | When systems are restored, allow normal occupancy and usage of facility |  |  |  |  |  |  |
| 23 | Review operational procedure for the incident and modify, if necessary |  |  |  |  |  |  |
| 24 | Take note of the date and time of the incident, what action was taken, and by whom, for future references |  |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |  |