Mechanical Team: Mechanical shift lead supervisor, mechanical supervisor as available

Take direction from and report to Facilities Management Company – Crisis Management Team

| Deploy staff to areas as required and or directed by CMT |  | Deployed Y/N |
| --- | --- | --- |
| Deploy staff to monitor the fuel system | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Deploy staff to monitor fire pumps | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Deploy staff to monitor generator cooling system | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Deploy staff to monitor Reverse Osmosis (RO) systems | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Deploy staff to monitor hot water | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Deploy staff to monitor medical gas system | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Deploy staff to monitor (Magnetic Resonance Imaging) MRI Pump | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Ensure that all mechanical staff not otherwise deployed under code 1 are available to the central labour pool |  |  |

Emergency Power Team: Emergency Power shift lead supervisor, MEP Supervisor, electrical operations supervisor as available.

Take direction from and report to Facilities Management Company – Crisis Management Team

| Deploy staff to areas as required and or directed by CMT |  | Deployed Y/N |
| --- | --- | --- |
| Deploy staff to generator room | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Deploy staff to automatic transfer switch (ATS) room | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Deploy staff to monitor all uninterruptible power source (UPS) units | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Prioritize and action emergency power failure issues reported to help desk | Ensure status of all the systems are monitored and required corrective actions are implemented |  |
| Deploy staff to critical clinical areas | Monitor and take corrective actions as required and or instructed by CMT |  |
| Deploy staff to other critical areas | Monitor and take corrective actions as required and or instructed by CMT |  |
| Ensure that all electrical staff not otherwise deployed under code 1 are available to the central labour pool |  |  |