| PROJECT NAME: |  |  | EQUIPMENT SCHEDULE NO. |  |  |  | REV. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | QUESTIONS |  | ORIGINATOR |  |  | CHECKER |  |  |
|  |  |  | N/A | YES | NO | N/A | YES | NO |
| 1 | Was the correct Equipment Schedule template used (title block and borders)? |  |  |  |  |  |  |  |
| 2 | Does the title block show the reason for issue/revision, and is the associated revision letter or number appropriate and consistent with Project Procedures? |  |  |  |  |  |  |  |
| 3 | Is the Equipment Schedule number in accordance with Project Procedures? |  |  |  |  |  |  |  |
| 4 | Have all outstanding change papers (e.g., DCNs, FCDs, NCRs, etc.) been incorporated and noted as such in the title block? |  |  |  |  |  |  |  |
| 5 | Is there an Intellectual Property (IP)/Disclaimer Statement on the document? |  |  |  |  |  |  |  |
| 6 | Is each piece of equipment associated with the particular system design on a given drawing listed with an appropriate description and ratings as listed below? |  |  |  |  |  |  |  |
| 7 | Is there a unique Tag Number or Mark Number given for each line item? |  |  |  |  |  |  |  |
| 8 | Is a Location, Service, and/or System included for each line item? |  |  |  |  |  |  |  |
| 9 | Is an Equipment Rating/Capacity shown as appropriate for each line item? (e.g., flow, head, pressure differential, duty or load, surface area, volume, etc.) |  |  |  |  |  |  |  |
| 10 | Are inlet/outlet fluid conditions listed for all appropriate line items? (e.g., fluid type, pressure and temperature or differentials, velocity, etc.)? |  |  |  |  |  |  |  |
| 11 | Is motor/power information provided (e.g., RPM, kW, Voltage, Phase, etc.)? |  |  |  |  |  |  |  |
| 12 | Are the Manufacturer and Model Number show for each item? |  |  |  |  |  |  |  |
| 13 | Are the Notes, Remarks, and References appropriate and correct? |  |  |  |  |  |  |  |
| 14 | Has appropriate interdisciplinary and intradepartmental coordination of the Equipment Schedule been completed? |  |  |  |  |  |  |  |
| 15 | Has the Originator of the Equipment Schedule resolved coordination comments and incorporated changes where required? |  |  |  |  |  |  |  |
| 16 | On Equipment Schedules "Issued for Use" (Rev. 000 or higher), have line items that have not been confirmed been placed on hold? |  |  |  |  |  |  |  |
| 17 | If the Equipment Schedule is being revised, are changes clearly shown (e.g., using clouds, revision triangles, or notes in the revision line of the title block)? |  |  |  |  |  |  |  |
| 18 | If the Equipment Schedule is being revised, are all previous revision markings (clouds or triangles) removed? |  |  |  |  |  |  |  |
| No. | Reviewer's Comments (against each SLD) | Resolution |  |  |  |  |  |  |
| Originator's Name / Signature and Date: |  | Checker's Name / Signature and Date: |  |  |  |  |  |  |