| Facility Name: |  |  | Reference No. |  | REV-000 |  |
| --- | --- | --- | --- | --- | --- | --- |
| No. | Systems Monitoring/Daily Rounds Checklist |  |  | CHECKED SATISFACTORY |  |  |
|  |  |  |  | N/A | YES | NO |
|  | Elevators & Escalators – Facility |  |  |  |  |  |
|  | This monitoring checklist is intended to highlight key issues that may arise day to day at local level. The procedures and any supporting information should be reviewed and amended as necessary to ensure that the document remains up-to-date and definitive for the facility. |  |  |  |  |  |
| 1 | System inspection and checking: is the elevators are running |  |  |  |  |  |
| 2 | System assessment checks: Is the elevator and its associated plant machine room secured from unauthorized access |  |  |  |  |  |
| 3 | Remote monitoring of elevator systems and equipment checks Business Management System (BMS) |  |  |  |  |  |
| 4 | Identifying maintenance risks on equipment and raising work orders |  |  |  |  |  |
| 5 | Investigating fault /alarms for elevator systems checks |  |  |  |  |  |
| 6 | Cleaning, adjustment of system, inspection of car lighting |  |  |  |  |  |
| 7 | Performing prompt emergency repairs and post efficiency checks |  |  |  |  |  |
| 8 | Providing technical directions to ensure system is maintained returned to service |  |  |  |  |  |
| 9 | Keeping daily logs and records of all the maintenance functions |  |  |  |  |  |
| 10 | Ensuring compliance with applicable standards and with occupational health & safety checks |  |  |  |  |  |
| 11 | Complying with service standards, work instructions and users’ requirements |  |  |  |  |  |
| 12 | IF ANY PART OF THE ELEVATOR IS FOUND TO BE MALFUNCTIONING, such as lighting, ventilation, levelling, controls, or if the elevator exhibits abnormal motion, it must be reported immediately to the Facility Management team responsible for operation of the building. |  |  |  |  |  |
| No. | Reviewer's Comments | Resolution |  |  |  |  |
| Originator's Name/Signature and Date: |  | Checker's Name/Signature and Date: |  |  |  |  |