SCALE

NTS

REV

002

DRAWING No.

ARABIC TITLE

ARABIC TITLE

KINGDOM OF SAUDI ARABIA	راممقكم راراقم رسمللم

PROJECT REFERENCE -

Level - 3 - E, External

Electronic documents once printed, are uncontrolled and may become out-dated. Refer to ECMS for current revision

DRAWING STATUS

ISSUED FOR USE

IT LAN-TCP/IP

OPT.2 CONNECTION TO OTHER LC THRU TCP/IP VIA LAN

ETHERNET

SWITCH/ROUTER (TYP.)

OPT.2 CONNECTION TO OTHER LC THRU TCP/IP VIA LAN

OPT.2 CONNECTION TO OTHER LC THRU TCP/IP VIA LAN

ETHERNET

SWITCH/ROUTER (TYP.)

SOFTWARE CONNECTION TO WIRELESS NET.

UTP CABLES (TYP.)

CAMERA TRACK NG CONTRO LER

WIRELESS NETWORK

UTP CABLES (TYP.)

SECURITY & ACCESS 
CONTROL DOOR 
CONTROLLER

VOIP SERVER/PABX

PAVA

AUDIO/VISUAL SYSTEM

IP CCTV CAMERA

GATEWAY AS REQ. (TYP)

BUILDING MANAGEMENT 
SYSTEM NETWORK 
CONTROLLER

FOR INTEGRATION INCASE OF ZONE SMOKE CONTROL

SCHEME AND VFD DRIVE STAIRCASE PRESSURIZATION

FIRE DETECTION & ALARM SYSTEM PANEL

2 WAY EMERGENCY

COMMUNICATION SYSTEM FOR VOIP

FOR INTEGRATION INCASE OF ZONE SMOKE CONTROL

AMPLIFIER RACK (TYP)

SCHEME AND VFD DRIVE STAIRCASE PRESSURIZATION

2 WAY EMERGENCY

COMMUNICATION SYSTEM FOR PABX

MONITORING LOOP

CONTROL DOOR

ROLL-UP DOORS

SPRINKLER FLOW SWITCH

SPEAKER FIRE ANNUNCIATION

SPRINKLER VALVE SUPERVISORY SWITCH

AUDIO S LENCING/TURN OFF

CIM (TYP.)

PRE-ACTION SYSTEM

MIM (TYP.)

ELECTRO-MAGNETIC DOOR RELEASE FOR DOORS (IN SMOKE ZONES)

CLEAN AGENT SYSTEM

ELEVATOR 
CONTROL 
PANEL

CONTROL & MONITOR

KITCHEN ANSUL SYSTEM

SMOKE ZONE DUCT MONITORED DAMPERS ACTIVAT ON

CONTROL & MONITOR

FIRE PUMP FLOW SWITCH

MIM (TYP.)

CENTRALIZED AIR HANDLING UNIT & EXHAUST FAN

DDC (TYP.)

CONTROL & MONITOR

STAIRCASE PRESSUR ZATION FAN ACTIVATION

MONTOR

ATRIUM EXHAUST FAN ACTIVATION

CIM (TYP.)

DD (TYP.)

MONITOR

L FT LOBBY OR LIFT SHAFT PRESSURIZATION FAN ACTIVATION

CAMERA TRACKING

DOOR UNLOCKI G

ENGINEER REVIEW STATUS

NAME:

DATE:

LPG SOLENOID VALVE

A - REVIEWED; WORK MAY PROCEED

LEGEND:

2 WAY EMERGENCY

B - REVIEWED WITH COMMENTS; REVISE & RESUBMIT;

SOFTWARE INTEGRATION THRU SLIP VIA LAN TCP P

COMMUNICATION SYSTEM

WORK MAY PROCEED SUBJECT TO INCORPORATION OF COMMENTS

DROP CURTAINS

C - OBJECTION - REVISE & RESUBMIT; WORK MAY

SOFTWARE INTEGRATION THRU BACNET VIA TCP/IP

NOT PROCEED

ELEVATORS PHASE I RECALL

HARDWARE ANALOGUE OR DIG TAL INTEGRATION FROM FDAS

D - REJECTED

HARDWARE ANALOGUE OR DIGITAL INTEGRATION FROM BMS

OXYGEN SOLENOID VALVE

E - REVIEW NOT REQUIRED; WORK MAY PROCEED

TELEPHONE COMMUNICATION CABLE

MIM	MONITOR INTERFACE MODULE

002

27/03/19 BORDER CHANGED AND ISSUED FOR USE

CIM	CONTROL INTERFACE MODULE

DDC	DIRECT DIGITAL CONTROLLER

24/01/18 ISSUED FOR USE

000

REASON FOR ISSUE

ا م ام دار

DATE

REV. No

FACILITY No. XXX

CONTRACT No.	X

STANDARD DRAWING

FIRE AND LIFE SAFETY

INTEGRATION BLOCK

DIAGRAM

SHEET 1 OF 1

PROJECT TITLE 1

PROJECT TITLE 2

PROJECT TITLE 3

EPM-KEE-13-000002