| ENTITY Logo | ENTITY Name: LANDSCAPING & IRRIGATION DEPARTMENT |  | ENTITY Management Procedure: xxxxxx |
| --- | --- | --- | --- |
| Contract / Lease No. |  |  | Encroachment Permit No: |
|  |  |  | xxxxxx |
| Following are the special conditions applicable to this encroachment permit. Construction Contractor must ensure that at all times they are in compliance with the provisions of all ENTITY guidelines & the below listed special conditions. - The Construction Contractor, prior to the start of the work, shall coordinate with ENTITY Landscape O&M Contractor to identify probable plants, irrigation, electrical and tiles affected. - No mechanical excavation other than hand tools shall be allowed within irrigation pipe lines. - The Construction Contractor shall be responsible for any removal & transporting of plants & irrigation system components in the affected area to ENTITY specified landscape service area. Removal shall be done under the direction & supervision of ENTITY Landscape O&M Contractor. Construction Contractor shall inform ENTITY Landscape O&M Contractor within forty-eight (48) hours prior to the execution of the work. - The Construction Contractor shall be responsible for replanting any damaged plants with the same species. Likewise, proper rectification of the damaged irrigation pipes, control cables for solenoid valves & other related lighting system components incurred during the duration of the work shall be the responsibility of the Construction Contractor. - Any damaged to the pipes or other irrigation accessories that may alter watering schedule for the existing plants, shall be rectified within twenty-four (24) hours. Delay in the repair job that may result to permanent damage to the plants shall be Construction Contractor's responsibility. - Any excavation or other activities that may result in damaged of pathways, 3-meter light poles, 5-meter light poles, 1-meter bollard lights, electrical cables & other landscape utilities shall be resto red by the Construction Contractor to its original condition. - HOLD POINT RELEASE NUMBER which are attached shall be inspected /witnesses by ENTITY Field Engineer/O&M Contractor and signoff. - Restoration of site & prior to acceptance & signing off of the Encroachment permit, site area will be subject for inspection by ENTITY Field Engineer/O&M Landscape Contractor representative. - The Construction Contractor shall comply with all the above the above terms & conditions. Any breach of the conditions shall enforce the ENTITY Landscape O&M Contractor to undertake remedial measures with the cost chargeable against the Construction Contractor. |  |  |  |
| AGREED BY: |  | ISSUED FOR: LANDSCAPING SECTION |  |
| SIGN & STAMP: |  | SIGN: |  |
| NAME: |  | NAME: |  |
| DATE: |  | DATE: |  |
| CONTRACTOR: |  | O&M CONTRACTOR'S 24 HOURS SERVICE DESK: |  |
| CONTRACT No. |  | TELEPHONE No. |  |
| TELEPHONE No. |  | [O&M Contractor's 24 Hours Service Desk Hotline Tel No.] |  |