| ENTITY Logo | ENTITY Name: |  | ENTITY Management Procedure: xxxxxx |
| --- | --- | --- | --- |
| Contract / Lease No. |  |  | Encroachment Permit No: |
|  |  |  | xxxxxx |
| - Only hand tools shall be used for excavation near the water lines and appurtenances. - No over-burden material should be placed over the existing water lines and appurtenances. Excess excavated materials should be trucked away. - No heavy equipment should run over and or close to water lines and its appurtenances. Appurtenances includes fire hydrants, washouts, valve chambers, air valves, etc. - If any water line is likely to be exposed, the applicant must stop the work and inform the ENTITY Engineer / O&M Contractor. - Before proceeding with excavation that might expose or undermine the water line, the applicant must submit for ENTITY review & approval, detailed plan and procedure to support the water line. - Any existing water pipeline and appurtenances that was exposed during the current work must be inspected by the ENTITY Engineer before backfilling. After completion of the work, the area must be backfilled and restored to original condition. Refer to EPM-KEA-PR-000001 section 7.0 "Standards of Restoration" of Encroachment Permit procedure. - If water service interruption is required, a "Scheduled Outage Request" must be submitted at least 48 hours in advance to ENTITY Engineer / O&M contractor for review and approval. Forms are available at O&M water contractor. - No ground water or any contaminated water is allowed to be discharged in the vicinity of the existing potable water pipeline. - If there is any indication that water pipeline or appurtenances is likely to be affected in any way, call our 24-hour service desk at Telephone# [Potable Water Utility telephone number]. - Any consequential damage to the Potable / Raw water system, the applicant shall be held responsible to repair or replace at their own cost to the full satisfaction of ENTITY. |  |  |  |
| AGREED BY: |  | ISSUED FOR: POTABLE & RAW WATER GROUP |  |
| SIGN & STAMP: |  | SIGN: |  |
| NAME: |  | NAME: |  |
| DATE: |  | DATE: |  |
| CONTRACTOR: |  | O&M CONTRACTOR'S 24 HOURS SERVICE DESK: |  |
| CONTRACT No. |  | TELEPHONE No. |  |
| TELEPHONE No. |  | [O&M Contractor's 24 Hours Service Desk Hotline Tel No.] |  |