The Hazard Surveillance Survey (HSS) is to be carried out during the Pre-Emergency Phase as part of Hazard Vulnerability Analysis (HVA). It will directly affect the outcome of the Risk Register, and in turn, the content of the Emergency Operations Manual.

Date: ___/___/_____		Operator/Inspector Name: ____________________

Time: ____________		Location:	__________________________

Complete the below table placing a tick () in the box which corresponds to the score assigned to the prompt question.

Scoring Legend:

1	=	Outstanding

2	=	Good

3	=	Satisfactory

4	=	High risk

5	=	Unsatisfactory

Adjacent to field marked “Subtotal”, insert a number based on the number of ticks applied to each score.

Adjacent to field marked “Category Total”, insert a number based on the summation of the subtotals.

| Category | Prompt Question | 1 | 2 | 3 | 4 | 5 | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Safety Management | - Are the grounds clean and free of hazards? |  |  |  |  |  |  |
|  | - Are floors clean, dry, in good repair, and free from obstruction? |  |  |  |  |  |  |
|  | - Are mechanisms for access (i.e. ramps, handrails, door opening mechanisms, etc.) operational? |  |  |  |  |  |  |
|  | - Is parking free of potholes and other hazards? |  |  |  |  |  |  |
|  | Category Subtotals |  |  |  |  |  | Category Total: |
| Security Management | - Are doors functioning and locked as required? |  |  |  |  |  |  |
|  | - Are filing cabinets locked and accessible only to authorized personnel? |  |  |  |  |  |  |
|  | - Are alarms function, tested, and maintained according to manufacturer’s instructions? |  |  |  |  |  |  |
|  | - Are systems/mechanisms in place to quickly notify ESS and Senior Leadership Team in the event of an EI? |  |  |  |  |  |  |
|  | Category Subtotals |  |  |  |  |  | Category Total: |
| Hazardous Materials and Waste Management | - Is Control of Substances Hazardous to Health (COSHH) documentation available and utilized? |  |  |  |  |  |  |
|  | - Have all biohazard and toxic substances present been identified? |  |  |  |  |  |  |
|  | - Are Material Safety Data Sheets (MSDS) provided and reflected within the Risk Assessment? |  |  |  |  |  |  |
|  | - Is all waste contaminated with blood/bodily fluid considered and handled as infectious? |  |  |  |  |  |  |
|  | - Are safety-compliant sharps containers (i.e. puncture resistant, etc.) utilized? |  |  |  |  |  |  |
|  | - Are Personal Protective Equipment (PPE) and workplace controls in effect? |  |  |  |  |  |  |
|  | - Are batteries, equipment containing chlorofluorocarbons (CFCs), asbestos, lamp fittings, all safety disposed of in a sustainable way? |  |  |  |  |  |  |
|  | Category Subtotals |  |  |  |  |  | Category Total: |
| Emergency Management (EM) | - Is there existing Emergency Plans in the department? |  |  |  |  |  |  |
|  | - Has a non-fire related Emergency Drill been performed within the last 3 months? |  |  |  |  |  |  |
|  | - Is staff aware of at least 3 potential non-fire emergencies and their role in an EI? |  |  |  |  |  |  |
|  | - Is staff aware of emergency exits? |  |  |  |  |  |  |
|  | - Is staff aware of the process by which to raise awareness of hazards and make suggestions for continuous improvement? |  |  |  |  |  |  |
|  | Category Subtotals |  |  |  |  |  | Category Total: |
| Life Safety Management | - Is the Evacuation Plan and associated Procedure posted and can all staff demonstrate knowledge of the Plan? |  |  |  |  |  |  |
|  | - Are fire extinguishers located in accordance with National Fire Protection Association (NFPA) standards? |  |  |  |  |  |  |
|  | - Are fire extinguishers inspected monthly and documented on a tag attached to the fire extinguisher with a central register held elsewhere? |  |  |  |  |  |  |
|  | - Are exits and hallways well-lit and obstacle free? |  |  |  |  |  |  |
|  | - Is emergency exit lighting operational and tested in accordance with NFPA standards? |  |  |  |  |  |  |
|  | - Are fire doors operating effectively? |  |  |  |  |  |  |
|  | - Are fire detection systems functioning, tested, and maintained in accordance with manufacturer instructions? |  |  |  |  |  |  |
|  | - Are firefighting/fire suppression systems functioning, tested, and maintained in accordance with manufacturer instructions? |  |  |  |  |  |  |
|  | - Are “No Smoking’ signs clearly displayed and adhered to throughout the facility? |  |  |  |  |  |  |
|  | Category Subtotals |  |  |  |  |  | Category Total: |
| Asset Management | - Is there an asset register in place capturing all fixed assets within the facility with corresponding parent/child relationships established through an asset tagging procedure? |  |  |  |  |  |  |
|  | - Has all equipment been evaluated and prioritized using a criticality matrix then linked to back-up system requirements and operating procedures? |  |  |  |  |  |  |
|  | - Is all equipment operated, tested, and maintained in accordance with manufacturer instructions? |  |  |  |  |  |  |
|  | - Is there a centrally held register of all equipment requiring calibration? |  |  |  |  |  |  |
|  | - Is there a centrally held register which tracks all 3rd party service providers and linked to each asset? (i.e. meter calibration, water quality monitoring, gas testing, fire system inspections, etc.) |  |  |  |  |  |  |
|  | - Are maintenance records complete and data trended then outcomes used to inform asset management strategy (i.e. maintenance plans, monitoring devices, maintenance procedures, etc.? |  |  |  |  |  |  |
|  | Category Subtotals |  |  |  |  |  | Category Total: |
| Utility Management | - Are normal lighting systems, emergency lighting systems, and power plugs and sockets in good working order? |  |  |  |  |  |  |
|  | - Is there a valid Portable Appliance Tested (PAT) certificate displayed on each appliance and recorded in a centrally held register? |  |  |  |  |  |  |
|  | - Are all kitchen and bathroom plumbing systems in full working order and has water quality testing been carried out within the past year? |  |  |  |  |  |  |
|  | - Are primary and back-up communication systems functioning, tested, and maintained in accordance with manufacturer instructions? |  |  |  |  |  |  |
|  | - Is the HVAC system functioning, tested, and maintained in accordance with manufacturer instructions? |  |  |  |  |  |  |
|  | - Are utility shutdown mechanisms clearly displayed and accessible for all staff in the event of an Emergency Incident (EI)? |  |  |  |  |  |  |
|  | - Have utilities undergone evaluation and using a criticality matrix then linked to back-up system requirements and operating procedures? |  |  |  |  |  |  |
|  | Category Subtotals |  |  |  |  |  | Category Total: |
| Infection Control | - Are all staff utilizing Personal Protective Equipment (PPE) based on a Risk Assessment? |  |  |  |  |  |  |
|  | - Are all staff competent in carrying out Point of Work Risk Assessments (PoWRA) and using the PoWRA at the beginning of each new task or when there is a change to the environment/people? |  |  |  |  |  |  |
|  | - Are cleaning solutions stored, secured, mixed, and applied appropriately throughout the facility? |  |  |  |  |  |  |
|  | - Are procedures in place to quickly identify potential for infection, and mitigate its effects on staff and operations? |  |  |  |  |  |  |
|  | - Is staff aware of their obligations regarding infection control? |  |  |  |  |  |  |
|  | Category Subtotals |  |  |  |  |  | Category Total: |
| Other Key Issues | - Are utility rooms (i.e. substations, pumping stations, motor control centers, etc.) locked, clean, and clear of debris? |  |  |  |  |  |  |
|  | - Are storage rooms secure, clean, and free of flammable materials? |  |  |  |  |  |  |
|  | - Is staff rest areas identified and used solely for the purpose of rest, with no other area of the facility being used for such a purpose? |  |  |  |  |  |  |
|  | - Are canteen/dining facilities identified, cleaned regularly, and used solely for the purpose of dining, with no other area of the facility being used for such a purpose? |  |  |  |  |  |  |
|  | - Are toilet and kitchen facilities identified, cleaned regularly, and used solely for their dedicated purpose, with no other area of the facility being used for such a purpose? |  |  |  |  |  |  |
|  | - Are ablution facilities identified, cleaned regularly, and used solely for their dedicated purpose, with no other area of the facility being used for such a purpose? |  |  |  |  |  |  |
| Category Subtotals |  |  |  |  |  |  | Category Total: |
|  | Overall Assessment Totals |  |  |  |  |  | TOTALS: |

Recognition of Risk:

“I confirm that I have read the results of the survey, that the results have been stored in the document management system. I also confirm that actions have been taken as follows:

Finally, the Risk Register and Emergency Operations Manual have been updated as appropriate”.

Name: 					_______________________________

Signed: 					_______________________________

Role (i.e. Safety Officer, etc.):		_______________________________